| THE MINISTRY OF HEALTH -------- | THE SOCIALIST REPUBLIC OF VIETNAM Independence - Freedom - Happiness ---------------- |
| --- | --- |
| No. 437/QD-BYT | Hanoi, February 20, 2002 |

DECISION

INTRODUCING THE LIST OF MEDICAL EQUIPMENT FOR PROVINCIAL AND DISTRICT-LEVEL GENERAL HOSPITALS, REGIONAL-LEVEL CLINICS, COMMUNE-LEVEL HEALTHCARE SERVICE STATIONS, AND (MOUNTAIN) VILLAGE-LEVEL MEDICAL BAGS

THE MINISTER OF HEALTH

Pursuant to the Government's Decree No.68/CP dated October 11, 1993 on defining the functions, tasks, powers and organizational structure of the Ministry of Health;

Upon the request of Mr./Mrs. Director of Medical Equipment and Facilities Department, Director of Medical Treatment Department – Ministry of Health,

HEREBY DECIDES

Article 1. Introduce the list of medical equipment for provincial and district-level general hospitals, regional-level clinics, commune-level healthcare service stations, and (mountain) village-level medical bags.

Article 2.

1. The Director of Department of Health of centrally-affiliated cities and provinces shall consult the List of medical equipment prescribed in Article 1 of this Decision to prepare the project for investment, supplementation and improvement of medical equipment on an annual basis.

2. The Deputy Minister of Health in charge of sectoral healthcare services shall refer to the List of medical equipment prescribed in Article 1 of this Decision to draw up the plan for investment in medical equipment in order to meet healthcare service demands of specific sectors.

Article 3. This Decision shall enter into force after 15 days from the signature day and replace the Decision No. 1419/BYT-QD dated August 23, 1996 of the Minister of Health providing the list of medical equipment for provincial and district-level general hospitals, regional-level clinics, commune-level healthcare service stations, and (mountain) village-level medical bags.

Article 4. Mr./Mrs. Chief of the Office, Director of the Medical Equipment and Facilities Department, Medical Treatment Department, Finance - Accounting Department, Planning Department and other relevant Department of the Ministry of Health, Director of Department of Health of a centrally-affiliated city and province, and the Deputy Minister of Health in charge of sectoral healthcare services, shall be responsible for enforcing this Decision.

|  | PP. THE MINISTER OF HEALTH THE DEPUTY MINISTER Le Ngoc Trong |
| --- | --- |

LIST OF MEDICAL EQUIPMENT FOR PROVINCIAL-LEVEL GENERAL HOSPITALS

| No. | Department or division | Unit of measurement | Quantity |
| --- | --- | --- | --- |
| I | Outpatient departmentOutpatient departmentOutpatient department |  |  |
| 1 | Adult stethoscopes | item | 12 |
| 2 | Pediatric stethoscopes | item | 5 |
| 3 | Adult sphygmomanometers | item | 12 |
| 4 | Pediatric sphygmomanometers | item | 5 |
| 5 | Clinical thermometers, maximum temperature of 420C | item | 24 |
| 6 | Exam tables for adult patients | item | 12 |
| 7 | Pediatric exam tables | item | 5 |
| 8 | Medical beds | item | 5 |
| 9 | Emergency beds | item | 2 |
| 10 | Examination lights | item | 12 |
| 11 | Examination headlights | item | 4 |
| 12 | Weighing scales with height rods | item | 2 |
| 13 | X-ray film illuminators | item | 12 |
| 14 | Fridges | item | 2 |
| 15 | Electric drying cabinets, maximum temperature 2500C | item | 3 |
| 16 | Electric heating ovens | item | 4 |
| 17 | Instrument storage cabinets | item | 2 |
| 18 | Instrument push trolleys | item | 4 |
| 19 | Medical filing cabinets | item | 6 |
| 20 | Office desks | item | 12 |
| 21 | Chairs | item | 30 |
| 22 | Swivel seat stools | item | 20 |
| 23 | Waiting benches for patients | item | 12 |
| 24 | Whiteboards | item | 3 |
| 25 | Loudspeaker and amplifier system for hospital instructions | piece | 1 |
| 26 | Display screens for hospital information | piece | 1 |
| 27 | Instrument boiling sterilizers | item | 2 |
| 28 | ECG machines | item | 1 |
| 29 | Minor-grade surgical instruments | set | 2 |
| 30 | Exam instrument kits | set | 12 |
| 31 | Reflex hammers | item | 12 |
| 32 | Disposable syringes of various kinds | item | 200 |
| 33 | Syringe and needle destroyers | item | 1 |
| 34 | UV sterilization lamps | item | 2 |
| 35 | Patient transfer carts | item | 2 |
| 36 | Patient stretcher trolley | item | 2 |
| 37 | Manual stretchers | item | 2 |
| 38 | Sharps collectors | item | 12 |
| 39 | Dustbins | item | 5 |
| 40 | Drinking water storage tanks for patients | item | 1 |
| 41 | Computers + printers | set | 1 |
| 2 | INTENSIVE CARE UNIT INTENSIVE CARE UNIT INTENSIVE CARE UNIT |  |  |
| 2.1 | Primary emergency care unit |  |  |
| A | Respiratory intensive care |  |  |
| 1 | Intensive care bag-valve masks | item | 2 |
| 2 | bag-valve masks for pediatric intensive care | item | 1 |
| 3 | Suction machines for removal of respiratory secretions | item | 2 |
| 4 | Suction tubes for removal of respiratory secretions | item | 50 |
| 5 | Cannula trach tubes of various sizes (6 numbers) | item | 6 |
| 6 | Tracheostomy instrument kits | set | 1 |
| 7 | Adult laryngoscopes | item | 1 |
| 8 | Pediatric laryngoscopes | item | 1 |
| 9 | Thoracentesis needles | item | 5 |
| 10 | X-ray film illuminators | item | 1 |
| 11 | Pleura catheter kits | set | 12 |
| 12 | Personal oxygen generators | item | 1 |
| B | Cardiovascular intensive care |  |  |
| 13 | Personal ECG machines | item | 1 |
| 14 | Cardioverter defibrillators | item | 1 |
| 15 | Venous catheters | item | 5 |
| C | Genitourinary intensive care |  |  |
| 16 | Nelaton catheters of various kinds | item | 12 |
| D | Gastrointestinal intensive care |  |  |
| 17 | Peritoneal catheters for drainage of abdominal ascites | item | 20 |
| 18 | Gastric catheters of various kinds | item | 30 |
| 19 | Size #2 stomach tubes for gastric lavage | item | 6 |
| 20 | Paracentesis needles | item | 10 |
| E | Other equipment |  |  |
| 21 | Medical emergency beds | item | 15 |
| 22 | Bedside lockers | item | 15 |
| 23 | Anti-ulcer mattresses | item | 4 |
| 24 | Hand lift stretchers | item | 2 |
| 25 | Patient stretcher trolleys | item | 2 |
| 26 | Carts | item | 2 |
| 27 | Medication carts | item | 2 |
| 28 | Instrument push trolleys | item | 2 |
| 29 | Fetal heart dopplers | item | 1 |
| 30 | Fetal stethoscopes | item | 1 |
| 31 | Catheters for insertion into cerebral meninges | item | 2 |
| 32 | Ophthalmoscopes | item | 2 |
| 33 | Surgical instrument kits | set | 2 |
| 2.2 | Plaster and procedure room |  |  |
| 34 | Limb fixation instrument kits | set | 2 |
| 35 | Fixation stretchers | item | 1 |
| 36 | Hand lift stretchers | item | 1 |
| 37 | Patient stretcher trolleys | item | 1 |
| 38 | Manual wheelchairs | item | 1 |
| 39 | Surgical instrument kits | set | 2 |
| 2.2 | Plaster and procedure room |  |  |
| 34 | Limb fixation instrument kits | set | 2 |
| 35 | Fixation stretchers | item | 1 |
| 36 | Hand lift stretchers | item | 1 |
| 37 | Patient stretcher trolleys | item | 1 |
| 38 | Manual wheelchairs | item | 1 |
| 39 | Surgical instrument kits | item | 2 |
| 2.3 | Obstetric intensive care unit |  |  |
| 40 | Adult bag-valve masks | item | 2 |
| 41 | Pediatric bag-valve masks | item | 2 |
| 42 | Electrical suction machines | item | 2 |
| 43 | Suction tubes for removal of respiratory secretions | item | 100 |
| 44 | Cannula trach tubes | set | 6 size numbers |
| 45 | Tracheostomy instrument kits | item | 1 |
| 46 | Ventilators | item | 1 |
| 47 | Laryngoscopes | set | 1 |
| 48 | Thoracentesis needles | item | 10 |
| 49 | X-ray film illuminators | item | 1 |
| 50 | Pleura catheter kits | item | 10 |
| 51 | Portable oxygen generators | item | 1 |
| 2.4 | Medical emergency – Intensive care |  |  |
| 52 | External pacemakers | item | 1 |
| 53 | Patient monitors | item | 8 |
| 54 | Central monitor | piece | 1 |
| 55 | Oxygen concentration meters | item | 1 |
| 56 | Portable oxygen generators | item | 6 |
| 57 | Nurse call alarm systems | item | 1 |
| 58 | Air compressors | item | 2 |
| 59 | Ventilators | item | 4 |
| 60 | Anaesthesia machines | item | 1 |
| 61 | Masks of various kinds for adults and children | item | 6 |
| 62 | Continuous-operation low-pressure electric suction machines | item | 2 |
| 63 | Electrical suction machines | item | 6 |
| 64 | Automatic enteral feeding pumps | item | 2 |
| 65 | Infusion pumps | item | 6 |
| 66 | Electric syringe pumps | item | 5 |
| 67 | Venous catheters | item | 5 |
| 68 | Adult bag-valve masks | item | 3 |
| 69 | Pediatric bag-valve masks | item | 2 |
| 70 | Suction tubes for removal of mucus and phlegm | item | 100 |
| 71 | Cannula trach tubes of various sizes (6 numbers) | set | 6 |
| 72 | Laryngoscopes, 3 sizes | set | 4 |
| 73 | Thoracentesis catheters | item | 4 |
| 74 | Pleural catheter kits | item | 4 |
| 75 | X-ray film illuminators | item | 4 |
| 76 | Endotracheal tubes for adults and children | set | 2 |
| 77 | Tracheostomy instrument kits | set | 2 |
| 78 | ECG machines | item | 2 |
| 79 | Cardioverter defibrillators | item | 2 |
| 80 | Tubes for gastric lavage | item | 6 |
| 81 | Intra-osseous catheters | item | 2 |
| 82 | Examination tables | item | 2 |
| 83 | Clar headlights and lighting transformers | item | 2 |
| 84 | Adult sphygmomanometers | item | 6 |
| 85 | Pediatric sphygmomanometers | item | 1 |
| 86 | Nebulizers | item | 6 |
| 87 | Syringe and needle destroyers | item | 1 |
| 88 | Sharps collectors | item | 6 |
| 89 | Neonatal incubators | item | 2 |
| 90 | Portable UV lights | item | 2 |
| 91 | Blood serum infusion poles | item | 10 |
| 92 | Clinical thermometers, maximum temperature of 420C | item | 20 |
| 93 | Oxygen humidifiers | set | 10 |
| 94 | Pressure gauges for oxygen tanks | item | 10 |
| 95 | Flow controlling valves for oxygen tanks | item | 10 |
| 96 | Oxygen tanks | item | 15 |
| 97 | Hot and cold packs (rubber) | item | 30 |
| 98 | Medical gloves, sizes 6.5 and 7 | pair | 100 |
| 99 | Ice containers | item | 2 |
| 100 | Weighing scales with height rods | item | 2 |
| 101 | Standby power generators 2500w-3000w, 220v, 50hz | item | 1 |
| 102 | Dustbins | item | 4 |
| 103 | Drinking water storage tanks for patients | item | 1 |
| 104 | 21-inch recording monitors | item | 1 |
| 105 | Computers + printers | item | 1 |
| 3 | GENERAL INTERNAL MEDICINE DEPARTMENT GENERAL INTERNAL MEDICINE DEPARTMENT GENERAL INTERNAL MEDICINE DEPARTMENT |  |  |
| 1 | Ventilators | item | 4 |
| 2 | Anaesthesia machines | item | 2 |
| 3 | ECG machines of various kinds | item | 4 |
| 4 | Portable oxygen generators | item | 15 |
| 5 | Electric syringe pumps | item | 15 |
| 6 | Infusion pumps | item | 15 |
| 7 | Patient monitors | item | 15 |
| 8 | Nebulizers | item | 15 |
| 9 | Renal dialysis machines | 2 – 6 |  |
| 10 | Extracorporeal lithotripters | piece | 1 |
| 11 | Tubes for endoscopic removal of kidney stones | set | 1 |
| 12 | Electrohydraulic lithotripters for treatment of gallbladder and bile duct stones | set | 1 |
| 13 | Electrical suction machines | item | 30 |
| 14 | Continuous-operation low-pressure electric suction machines | item | 5 |
| 15 | Nurse call alarm systems (maybe 2 or 3 items needed, depending on location of hospital suites) | piece | 1 |
| 16 | Adult stethoscopes | item | 50 |
| 17 | Pediatric stethoscopes | item | 10 |
| 18 | Adult sphygmomanometers | item | 10 |
| 19 | Pediatric sphygmomanometers | item | 10 |
| 20 | Adult bag-valve masks | item | 10 |
| 21 | Pediatric bag-valve masks | item | 3 |
| 22 | Reflex hammers | item | 15 |
| 23 | Tongue depressors | item | 60 |
| 24 | Clinical thermometers, maximum temperature of 420C | item | 50 |
| 25 | X-ray film illuminators | item | 20 |
| 26 | Clar headlights | item | 15 |
| 27 | Examination lights | set | 10 |
| 28 | Surgical instrument kits | set | 10 |
| 29 | Male and female urethra catheters | set | 30 |
| 30 | Oxygen humidifiers | set | 20 |
| 31 | Pressure gauges for oxygen tanks | item | 30 |
| 32 | Flow controlling valves for oxygen tanks | item | 30 |
| 33 | Oxygen tanks | item | 30 |
| 34 | Gauze and cotton sterilizing boxes | item | 50 |
| 35 | Instrument sterilizing boxes | item | 50 |
| 36 | Medical instrument trays of various kinds | item | 50 |
| 37 | Kidney trays | item | 50 |
| 38 | Syringe and needle boiling sterilizers | item | 10 |
| 39 | Instrument boiling sterilizers | item | 10 |
| 40 | Instrument storage cabinets | item | 10 |
| 41 | Medicine storage cabinets | item | 10 |
| 42 | Fridges | item | 10 |
| 43 | Electric drying cabinets, maximum temperature 3000C | item | 10 |
| 44 | Hot and cold packs (rubber) | item | 30 |
| 45 | Medical gloves, sizes 6.5 and 7 | pair | 100 |
| 46 | Enema bulbs | item | 70 |
| 47 | Bedpans | item | 100 |
| 48 | Male portable chamber pots | item | 70 |
| 49 | Sputum mugs | item | 100 |
| 50 | Dustbins | item | 100 |
| 51 | Crutches | item | 10 |
| 52 | Oxygen tank carts | item | 5 |
| 53 | Linen carts | item | 5 |
| 54 | Manual wheelchairs | item | 4 |
| 55 | Dispensing trolleys | item | 6 |
| 56 | Instrument push trolleys | item | 5 |
| 57 | Patient stretcher trolleys | item | 5 |
| 58 | Manual stretchers | item | 5 |
| 59 | Blood serum infusion poles | item | 30 |
| 60 | 20ml glass syringes + needles | set | 30 |
| 61 | Disposable syringes of various kinds | item | 500 |
| 62 | Sharps collectors | item | 10 |
| 63 | Syringe and needle destroyers | item | 2 |
| 64 | Medical beds | item | 140 |
| 65 | Bedside lockers | item | 140 |
| 66 | Anti-ulcer mattresses | item | 6 |
| 67 | Office desks | item | 50 |
| 68 | Chairs | item | 100 |
| 69 | Seat stools | item | 50 |
| 70 | Boards | item | 20 |
| 71 | Medical filing cabinets | item | 20 |
| 72 | Platform scales (maximum weight of 120kg) | item | 15 |
| 73 | Drinking water storage tanks for patients | item | 5 |
| 74 | 21-inch recording monitors | item | 4 |
| 75 | Computers + printers | set | 3 |
| 4 | GENERAL CARDIOLOGY AND GERONTOLOGY DEPARTMENT GENERAL CARDIOLOGY AND GERONTOLOGY DEPARTMENT GENERAL CARDIOLOGY AND GERONTOLOGY DEPARTMENT |  |  |
| 1 | Ventilators | item | 2 |
| 2 | Anaesthesia machines | item | 1 |
| 3 | ECG machines | item | 2 |
| 4 | 24-hour Holter monitors | item | 1 |
| 5 | Stress ECG machines | set | 1 |
| 6 | Stress echo machines | set | 1 |
| 7 | Cerebral blood flow meters |  |  |
| 8 | Portable oxygen generators | item | 3 |
| 9 | Electric syringe pumps | item | 2 |
| 10 | Infusion pumps | item | 2 |
| 11 | Patient monitors | item | 2 |
| 12 | Nebulizers | item | 2 |
| 13 | Electrical suction machines | item | 4 |
| 14 | Continuous-operation low-pressure electric suction machines | item | 5 |
| 15 | Nurse call alarm systems (maybe 2 or 3 items needed, depending on location of hospital suites) | piece | 1 |
| 16 | Adult stethoscopes | item | 5 |
| 17 | Adult sphygmomanometers | item | 5 |
| 18 | Adult Ambu bags | item | 5 |
| 19 | Reflex hammers | item | 5 |
| 20 | Tongue depressors | item | 8 |
| 21 | Clinical thermometers, maximum temperature of 420C | item | 15 |
| 22 | X-ray film illuminators | item | 3 |
| 23 | Clar headlights | item | 2 |
| 24 | Examination lights | item | 5 |
| 25 | Surgical instrument kits | set | 1 |
| 26 | Male and female urethra catheters | set | 4 |
| 27 | Oxygen humidifiers | set | 5 |
| 28 | Flow controlling valves for oxygen tanks | item | 5 |
| 29 | Oxygen tanks | item | 5 |
| 30 | Oxygen tanks | item | 5 |
| 31 | Gauze and cotton sterilizing boxes | item | 10 |
| 32 | Instrument sterilizing boxes | item | 10 |
| 33 | Medical instrument trays of various kinds | item | 20 |
| 34 | Kidney trays of various kinds | item | 5 |
| 35 | Syringe and needle boiling sterilizers | item | 1 |
| 36 | Instrument boiling sterilizers | item | 1 |
| 37 | Instrument storage cabinets | item | 1 |
| 38 | Medicine storage cabinets | item | 1 |
| 39 | Fridges | item | 2 |
| 40 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 41 | Hot and cold packs (rubber) | item | 5 |
| 42 | Medical gloves, sizes 6.5 and 7 | pair | 50 |
| 43 | Enema bulbs | item | 3 |
| 44 | Bedpans | item | 15 |
| 45 | Male portable chamber pots | item | 10 |
| 46 | Sputum mugs | item | 15 |
| 47 | Dustbins | item | 1 |
| 48 | Crutches | item | 2 |
| 49 | Oxygen tank carts | item | 1 |
| 50 | Dispensing trolleys | item | 1 |
| 51 | Instrument push trolleys | item | 1 |
| 52 | Linen carts | item | 1 |
| 53 | Manual wheelchairs | item | 3 |
| 54 | Patient stretcher trolleys | item | 2 |
| 55 | Manual stretchers | item | 1 |
| 56 | Blood serum infusion poles | item | 5 |
| 57 | 20ml glass syringes + needles | set | 5 |
| 58 | Disposable syringes of various kinds | item | 200 |
| 59 | Sharps collectors | item | 2 |
| 60 | Syringe and needle destroyers | item | 1 |
| 61 | Medical beds | item | 15 |
| 62 | Bedside lockers | item | 15 |
| 63 | Anti-ulcer mattresses | item | 4 |
| 64 | Office desks | item | 8 |
| 65 | Chairs | item | 20 |
| 66 | Seat stools | item | 10 |
| 67 | Whiteboards | item | 2 |
| 68 | Medical filing cabinets | item | 2 |
| 69 | Platform scales (maximum weight of 120kg) | item | 1 |
| 70 | Drinking water storage tanks for patients | item | 1 |
| 71 | 21-inch recording monitors | item | 1 |
| 72 | Computers + printers | set | 1 |
| 5 | INFECTIOUS DISEASE DEPARTMENT INFECTIOUS DISEASE DEPARTMENT INFECTIOUS DISEASE DEPARTMENT |  |  |
| 1 | Ventilators | item | 2 |
| 2 | Anaesthesia machines | item | 1 |
| 3 | ECG machines | item | 1 |
| 4 | Cardioverter defibrillators, pacemakers | item | 1 |
| 5 | Patient monitors | item | 2 |
| 6 | Nebulizers | item | 2 |
| 7 | Portable oxygen generators | item | 3 |
| 8 | Electric syringe pumps | item | 2 |
| 9 | Infusion pumps | item | 2 |
| 11 | Electrical suction machines | item | 3 |
| 12 | Continuous-operation low-pressure electric suction machines | item | 2 |
| 13 | Nurse call alarm systems (maybe 2 or hoặc3 items needed, depending on location of hospital suites) | piece | 1 |
| 14 | Adult stethoscopes | item | 10 |
| 15 | Pediatric stethoscopes | item | 2 |
| 16 | Adult sphygmomanometers | item | 10 |
| 17 | Pediatric sphygmomanometers | item | 2 |
| 18 | Adult bag-valve masks | item | 5 |
| 19 | Pediatric bag-valve masks | item | 2 |
| 20 | Reflex hammers | item | 5 |
| 21 | Tongue depressors | item | 20 |
| 22 | Clinical thermometers, maximum temperature of 420C | item | 20 |
| 23 | X-ray film illuminators | item | 4 |
| 24 | Clar headlights | item | 2 |
| 25 | Examination lights | item | 5 |
| 26 | Surgical instrument kits | set | 2 |
| 27 | Male and female urethra catheters | set | 10 |
| 28 | Oxygen humidifiers | set | 5 |
| 29 | Pressure gauges for oxygen tanks | item | 5 |
| 30 | Flow controlling valves for oxygen tanks | item | 5 |
| 31 | Oxygen tanks | item | 5 |
| 32 | Gauze and cotton sterilizing boxes of various kinds | item | 10 |
| 33 | Instrument sterilizing boxes of various kinds | item | 10 |
| 34 | Medical instrument trays of various kinds | item | 15 |
| 35 | Kidney trays | item | 10 |
| 36 | Syringe and needle boiling sterilizers | item | 1 |
| 37 | Instrument boiling sterilizers | item | 2 |
| 38 | Instrument storage cabinets | item | 2 |
| 39 | Medicine storage cabinets | item | 1 |
| 40 | Fridges | item | 2 |
| 41 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 42 | Hot and cold packs (rubber) | item | 10 |
| 43 | Medical gloves, sizes 6.5 and 7 | item | 100 |
| 44 | Enema bulbs | item | 5 |
| 45 | Bedpans | item | 15 |
| 46 | Male portable chamber pots | item | 10 |
| 47 | Sputum mugs | item | 20 |
| 48 | Dustbins | item | 2 |
| 49 | Crutches | item | 2 |
| 50 | Oxygen tank carts | item | 2 |
| 51 | Dispensing trolleys | item | 1 |
| 52 | Instrument push trolleys | item | 1 |
| 53 | Patient stretcher trolleys | item | 1 |
| 54 | Manual stretchers | item | 1 |
| 55 | Blood serum infusion poles | item | 10 |
| 56 | 20ml glass syringes + needles | set | 5 |
| 57 | Disposable syringes of various kinds | item | 100 |
| 58 | Collection boxes of various kinds | item | 3 |
| 59 | Syringe and needle destroyers | item | 1 |
| 60 | Medical beds | item | 20 |
| 61 | Bedside lockers | item | 20 |
| 62 | Anti-ulcer mattresses | item | 4 |
| 63 | Office desks | item | 4 |
| 64 | Chairs | item | 30 |
| 65 | Seat stools | item | 10 |
| 66 | Whiteboards | item | 2 |
| 67 | Medical filing cabinets | item | 2 |
| 68 | Platform scales (maximum weight of 120kg) | item | 1 |
| 69 | Linen carts | item | 10 |
| 70 | Drinking water storage tanks for patients | item | 2 |
| 71 | 21-inch recording monitors | item | 1 |
| 72 | Computers + printers | set | 1 |
| 6 | TUBERCULOSIS DEPARTMENT TUBERCULOSIS DEPARTMENT TUBERCULOSIS DEPARTMENT |  |  |
| 1 | Spirometers | item | 1 |
| 2 | Respiratory pulmonary spirometers | item | 1 |
| 3 | Soft tube bronchoscope kits (installed at the endoscopy department) | set | 1 |
| 4 | Ventilators | item | 2 |
| 5 | Anaesthesia machines | item | 1 |
| 6 | ECG machines | item | 1 |
| 7 | Cardioverter defibrillators, pacemakers | item | 1 |
| 8 | 5-parameter patient monitors | item | 2 |
| 9 | Nebulizers | item | 2 |
| 10 | Portable oxygen generators | item | 4 |
| 11 | Electric syringe pumps | item | 2 |
| 12 | Infusion pumps | item | 2 |
| 13 | Patient monitors | item | 2 |
| 14 | Electrical suction machines | item | 4 |
| 15 | Continuous-operation low-pressure electric suction machines | item | 2 |
| 16 | Nurse call alarm systems (maybe 2 or 3 items needed, depending on location of hospital suites) | piece | 1 |
| 17 | Adult stethoscopes | item | 10 |
| 18 | Pediatric stethoscopes | item | 2 |
| 19 | Adult sphygmomanometers | item | 10 |
| 20 | Pediatric sphygmomanometers | item | 2 |
| 21 | Adult Ambu bags | item | 5 |
| 22 | Pediatric ambu bags | item | 2 |
| 23 | Reflex hammers | item | 5 |
| 24 | Tongue depressors | item | 20 |
| 25 | Clinical thermometers, maximum temperature of 420C | item | 20 |
| 26 | X-ray film illuminators | item | 4 |
| 27 | Clar headlights | item | 4 |
| 28 | Examination lights | item | 5 |
| 29 | Surgical instrument kits | set | 2 |
| 30 | Male and female urethra catheters | set | 10 |
| 31 | Oxygen humidifiers | set | 5 |
| 32 | Pressure gauges for oxygen tanks | item | 5 |
| 33 | Flow controlling valves for oxygen tanks | item | 5 |
| 34 | Oxygen tanks | item | 5 |
| 35 | Gauze and cotton sterilizing boxes of various kinds | item | 10 |
| 36 | Instrument boiling sterilizers | item | 10 |
| 37 | Medical instrument trays of various kinds | item | 10 |
| 38 | Kidney trays of various kinds | item | 10 |
| 39 | Syringe and needle boiling sterilizers | item | 1 |
| 40 | Instrument storage cabinets | item | 1 |
| 41 | Medicine storage cabinets | item | 1 |
| 42 | Fridges | item | 2 |
| 43 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 44 | Instrument boiling sterilizers | item | 1 |
| 45 | Hot and cold packs (rubber) | item | 5 |
| 46 | Medical gloves, sizes 6.5 and 7 | pair | 100 |
| 47 | Enema bulbs | item | 5 |
| 48 | Female bedpans | item | 10 |
| 49 | Male portable chamber pots | item | 10 |
| 50 | Sputum mugs | item | 10 |
| 51 | Dustbins | item | 1 |
| 52 | Crutches | item | 2 |
| 53 | Oxygen tank carts | item | 1 |
| 54 | Dispensing trolleys | item | 1 |
| 55 | Instrument push trolleys | item | 1 |
| 56 | Patient stretcher trolleys | item | 1 |
| 57 | Manual stretchers | item | 1 |
| 58 | Blood serum infusion poles | item | 10 |
| 59 | 20ml glass syringes + needles | set | 5 |
| 60 | Disposable syringes of various kinds | item | 200 |
| 61 | Syringe and needle destroyers | item | 1 |
| 62 | Sharps collectors | item | 2 |
| 63 | Medical beds | item | 20 |
| 64 | Bedside lockers | item | 20 |
| 65 | Office desks | item | 6 |
| 66 | Chairs | item | 10 |
| 67 | Seat stools | item | 10 |
| 68 | Whiteboards | item | 2 |
| 69 | Medical filing cabinets | item | 2 |
| 70 | Platform scales (maximum weight of 120kg) | item | 1 |
| 71 | Linen carts | item | 1 |
| 72 | Drinking water storage containers | item | 1 |
| 73 | 21-inch recording monitors | item | 1 |
| 74 | Computers + printers | set | 1 |
| 7 | DERMATOLOGY DEPARTMENT DERMATOLOGY DEPARTMENT DERMATOLOGY DEPARTMENT |  |  |
| 1 | Nebulizers | item | 1 |
| 2 | Portable oxygen generators | item | 1 |
| 3 | Infusion pumps | item | 1 |
| 4 | Patient monitors | item | 1 |
| 5 | Electric syringe pumps | item | 1 |
| 6 | Electrical suction machines | item | 2 |
| 7 | Continuous-operation low-pressure electric suction machines | item | 2 |
| 8 | Nurse call alarm systems | piece | 1 |
| 9 | Binocular microscopes | item | 1 |
| 10 | Magnifiers | piece | 1 |
| 11 | Warming cabinets | item | 1 |
| 12 | Slide stainers | set | 1 |
| 13 | Adult sphygmomanometers | item | 5 |
| 14 | Pediatric sphygmomanometers | item | 2 |
| 15 | Adult bag-valve masks | item | 2 |
| 16 | Pediatric bag-valve masks | item | 2 |
| 17 | Reflex hammers | item | 5 |
| 18 | Tongue depressors | item | 10 |
| 19 | Clinical thermometers, maximum temperature of 420C | item | 10 |
| 20 | X-ray film illuminators | item | 2 |
| 21 | Clar headlights | item | 2 |
| 22 | Surgical instrument kits | set | 1 |
| 23 | Male and female urethra catheters | set | 5 |
| 24 | Oxygen humidifiers | set | 5 |
| 25 | Pressure gauges for oxygen tanks | item | 5 |
| 26 | Flow controlling valves for oxygen tanks | item | 5 |
| 27 | Oxygen tanks | item | 5 |
| 28 | Gauze and cotton sterilizing boxes of various kinds | item | 10 |
| 29 | Instrument sterilizing boxes of various kinds | item | 10 |
| 30 | Medical instrument trays of various kinds | item | 10 |
| 31 | Kidney trays of various kinds | item | 8 |
| 32 | Syringe and needle boiling sterilizers | item | 1 |
| 33 | Instrument boiling sterilizers | item | 1 |
| 34 | Instrument storage cabinets | item | 1 |
| 35 | Medicine storage cabinets | item | 1 |
| 36 | Fridges | item | 2 |
| 37 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 38 | Hot and cold packs (rubber) | item | 5 |
| 39 | Medical gloves, sizes 6.5 and 7 | pair | 5 |
| 40 | Oxygen tank carts | item | 1 |
| 41 | Dispensing trolleys | item | 1 |
| 42 | Instrument push trolleys | item | 1 |
| 43 | Patient stretcher trolleys | item | 1 |
| 44 | Manual stretchers | item | 1 |
| 45 | Blood serum infusion poles | item | 5 |
| 46 | 20ml glass syringes + needles | set | 5 |
| 47 | Disposable syringes of various kinds | item | 100 |
| 48 | Syringe and needle destroyers | item | 1 |
| 49 | Medical gloves | pair | 30 |
| 50 | Medical beds | item | 10 |
| 51 | Bedside lockers | item | 10 |
| 52 | Anti-ulcer mattresses | item | 2 |
| 53 | Office desks | item | 5 |
| 54 | Chairs | item | 10 |
| 55 | Seat stools | item | 10 |
| 56 | Whiteboards | item | 2 |
| 57 | Medical filing cabinets | item | 1 |
| 58 | Platform scales (maximum weight of 120kg) | item | 1 |
| 59 | Linen carts | item | 1 |
| 60 | Crutches | item | 1 |
| 61 | Enema bulbs | item | 2 |
| 62 | Female bedpans | item | 5 |
| 63 | Male portable chamber pots | item | 5 |
| 64 | Sputum mugs | item | 5 |
| 65 | Dustbins | item | 5 |
| 66 | Sharps collectors | item | 2 |
| 67 | Drinking water storage containers | item | 1 |
| 68 | 21-inch recording monitors | item | 1 |
| 69 | Computers + printers | set | 1 |
| 8 | NEUROLOGY DEPARTMENT NEUROLOGY DEPARTMENT NEUROLOGY DEPARTMENT |  |  |
| 1 | ECG machines | item | 1 |
| 2 | EEG machines | item | 1 |
| 3 | EMG machines | item | 2 |
| 4 | Ventilators | item | 2 |
| 5 | Nebulizers | item | 2 |
| 6 | Cardioverter defibrillators, pacemakers | item | 1 |
| 7 | Portable oxygen generators | item | 4 |
| 8 | Patient monitors | item | 4 |
| 9 | Electric syringe pumps | item | 2 |
| 10 | Infusion pumps | item | 2 |
| 11 | Electrical suction machines | item | 2 |
| 12 | Continuous-operation electric suction machines | item | 2 |
| 13 | Nurse call alarm systems | piece | 1 |
| 14 | Adult sphygmomanometers | item | 5 |
| 15 | Pediatric sphygmomanometers | item | 2 |
| 16 | Adult Ambu bags | item | 2 |
| 17 | Reflex hammers | item | 4 |
| 18 | Ophthalmoscopes | item | 1 |
| 19 | Cerebrospinal fluid catheters | item | 6 |
| 20 | Diapasons | item | 1 |
| 21 | Cerebrospinal fluid manometers | item | 2 |
| 22 | Tongue depressors | item | 10 |
| 23 | Clinical thermometers, maximum temperature of 420C | item | 10 |
| 24 | X-ray film illuminators | item | 2 |
| 25 | Clar headlights | item | 2 |
| 26 | Surgical instrument kits | set | 1 |
| 27 | Male and female urethra catheters | set | 3 |
| 28 | Rectal catheters for adults and children | item | 6 |
| 29 | Nasogastric tubes for adults and children | item | 6 |
| 30 | Suction tubes of various kinds | item | 20 |
| 31 | Nasogastric tube feeding pumps | item | 2 |
| 32 | Oxygen humidifiers | set | 5 |
| 33 | Pressure gauges for oxygen tanks | item | 5 |
| 34 | Flow controlling valves for oxygen tanks | item | 5 |
| 35 | Oxygen tanks | item | 5 |
| 36 | Gauze and cotton sterilizing boxes of various kinds | item | 10 |
| 37 | Instrument sterilizing boxes of various kinds | item | 10 |
| 38 | Medical instrument trays of various kinds | item | 10 |
| 39 | Kidney trays of various kinds | item | 10 |
| 40 | Syringe and needle boiling sterilizers | item | 1 |
| 41 | Instrument boiling sterilizers | item | 1 |
| 42 | Instrument storage cabinets | item | 1 |
| 43 | Medicine storage cabinets | item | 1 |
| 44 | Fridges | item | 2 |
| 45 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 46 | Hot and cold packs (rubber) | item | 5 |
| 47 | Medical gloves, sizes 6.5 and 7 | pair | 100 |
| 48 | Oxygen tank carts | item | 1 |
| 49 | Dispensing trolleys | item | 1 |
| 50 | Instrument push trolleys | item | 1 |
| 51 | Wheelchairs | item | 2 |
| 52 | Patient stretcher trolleys | item | 1 |
| 53 | Manual stretchers | item | 1 |
| 54 | Crutches | item | 2 |
| 55 | Blood serum infusion poles | item | 5 |
| 56 | 20ml glass syringes + needles | set | 5 |
| 57 | Disposable syringes of various kinds | item | 200 |
| 58 | Medical beds | item | 10 |
| 59 | Bedside lockers | item | 10 |
| 60 | Office desks | item | 5 |
| 61 | Chairs | item | 10 |
| 62 | Seat stools | item | 10 |
| 63 | Whiteboards | item | 2 |
| 64 | Medical filing cabinets | item | 2 |
| 65 | Platform scales (maximum weight of 120kg) | item | 1 |
| 66 | Linen carts | item | 1 |
| 67 | Enema bulbs | item | 5 |
| 68 | Female bedpans | item | 5 |
| 69 | Male portable chamber pots | item | 5 |
| 70 | Sputum mugs | item | 10 |
| 71 | Dustbins | item | 1 |
| 72 | Sharps collectors | item | 2 |
| 73 | Disposable syringe and needle destroyers | item | 1 |
| 74 | Drinking water storage containers | item | 1 |
| 75 | 21-inch recording monitors | item | 1 |
| 76 | Computers + printers | set | 1 |
| 9 | PSYCHIATRY DEPARTMENT PSYCHIATRY DEPARTMENT PSYCHIATRY DEPARTMENT |  |  |
| 1 | ECG machines | item | 1 |
| 2 | EEG machines | item | 1 |
| 3 | Anaesthesia machines | item | 1 |
| 4 | Ventilators | item | 2 |
| 5 | Nebulizers | item | 2 |
| 6 | Cardioverter defibrillators, pacemakers | item | 1 |
| 7 | Electric cardiogenic shock machines | item | 2 |
| 8 | Portable oxygen generators | item | 4 |
| 9 | Electric syringe pumps | item | 2 |
| 10 | Infusion pumps | item | 2 |
| 11 | Patient monitors | item | 2 |
| 12 | Electrical suction machines | item | 2 |
| 13 | Continuous-operation electric suction machines | item | 2 |
| 14 | Nurse call alarm systems | piece | 1 |
| 15 | Adult sphygmomanometers | item | 5 |
| 16 | Pediatric sphygmomanometers | item | 1 |
| 17 | Adult bag-valve masks | item | 2 |
| 18 | Reflex hammers | item | 1 |
| 19 | Tongue depressors | item | 10 |
| 20 | Clinical thermometers, maximum temperature of 420C | item | 10 |
| 21 | X-ray film illuminators | item | 2 |
| 22 | Clar headlights | item | 2 |
| 23 | Surgical instrument kits | set | 1 |
| 24 | Male and female urethra instrument kits | set | 3 |
| 25 | Oxygen humidifiers | set | 5 |
| 26 | Pressure gauges for oxygen tanks | item | 5 |
| 27 | Flow controlling valves for oxygen tanks | item | 5 |
| 28 | Oxygen tanks | item | 5 |
| 29 | Gauze and cotton sterilizing boxes of various kinds | item | 10 |
| 30 | Instrument sterilizing boxes of various kinds | item | 10 |
| 31 | Medical instrument trays of various kinds | item | 10 |
| 32 | Kidney trays of various kinds | item | 10 |
| 33 | Syringe and needle boiling sterilizers | item | 1 |
| 34 | Instrument boiling sterilizers | item | 1 |
| 35 | Instrument storage cabinets | item | 1 |
| 36 | Medicine storage cabinets | item | 1 |
| 37 | Fridges | item | 2 |
| 38 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 39 | Hot and cold packs (rubber) | item | 5 |
| 40 | Medical gloves, sizes 6.5 and 7 | pair | 50 |
| 41 | Oxygen tank carts | item | 1 |
| 42 | Dispensing trolleys | item | 1 |
| 43 | Instrument push trolleys | item | 1 |
| 44 | Patient stretcher trolleys | item | 1 |
| 45 | Manual stretchers | item | 1 |
| 46 | Crutches | item | 1 |
| 47 | Blood serum infusion poles | item | 5 |
| 48 | 20ml glass syringes + needles | set | 5 |
| 49 | Disposable syringes of various kinds | item | 200 |
| 50 | Disposable syringe and needle destroyers | item | 1 |
| 51 | Sharps collectors | item | 2 |
| 52 | Medical beds | item | 10 |
| 53 | Bedside lockers | item | 10 |
| 54 | Office desks | item | 5 |
| 55 | Chairs | item | 10 |
| 56 | Seat stools | item | 10 |
| 57 | Whiteboards | item | 2 |
| 58 | Medical filing cabinets | item | 2 |
| 59 | Platform scales (maximum weight of 120kg) | item | 1 |
| 60 | Linen carts | item | 1 |
| 61 | Enema bulbs | item | 5 |
| 62 | Female bedpans | item | 5 |
| 63 | Male portable chamber pots | item | 5 |
| 64 | Sputum mugs | item | 10 |
| 65 | Dustbins | item | 1 |
| 66 | Drinking water storage containers | item | 1 |
| 67 | 21-inch recording monitors | item | 1 |
| 68 | Computers + printers | set | 1 |
| 10 | TRADITIONAL MEDICINE DEPARTMENT TRADITIONAL MEDICINE DEPARTMENT TRADITIONAL MEDICINE DEPARTMENT |  |  |
| 1 | Electro-acupuncture machines | item | 6 |
| 2 | Acupuncture point detectors | item | 2 |
| 3 | Laser acupuncture machines | item | 2 |
| 4 | Massage machines | item | 4 |
| 5 | Electric syringe pumps | item | 2 |
| 6 | Infusion pumps | item | 2 |
| 7 | Nebulizers | item | 4 |
| 8 | Herbal medicine pulverizers | item | 1 |
| 9 | Herbal medicine cutters | item | 1 |
| 10 | Herbal medicine cookers | item | 4 |
| 11 | Instruments for haemorrhoids ligation and incision | set | 2 |
| 12 | Acupuncture needles | set | 20 |
| 13 | Adult sphygmomanometers | item | 5 |
| 14 | Pediatric sphygmomanometers | item | 1 |
| 15 | Adult bag-valve masks | item | 2 |
| 16 | Reflex hammers | item | 1 |
| 17 | Tongue depressors | item | 10 |
| 18 | Clinical thermometers, maximum temperature of 420C | item | 15 |
| 19 | X-ray film illuminators | item | 3 |
| 20 | Clar headlights | item | 2 |
| 21 | Surgical instrument kits | set | 1 |
| 22 | Male and female urethra catheters | set | 5 |
| 23 | Oxygen humidifiers | set | 5 |
| 24 | Pressure gauges for oxygen tanks | item | 5 |
| 25 | Flow controlling valves for oxygen tanks | item | 5 |
| 26 | Oxygen tanks | item | 5 |
| 27 | Gauze and cotton sterilizing boxes of various kinds | item | 10 |
| 28 | Instrument sterilizing boxes of various kinds | item | 10 |
| 29 | Medical instrument trays of various kinds | item | 10 |
| 30 | Kidney trays of various kinds | item | 15 |
| 31 | Syringe and needle boiling sterilizers | item | 1 |
| 32 | Instrument boiling sterilizers | item | 1 |
| 33 | Instrument storage cabinets | item | 1 |
| 34 | Medicine storage cabinets | item | 1 |
| 35 | Oriental medicine cabinets | item | 2 |
| 36 | Fridges | item | 2 |
| 37 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 38 | Hot and cold packs (rubber) | item | 10 |
| 39 | Medical gloves, sizes 6.5 and 7 | pair | 50 |
| 40 | Oxygen tank carts | item | 1 |
| 41 | Dispensing trolleys | item | 1 |
| 42 | Instrument push trolleys | item | 1 |
| 43 | Patient stretcher trolleys | item | 1 |
| 44 | Manual stretchers | item | 1 |
| 45 | Crutches | item | 3 |
| 46 | Blood serum infusion poles | item | 5 |
| 47 | 20ml glass syringes + needles | set | 5 |
| 48 | Disposable syringes of various kinds | item | 200 |
| 49 | Disposable syringe and needle destroyers | item | 1 |
| 50 | Sharps collectors | item | 2 |
| 51 | Medical beds | item | 20 |
| 52 | Bedside lockers | item | 30 |
| 53 | Office desks | item | 10 |
| 54 | Chairs | item | 10 |
| 55 | Seat stools | item | 15 |
| 56 | Whiteboards | item | 2 |
| 57 | Medical filing cabinets | item | 2 |
| 58 | Platform scales (maximum weight of 120kg) | item | 1 |
| 59 | Linen carts | item | 1 |
| 60 | Enema bulbs | item | 5 |
| 61 | Female bedpans | item | 15 |
| 62 | Male portable chamber pots | item | 15 |
| 63 | Sputum mugs | item | 30 |
| 64 | Dustbins | item | 2 |
| 65 | Drinking water storage containers | item | 1 |
| 66 | 21-inch recording monitors | item | 1 |
| 67 | Computers + printers | set | 1 |
| 11 | PEDIATRICS DEPARTMENT PEDIATRICS DEPARTMENT PEDIATRICS DEPARTMENT |  |  |
| 1 | ECG machines | item | 1 |
| 2 | Pediatric ventilators | item | 2 |
| 3 | Ultrasonic neubulizers | item | 2 |
| 4 | Portable oxygen generators | item | 4 |
| 5 | Patient monitors | item | 2 |
| 6 | Neonatal incubators | item | 2 |
| 7 | Handheld pulse oximeters | item | 1 |
| 8 | Phototherapy lamps for neonatal jaundice treatment | item | 2 |
| 9 | Electric syringe pumps | item | 2 |
| 10 | Infusion pumps | item | 2 |
| 11 | Electrical suction machines | item | 2 |
| 12 | Continuous-operation electric suction machines | item | 2 |
| 13 | Nurse call alarm machines and systems | piece | 1 |
| 14 | Pediatric sphygmomanometers | item | 5 |
| 15 | Pediatric ambu bags | item | 5 |
| 16 | Endotracheal tubes | set | 2 |
| 17 | Trach cannularization tubes | set | 1 |
| 18 | Reflex hammers | item | 2 |
| 19 | Tongue depressors | item | 20 |
| 20 | Clinical thermometers, maximum temperature of 420C | item | 30 |
| 21 | X-ray film illuminators | item | 4 |
| 22 | Clar headlights | item | 2 |
| 23 | Surgical instrument kits | set | 1 |
| 24 | Urethra catheters for male and female children | set | 3 |
| 25 | Oxygen humidifiers | set | 5 |
| 26 | Pressure gauges for oxygen tanks | item | 5 |
| 27 | Flow controlling valves for oxygen tanks | item | 5 |
| 28 | Oxygen tanks | item | 5 |
| 29 | Gauze and cotton sterilizing boxes of various kinds | item | 20 |
| 30 | Instrument sterilizing boxes of various kinds | item | 10 |
| 31 | Medical instrument trays of various kinds | item | 10 |
| 32 | Kidney trays of various kinds | item | 10 |
| 33 | Instrument boiling sterilizers | item | 1 |
| 34 | Instrument storage cabinets | item | 1 |
| 35 | Medicine storage cabinets | item | 1 |
| 36 | Fridges | item | 2 |
| 37 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 38 | Hot and cold packs (rubber) | item | 10 |
| 39 | Medical gloves, sizes 6.5 and 7 | pair | 50 |
| 40 | Oxygen tank carts | item | 1 |
| 41 | Dispensing trolleys | item | 1 |
| 42 | Instrument push trolleys | item | 1 |
| 43 | Patient stretcher trolleys | item | 1 |
| 44 | Manual stretchers | item | 1 |
| 45 | Pediatric crutches | item | 2 |
| 46 | Blood serum infusion poles | item | 5 |
| 47 | Paracentesis needles | item | 5 |
| 48 | Pericardial catheters | item | 5 |
| 49 | Thoracentesis needles | item | 5 |
| 50 | Spinal menginges catheters | item | 5 |
| 51 | Nasal breathing cannulas | item | 10 |
| 52 | 20ml glass syringes + needles | set | 5 |
| 53 | Disposable syringes of various kinds | item | 200 |
| 54 | Syringe and needle destroyers | item | 1 |
| 55 | Sharps collectors | item | 2 |
| 56 | Pediatric feeding pumps | item | 2 |
| 57 | Medical beds | item | 30 |
| 58 | Bedside lockers | item | 30 |
| 59 | Office desks | item | 10 |
| 60 | Chairs | item | 20 |
| 61 | Seat stools | item | 20 |
| 62 | Whiteboards | item | 2 |
| 63 | Medical filing cabinets | item | 2 |
| 64 | Platform scales (maximum weight of 120kg) | item | 1 |
| 65 | Linen carts | item | 1 |
| 66 | Enema bulbs | item | 5 |
| 67 | Female bedpans | item | 15 |
| 68 | Male portable chamber pots | item | 15 |
| 69 | Sputum mugs | item | 10 |
| 70 | Dustbins | item | 1 |
| 71 | Drinking water storage containers | item | 1 |
| 72 | 21-inch recording monitors | item | 1 |
| 73 | Computers + printers | set | 1 |
| 12 | GENERAL SURGERY DEPARTMENTGENERAL SURGERY DEPARTMENTGENERAL SURGERY DEPARTMENT (Surgery – Traumatology and Orthopaedics – Burns) (Surgery – Traumatology and Orthopaedics – Burns) (Surgery – Traumatology and Orthopaedics – Burns) |  |  |
| 1 | ECG machines | item | 2 |
| 2 | Anaesthesia machines | item | 2 |
| 3 | Ventilators | item | 4 |
| 4 | Nebulizers | item | 4 |
| 5 | Cardioverter defibrillators, pacemakers | item | 4 |
| 6 | Portable oxygen generators | item | 1 |
| 7 | Patient monitors | item | 4 |
| 8 | Electric syringe pumps | item | 8 |
| 9 | Infusion pumps | item | 8 |
| 10 | Electrical suction machines | item | 2 |
| 11 | Continuous-operation electric suction machines | item | 2 |
| 12 | Nurse call alarm machines and systems | piece | 1 |
| 13 | Adult sphygmomanometers | item | 10 |
| 14 | Pediatric sphygmomanometers | item | 5 |
| 15 | Adult bag-valve masks | item | 5 |
| 16 | Pediatric bag-valve masks | item | 3 |
| 17 | Endotracheal tubes | set | 5 |
| 18 | Trach cannularization tubes | set | 1 |
| 19 | Reflex hammers | item | 2 |
| 20 | Tongue depressors | item | 20 |
| 21 | Clinical thermometers, maximum temperature of 420C | item | 15 |
| 22 | X-ray film illuminators | item | 4 |
| 23 | Clar headlights | item | 2 |
| 24 | Surgical instrument kits | set | 1 |
| 25 | Male and female urethra catheters | set | 10 |
| 26 | Oxygen humidifiers | set | 5 |
| 27 | Pressure gauges for oxygen tanks | item | 5 |
| 28 | Flow controlling valves for oxygen tanks | item | 5 |
| 29 | Oxygen tanks | item | 5 |
| 30 | Gauze and cotton sterilizing boxes of various kinds | item | 20 |
| 31 | Instrument sterilizing boxes of various kinds | item | 20 |
| 32 | Medical instrument trays of various kinds | item | 20 |
| 33 | Kidney trays of various kinds | item | 10 |
| 34 | Instrument boiling sterilizers | item | 2 |
| 35 | Instrument storage cabinets | item | 2 |
| 36 | Medicine storage cabinets | item | 2 |
| 37 | Fridges | item | 4 |
| 38 | Electric drying cabinets, maximum temperature 3000C | item | 4 |
| 39 | Hot and cold packs (rubber) | item | 10 |
| 40 | Medical gloves, sizes 6.5 and 7 | pair | 50 |
| 41 | Plaster tables | item | 1 |
| 42 | Oxygen tank carts | item | 1 |
| 43 | Dispensing trolleys | item | 4 |
| 44 | Instrument push trolleys | item | 2 |
| 45 | Patient stretcher trolleys | item | 2 |
| 46 | Manual stretchers | item | 2 |
| 47 | Crutches | item | 4 |
| 48 | Medical emergency beds | item | 4 |
| 49 | Anti-ulcer mattresses | item | 4 |
| 50 | Medical gloves | pair | 20 |
| 51 | Blood serum infusion poles | item | 10 |
| 52 | 20ml glass syringes + needles | set | 5 |
| 53 | Disposable syringes of various kinds | item | 500 |
| 54 | Disposable syringe and needle destroyers | item | 1 |
| 55 | Sharps collectors | item | 6 |
| 56 | Pediatric feeding pumps | item | 2 |
| 57 | Medical beds | item | 90 |
| 58 | Bedside lockers | item | 90 |
| 59 | Office desks | item | 40 |
| 60 | Chairs | item | 80 |
| 61 | Seat stools | item | 80 |
| 62 | Whiteboards | item | 2 |
| 63 | Medical filing cabinets | item | 10 |
| 64 | Platform scales (maximum weight of 120kg) | item | 3 |
| 65 | Linen carts | item | 2 |
| 66 | Enema bulbs | item | 10 |
| 67 | Female bedpans | item | 45 |
| 68 | Male portable chamber pots | item | 45 |
| 69 | Sputum mugs | item | 90 |
| 70 | Dustbins | item | 6 |
| 71 | Drinking water storage containers | item | 5 |
| 72 | 21-inch recording monitors | item | 3 |
| 73 | Computers + printers | set | 2 |
| 13 | ANAESTHESIOLOGY AND SURGICAL INTENSIVE CARE DEPARTMENT ANAESTHESIOLOGY AND SURGICAL INTENSIVE CARE DEPARTMENT ANAESTHESIOLOGY AND SURGICAL INTENSIVE CARE DEPARTMENT |  |  |
| 1 | Anaesthesia machines | set | 4 |
| 2 | Anaesthesia machines with built-in ventilators | item | 6 |
| 3 | Ventilators | item | 8 |
| 4 | Electric surgical knives | item | 8 |
| 5 | Laser scalpels of various kinds | item | 2 |
| 6 | Ultrasonic surgical knives | item | 1 |
| 7 | Ophthalmic surgery microscopes | set | 6 |
| 8 | Excimer devices for ophthalmic surgery | piece | 2 |
| 9 | ENT and otolaryngology surgery microscopes | set | 1 |
| 10 | Laparoscopy systems with monitors | piece | 2 |
| 11 | Cardioverter defibrillators, pacemakers | item | 2 |
| 12 | Cardiopulmonary bypass machines | item | 2 |
| 13 | Patient monitors (Operating room No.8 and post-operative care room No.8) | item | 16 |
| 14 | Central monitor | Item | 1 |
| 15 | ECG machines | piece | 2 |
| 16 | Skin grafting instruments | item | 1 |
| 17 | C-arm X-ray systems with displays | item | 1 |
| 18 | Electric bone cutting machines | item | 2 |
| 19 | Electric plaster cutting saws | item | 2 |
| 20 | Manual plaster saws | item | 2 |
| 21 | Electric bone drills | item | 2 |
| 22 | Manual bone drills | item | 2 |
| 23 | Electrical suction machines | item | 8 |
| 24 | Continuous-operation electric suction machines | item | 8 |
| 25 | Surgical suction pumps | item | 8 |
| 26 | Infusion pumps | item | 12 |
| 27 | Electric syringe pumps of various kinds | item | 12 |
| 28 | Video camera systems in operation theaters (for medical consultation and training purposes) | set | 1 |
| 29 | Tables for traumatological and orthopaedic surgery | item | 2 |
| 30 | Plaster tables | item | 1 |
| 31 | Multipurpose hydraulic surgical tables | item | 8 |
| 32 | 4-section X-ray film viewers | set | 10 |
| 33 | UV sterilization lamps | set | 20 |
| 34 | Mobile single-lamp surgical lights | item | 10 |
| 35 | Mobile single-lamp surgical lights | item | 10 |
| 36 | 180000-200000 lux ceiling-mounted surgical lights with auxiliary lamps | set | 8 |
| 37 | Major-grade surgical instrument kits | set | 5 |
| 38 | Intermediate-grade surgical instrument kits | set | 5 |
| 39 | Minor-grade surgical instrument kits | set | 10 |
| 40 | Vein stripping instrument kits | set | 2 |
| 41 | Instruments for haemorrhoids incision | set | 2 |
| 42 | Tracheostomy instrument kits | set | 2 |
| 43 | Instrument kits for oral and maxillofacial surgery | set | 2 |
| 44 | Instrument kits for oral and maxillofacial surgery | set | 2 |
| 45 | Instrument kits for urologic surgery | set | 2 |
| 46 | Instrument kits for prostate surgery | set | 2 |
| 47 | Instrument kits for gallbladder removal surgery | set | 2 |
| 48 | Instrument kits for thyroid gland removal surgery | set | 2 |
| 49 | Instrument kits for vertebrarium surgery | set | 2 |
| 50 | Instrument kits for traumatological and orthopaedic surgery | set | 2 |
| 51 | Instrument kits for gastric surgery | set | 2 |
| 52 | Instrument kits for rib cage surgery | set | 2 |
| 53 | Instrument kits for ophthalmic surgery | set | 2 |
| 54 | Instrument kits for gynaecological surgery | set | 2 |
| 55 | Instrument kits for obstetrical surgery | set | 2 |
| 56 | Instrument kits for pediatric surgery | set | 2 |
| 57 | Instrument kits for otomicrosurgery | set | 2 |
| 58 | Instrument kits for laryngeal surgery | set | 2 |
| 59 | Instrument kits for craniotomy | set | 2 |
| 60 | Beauty and aesthetic instrument kits | set | 2 |
| 61 | Instrument kits for ENT surgery | set | 4 |
| 63 | Instrument kits for sinus surgery | set | 2 |
| 64 | Instrument kits for blood vessel microsurgery | set | 2 |
| 65 | Instrument kits for neurological microsurgery | set | 2 |
| 66 | Certain other instruments required depending on professional expertise | optional |  |
| 67 | Adult Ambu recuscitation kits | set | 4 |
| 68 | Pediatric ambu recuscitation kits | set | 2 |
| 69 | Blood bank refrigerators | item | 3 |
| 70 | Fridges | item | 4 |
| 71 | Electric drying cabinets | item | 4 |
| 72 | Oxygen tank carts | item | 2 |
| 73 | Dispensing trolleys | item | 8 |
| 74 | Instrument push trolleys | item | 16 |
| 75 | Patient stretcher trolleys | item | 8 |
| 76 | Manual stretchers | item | 8 |
| 77 | Oxygen humidifiers | set | 16 |
| 78 | Pressure gauges for oxygen tanks | item | 20 |
| 79 | Flow controlling valves for oxygen tanks | item | 20 |
| 80 | Oxygen tanks | item | 20 |
| 81 | Gauze and cotton sterilizing boxes of various kinds | item | 40 |
| 82 | Instrument sterilizing boxes of various kinds | item | 40 |
| 83 | Medical instrument trays of various kinds | item | 40 |
| 84 | Kidney trays of various kinds | item | 20 |
| 85 | Instrument boiling sterilizers | item | 4 |
| 86 | Medicine storage cabinets | item | 6 |
| 87 | Instrument storage cabinets | item |  |
| 88 | Autoclaves | item | 2 |
| 89 | Two-bay surgeon scrub sinks | set | 8 |
| 90 | Medical gloves for surgeons | pair | 500 |
| 91 | 20ml glass syringes + needles | set | 20 |
| 92 | Disposable syringes of various kinds | item | 500 |
| 93 | Disposable syringe and needle destroyers | item | 1 |
| 94 | Sharps collectors | item | 5 |
| 95 | Blood serum infusion poles | item | 10 |
| 96 | Medical beds | item | 12 |
| 97 | Anti-ulcer mattresses | item | 5 |
| 98 | Bedside lockers | item | 10 |
| 99 | Office desks | item | 10 |
| 100 | Chairs | item | 30 |
| 101 | Seat stools | item | 10 |
| 102 | Whiteboards | item | 8 |
| 103 | Medical filing cabinets | item | 8 |
| 104 | Platform scales (maximum weight of 120kg) | item | 2 |
| 105 | Linen carts | item | 2 |
| 106 | Enema bulbs | item | 8 |
| 107 | Female bedpans | item | 10 |
| 108 | Male portable chamber pots | item | 10 |
| 109 | Sputum mugs | item | 10 |
| 110 | Dustbins | item | 8 |
| 111 | Drinking water storage containers | item | 2 |
| 112 | Standby power generators, 2KVA - 5KVA/ 220V/50HZ | item | 2 |
| 113 | 21-inch recording monitors | item | 1 |
| 114 | Computers + printers | set | 1 |
| 14 | OBSTETRICS, GYNECOLOGY (including neonatal) DEPARTMENT OBSTETRICS, GYNECOLOGY (including neonatal) DEPARTMENT OBSTETRICS, GYNECOLOGY (including neonatal) DEPARTMENT |  |  |
| 1 | Cervical cytology screeners | item | 1 |
| 2 | Diagnostic ultrasound machines | item | 1 |
| 3 | Fetal monitors | item | 2 |
| 4 | Fetal heart Doppler monitors | item | 2 |
| 5 | Cervix thermal coagulators | item | 1 |
| 6 | Electrical suction machines | item | 1 |
| 7 | Low-pressure suction machines | item | 2 |
| 8 | Mucus suction machines for newborns | item | 2 |
| 9 | Dehumidifiers | item | 2 |
| 10 | ECG machines | item | 1 |
| 11 | Anaesthesia machines | item | 1 |
| 12 | Ventilators | item | 2 |
| 13 | Pediatric ventilators | item | 2 |
| 14 | Neonatal incubators | item | 6 |
| 15 | Nebulizers | item | 2 |
| 16 | Cardioverter defibrillators, pacemakers | item | 1 |
| 17 | Portable oxygen generators | item | 4 |
| 18 | Electric syringe pumps | item | 2 |
| 19 | Infusion pumps | item | 3 |
| 20 | Patient monitors | item | 2 |
| 21 | Tubal insufflation instruments | item | 1 |
| 22 | Amnioscopes | item | 1 |
| 23 | Gynecological exam tables | item | 3 |
| 24 | Birthing beds | item | 6 |
| 25 | Obstetric delivery tables | item | 2 |
| 26 | Gynaecological operating tables | item | 1 |
| 27 | Nurse call alarm systems | piece | 1 |
| 28 | Adult sphygmomanometers | item | 5 |
| 29 | Pediatric sphygmomanometers | item | 2 |
| 30 | Adult Ambu bags | item | 2 |
| 31 | Reflex hammers | item | 2 |
| 32 | Tongue depressors | item | 10 |
| 33 | Clinical thermometers, maximum temperature of 420C | item | 15 |
| 34 | X-ray film illuminators | item | 2 |
| 35 | Clar headlights | item | 3 |
| 36 | Phototherapy lamps for neonatal jaundice treatment | item | 2 |
| 37 | Infrared light therapy devices | item | 2 |
| 38 | Surgical instrument kits | set | 1 |
| 39 | Female urethra catheterization instruments | set | 3 |
| 40 | Endotracheal tubes | set | 2 |
| 41 | Female sterilization kits | set | 3 |
| 42 | Male sterilization kits | set | 3 |
| 43 | Midwifery instrument kits | set | 10 |
| 44 | Gynaelogical and obstetrical examination kits | set | 5 |
| 45 | Cesarean section and hysterectomy instruments | set | 3 |
| 46 | Hysterectomy instruments | set | 2 |
| 47 | Cesarean section instruments | set | 3 |
| 48 | Cervical biopsy forceps | item | 2 |
| 49 | Baby radiators | set | 2 |
| 50 | Abortion instruments | set | 4 |
| 51 | Instruments for removal of IUD | set | 4 |
| 52 | Manual mucus suction instruments for newborns | item | 1 |
| 53 | Adult weighing scale with height rods | item | 1 |
| 54 | Neonatal weighing scales | item | 2 |
| 55 | Pediatric bath tubs | item | 10 |
| 56 | Emergency beds | item | 1 |
| 57 | Beds for postparfum intensive care | item | 5 |
| 58 | Anti-ulcer mattresses | item | 4 |
| 59 | Oxygen humidifiers | item | 5 |
| 60 | Pressure gauges for oxygen tanks | item | 5 |
| 61 | Flow controlling valves for oxygen tanks | item | 5 |
| 62 | Oxygen tanks | item | 5 |
| 63 | Gauze and cotton sterilizing boxes of various kinds | item | 30 |
| 64 | Instrument sterilizing containers of various kinds | item | 30 |
| 65 | Medical instrument trays of various kinds | item | 30 |
| 66 | Kidney trays of various kinds | item | 30 |
| 67 | Syringe and needle hot-water sterilizers | item | 2 |
| 68 | Instrument boiling sterilizers | item | 2 |
| 69 | Instrument storage cabinets | item | 3 |
| 70 | Medicine storage cabinets | item | 3 |
| 71 | Fridges | item | 3 |
| 72 | Electric drying cabinets, maximum temperature 3000C | item | 3 |
| 73 | Hot and cold packs (rubber) | item | 10 |
| 74 | Medical gloves | pair | 200 |
| 75 | Oxygen tank carts | item | 1 |
| 76 | Medicine dispensing trolleys | item | 5 |
| 77 | Instrument push trolleys | item | 3 |
| 78 | Wheelchairs | item | 4 |
| 79 | Patient stretcher trolley | item | 2 |
| 80 | Manual stretchers | item | 2 |
| 81 | Crutches | item | 2 |
| 82 | Blood serum infusion poles | item | 15 |
| 83 | Disposable syringes of various kinds | item | 200 |
| 84 | Disposable syringe and needle destroyers | item | 1 |
| 85 | Sharps collectors | item | 5 |
| 86 | Medical beds | item | 50 |
| 87 | Bedside lockers | item | 50 |
| 88 | Office desks | item | 20 |
| 89 | Chairs | item | 50 |
| 90 | Seat stools | item | 50 |
| 91 | Whiteboards | item | 4 |
| 92 | Medical filing cabinets | item | 4 |
| 93 | Platform scales (maximum weight of 120kg) | item | 2 |
| 94 | Linen carts | item | 2 |
| 95 | Enema bulbs | item | 20 |
| 96 | Female bedpans | item | 50 |
| 97 | Male portable chamber pots | item | 50 |
| 98 | Sputum mugs | item | 10 |
| 99 | Dustbins | item | 4 |
| 100 | Anti-bacterial solution buckets | item | 2 |
| 101 | Drinking water storage containers | item | 2 |
| 102 | 21-inch recording monitors | item | 2 |
| 103 | Computers + printers | item | 1 |
| 15 | OTORHINOLARYNGOLOGY DEPARTMENTOTORHINOLARYNGOLOGY DEPARTMENTOTORHINOLARYNGOLOGY DEPARTMENT |  |  |
| 1 | Rhinoscopes | item | 1 |
| 2 | Rigid-tube esophagoscopes | item | 1 |
| 3 | Flexible-tube esophagoscopes | item | 1 |
| 4 | Chairs for otorhinolaryngological examination and treatment | item | 2 |
| 5 | Adult self-recording audiometers | item | 2 |
| 6 | Pediatric self-recording audiometers | item | 2 |
| 7 | Diapason kits | set | 1 |
| 8 | Electrical suction machines | item | 2 |
| 9 | Electric syringe pumps | item | 2 |
| 10 | Infusion pumps | item | 2 |
| 11 | Nebulizers | item | 5 |
| 12 | Hearing aids | item | 1 |
| 13 | Suction machines | item | 1 |
| 14 | Continuous-operation electric suction machines | item | 2 |
| 15 | Nurse call alarm systems | piece | 1 |
| 16 | Endotracheal tubes | set | 4 |
| 17 | Chairs for otorhinolaryngological examination and treatment | set | 6 |
| 18 | Instruments for otorhinolaryngological examination and treatment |  | 2 |
| 19 | Microscopes for ENT surgery (available at operating theaters) |  | 1 |
| 20 | Tonsillectomy instrument kits | set | 1 |
| 21 | Ear surgery instruments | set | 1 |
| 22 | Sinus surgery instruments (available at operating theaters) | set | 1 |
| 23 | Throat surgery instruments (available at operating theaters) | set | 1 |
| 24 | Laryngeal surgery instruments (available at operating theaters) | set | 1 |
| 25 | Mouth gags for children and adults | set | 2 |
| 26 | Pediatric laryngoscopes | set | 1 |
| 27 | Adult laryngoscopes | set | 1 |
| 28 | Adult sphygmomanometers | item | 5 |
| 29 | Pediatric sphygmomanometers | item | 2 |
| 30 | Adult bag-valve masks | item | 2 |
| 31 | Reflex hammers | item | 2 |
| 32 | Stainless steel, straight and curved metal tongue depressors | item | 30 |
| 33 | All-purpose examination lamps | set | 4 |
| 34 | Clinical thermometers, maximum temperature of 420C | item | 15 |
| 35 | X-ray film illuminators | item | 2 |
| 36 | Clar headlights | item | 2 |
| 37 | Surgical instrument kits | set | 1 |
| 38 | Male and female urethra catheters | set | 3 |
| 39 | Oxygen humidifiers | set | 5 |
| 40 | Pressure gauges for oxygen tanks | item | 5 |
| 41 | Flow controlling valves for oxygen tanks | item | 5 |
| 42 | Oxygen tanks | item | 5 |
| 43 | Gauze and cotton sterilizing boxes of various kinds | item | 10 |
| 44 | Instrument sterilizing containers of various kinds | item | 10 |
| 45 | Medical instrument trays of various kinds | item | 10 |
| 46 | Kidney trays of various kinds | item | 10 |
| 47 | Syringe and needle boiling sterilizers | item | 1 |
| 48 | Instrument boiling sterilizers | item | 1 |
| 49 | Instrument storage cabinets | item | 1 |
| 50 | Medicine storage cabinets | item | 1 |
| 51 | Fridges | item | 1 |
| 52 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 53 | Hot and cold packs (rubber) | item | 3 |
| 54 | Medical gloves, sizes 6.5 and 7 | item | 50 |
| 55 | Oxygen tank carts | item | 1 |
| 56 | Dispensing trolleys | item | 1 |
| 57 | Instrument push trolleys | item | 1 |
| 58 | Patient stretcher trolley | item | 1 |
| 59 | Manual stretchers | item | 1 |
| 60 | Crutches | pair | 1 |
| 61 | Blood serum infusion poles | item | 2 |
| 62 | 20ml glass syringes + needles | item | 5 |
| 63 | Disposable syringes of various kinds | item | 200 |
| 64 | Disposable syringe and needle destroyers | item | 1 |
| 65 | Sharps collectors | item | 2 |
| 66 | Medical beds | item | 10 |
| 67 | Bedside lockers | item | 10 |
| 68 | Office desks | item | 5 |
| 69 | Chairs | item | 10 |
| 70 | Seat stools | item | 10 |
| 71 | Whiteboards | item | 2 |
| 72 | Medical filing cabinets | item | 2 |
| 73 | Platform scales (maximum weight of 120kg) | item | 1 |
| 74 | Linen carts | item | 1 |
| 75 | Enema bulbs | item | 2 |
| 76 | Female bedpans | item | 5 |
| 77 | Male portable chamber pots | item | 5 |
| 78 | Sputum mugs | item | 5 |
| 79 | Dustbins | item | 1 |
| 80 | Drinking water storage containers | item | 1 |
| 81 | 21-inch recording monitors | item | 1 |
| 82 | Computers + printers | item | 1 |
| 16 | ORAL AND MAXILLOFACIAL DEPARTMENTORAL AND MAXILLOFACIAL DEPARTMENTORAL AND MAXILLOFACIAL DEPARTMENT |  |  |
| 1 | ECG machines | item | 1 |
| 2 | Anaesthesia machines | item | 1 |
| 3 | Ventilators | item | 2 |
| 4 | Nebulizers | item | 2 |
| 5 | Portable oxygen generators | item | 4 |
| 6 | Electric syringe pumps | item | 2 |
| 7 | Infusion pumps | item | 2 |
| 8 | Patient monitors | item | 2 |
| 9 | Dental chairs and machines | piece | 2 |
| 10 | Panoramic dental X-ray devices (two jaws) | item | 1 |
| 11 | Dental X-ray scanners | item | 1 |
| 12 | Tartar removers | item | 3 |
| 13 | Amalgamators | item | 1 |
| 14 | Halogen curing lights | item | 1 |
| 15 | Electrical suction machines | item | 4 |
| 16 | Dental laboratories for 4 technicians (fully equipped with plastic and ceramic items) | Lab | 1 |
| 17 | Electric dental drillers | item | 1 |
| 18 | Endotracheal tubes | set | 2 |
| 19 | Surgical instrument kits | item | 2 |
| 20 | Trach cannularization tubes | item | 2 |
| 21 | Pediatric tooth extraction instruments | item | 2 |
| 22 | Adult tooth extraction instruments | item | 5 |
| 23 | Manual instruments for removal of plaque and tartar | item | 10 |
| 24 | Compact instruments for dental treatment | item | 10 |
| 25 | Palate surgical instruments | item | 2 |
| 26 | Instrument kits for oral and maxillofacial surgery | item | 2 |
| 27 | Adult sphygmomanometers | item | 5 |
| 28 | Pediatric sphygmomanometers | item | 2 |
| 29 | Adult Ambu bags | item | 2 |
| 30 | Reflex hammers | item | 2 |
| 31 | Stainless steel, straight and curved metal tongue depressors | item | 30 |
| 32 | All-purpose examination lamps | item | 4 |
| 33 | Clinical thermometers, maximum temperature of 420C | item | 15 |
| 34 | X-ray film illuminators | item | 2 |
| 35 | Clar headlights | item | 2 |
| 36 | Surgical instrument kits | set | 1 |
| 37 | Male and female urethra catheters | set | 3 |
| 38 | Oxygen humidifiers | set | 5 |
| 39 | Pressure gauges for oxygen tanks | item | 5 |
| 40 | Flow controlling valves for oxygen tanks | item | 5 |
| 41 | Oxygen tanks | item | 5 |
| 42 | Gauze and cotton sterilizing boxes of various kinds | item | 10 |
| 43 | Instrument sterilizing containers of various kinds | item | 10 |
| 44 | Medical instrument trays of various kinds | item | 10 |
| 45 | Kidney trays of various kinds | item | 10 |
| 46 | Syringe and needle boiling sterilizers | item | 1 |
| 47 | Instrument boiling sterilizers | item | 1 |
| 48 | Autoclaves (small size) | item | 1 |
| 49 | Instrument storage cabinets | item | 1 |
| 50 | Medicine storage cabinets | item | 1 |
| 51 | Fridges | item | 1 |
| 52 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 53 | Hot and cold packs (rubber) | item | 3 |
| 54 | Medical gloves, sizes 6.5 and 7 | item | 50 |
| 55 | Oxygen tank carts | item | 1 |
| 56 | Dispensing trolleys | item | 1 |
| 57 | Instrument push trolleys | item | 1 |
| 58 | Patient stretcher trolley | item | 1 |
| 59 | Manual stretchers | item | 1 |
| 60 | Crutches | pair | 1 |
| 61 | Blood serum infusion poles | item | 2 |
| 62 | Dental syringes | item | 4 |
| 63 | 20ml glass syringes + needles | item | 5 |
| 64 | Disposable syringes of various kinds | item | 200 |
| 65 | Disposable syringe and needle destroyers | item | 1 |
| 66 | Sharps collectors | item | 2 |
| 67 | Medical beds | item | 10 |
| 68 | Bedside lockers | item | 10 |
| 69 | Office desks | item | 5 |
| 70 | Chairs | item | 10 |
| 71 | Seat stools | item | 10 |
| 72 | Whiteboards | item | 2 |
| 73 | Medical filing cabinets | item | 2 |
| 74 | Platform scales (maximum weight of 120kg) | item | 1 |
| 75 | Linen carts | item | 1 |
| 76 | Enema bulbs | item | 2 |
| 77 | Female bedpans | item | 5 |
| 78 | Male portable chamber pots | item | 5 |
| 79 | Sputum mugs | item | 10 |
| 80 | Dustbins | item | 1 |
| 81 | Drinking water storage containers | item | 1 |
| 82 | 21-inch recording monitors | item | 1 |
| 83 | Computers + printers | item | 1 |
| 17 | OPHTHALMOLOGY DEPARTMENTOPHTHALMOLOGY DEPARTMENTOPHTHALMOLOGY DEPARTMENT |  |  |
| 1 | ECG machines | item | 1 |
| 2 | Anaesthesia machines | item | 1 |
| 3 | Ventilators | item | 1 |
| 4 | Nebulizers | item | 1 |
| 5 | Cardioverter defibrillators, pacemakers | item | 1 |
| 6 | Portable oxygen generators | item | 4 |
| 7 | Electric syringe pumps | item | 2 |
| 8 | Infusion pumps | item | 2 |
| 9 | Ophthalmic ultrasound imaging machines | item | 1 |
| 10 | Optometry instruments | item | 2 |
| 11 | Perimeters | item | 2 |
| 12 | Refractometer | item | 1 |
| 13 | Non-contact tanometers | item | 1 |
| 14 | Maklakov tonometry instruments | set | 4 |
| 15 | Strabismus measurement devices | item | 1 |
| 16 | Kerato-refractometers | item | 2 |
| 17 | Vitrectomy machines | item | 1 |
| 18 | Slit lamps | item | 2 |
| 19 | Phacoemulsification systems | piece | 1 |
| 20 | Excimer laser systems for ophthalmic surgery | piece | 1 |
| 21 | Direct ophthalmoscopes | item | 4 |
| 22 | Indirect ophthalmoscopes | item | 1 |
| 23 | 60,000 lux – 80,000 lux movable surgical lamps | item | 1 |
| 24 | Ophthalmic surgery microscopes | item | 2 |
| 25 | Illuminated eye chart boxes | item | 2 |
| 26 | Patient monitors | item | 2 |
| 27 | Color vision test plates | item | 2 |
| 28 | Syringe and needle boiling sterilizers | item | 1 |
| 29 | Electric syringe pumps | item | 2 |
| 30 | Electrical suction machines | item | 2 |
| 31 | Continuous-operation electric suction machines | item | 2 |
| 32 | Nurse call alarm systems | piece | 1 |
| 33 | Oxygen tanks |  | 5 |
| 34 | Ophthalmic refraction exam instruments (including Parent ruler, hollow mirrors and Landolt lamps) | set | 2 |
| 35 | Trial lens set cases | set | 2 |
| 36 | Glaucoma test instruments | set | 2 |
| 37 | Cataract surgical instruments | set | 2 |
| 38 | Trichiasis surgical instruments | set | 2 |
| 39 | Cherry eye surgical instruments | set | 2 |
| 40 | Foreign body removal kits | set | 2 |
| 41 | Instruments for minor-grade surgical treatment such as hordeolum, chalazion and corneal foreign body | set | 4 |
| 42 | Instruments for tear duct unblocking | set | 2 |
| 43 | Adult sphygmomanometers | item | 5 |
| 44 | Pediatric sphygmomanometers | item | 2 |
| 45 | Adult bag-valve masks | item | 2 |
| 46 | Reflex hammers | item | 2 |
| 47 | Stainless steel, straight and curved metal tongue depressors | item | 10 |
| 48 | Clinical thermometers, maximum temperature of 420C | item | 15 |
| 49 | X-ray film illuminators | item | 2 |
| 50 | Clar headlights | item | 2 |
| 51 | Oxygen humidifiers | set | 5 |
| 52 | Pressure gauges for oxygen tanks | item | 5 |
| 53 | Flow controlling valves for oxygen tanks | item | 5 |
| 54 | Oxygen tanks | item | 5 |
| 55 | Gauze and cotton sterilizing boxes of various kinds | item | 10 |
| 56 | Instrument sterilizing containers of various kinds | item | 10 |
| 57 | Medical instrument trays of various kinds | item | 10 |
| 58 | Kidney trays of various kinds | item | 10 |
| 59 | Syringe and needle boiling sterilizers | item | 1 |
| 60 | Instrument boiling sterilizers | item | 1 |
| 61 | Instrument storage cabinets | item | 1 |
| 62 | Medicine storage cabinets | item | 1 |
| 63 | Fridges | item | 1 |
| 64 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 65 | Hot and cold packs (rubber) | item | 3 |
| 66 | Medical gloves, sizes 6.5 and 7 | item | 50 |
| 67 | Oxygen tank carts | item | 1 |
| 68 | Dispensing trolleys | item | 1 |
| 69 | Instrument push trolleys | item | 1 |
| 70 | Wheelchairs | item | 2 |
| 71 | Patient stretcher trolley | item | 1 |
| 72 | Manual stretchers | item | 1 |
| 73 | Crutches | pair | 1 |
| 74 | Blood serum infusion poles | item | 2 |
| 75 | 20ml glass syringes + needles | item | 5 |
| 76 | Disposable syringes of various kinds | item | 200 |
| 77 | Disposable syringe and needle destroyers | item | 1 |
| 78 | Sharps collectors | item | 2 |
| 79 | Medical beds | item | 10 |
| 80 | Bedside lockers | item | 10 |
| 81 | Office desks | item | 5 |
| 82 | Chairs | item | 10 |
| 83 | Seat stools | item | 10 |
| 84 | Whiteboards | item | 2 |
| 85 | Medical filing cabinets | item | 2 |
| 86 | Platform scales (maximum weight of 120kg) | item | 1 |
| 87 | Linen carts | item | 1 |
| 88 | Enema bulbs | item | 2 |
| 89 | Female bedpans | item | 5 |
| 90 | Male portable chamber pots | item | 5 |
| 91 | Sputum mugs | item | 5 |
| 92 | Dustbins | item | 1 |
| 93 | Drinking water storage containers | item | 1 |
| 94 | 21-inch recording monitors | item | 1 |
| 95 | Computers + printers | item | 1 |
| 18 | PHYSIOTHERAPY AND REHABILITATION DEPARTMENTPHYSIOTHERAPY AND REHABILITATION DEPARTMENTPHYSIOTHERAPY AND REHABILITATION DEPARTMENT |  |  |
| 1 | Laser therapy equipment | item | 2 |
| 2 | Shortwave therapy equipment | item | 2 |
| 3 | Microwave and continuous-operation therapy units | item | 2 |
| 4 | Ergometer exercise bikes | item | 4 |
| 5 | Electromagnetic therapy machines | item | 2 |
| 6 | Low-frequency therapeutical equipment | item | 2 |
| 7 | Therapeutical ultrasound equipment | item | 2 |
| 8 | Electrical muscle stimulators | item | 1 |
| 9 | Interferential current therapy devices | item | 1 |
| 10 | Neuromuscular stimulators | item | 1 |
| 11 | Hydrotherapy machines | set | 2 |
| 12 | Thermotherapy machines | item | 2 |
| 13 | Hyperbaric oxygen therapy machines | item | 2 |
| 14 | Hand dynamometers | set | 4 |
| 15 | Leg dynamometers | set | 2 |
| 16 | Electro-galvanized stimulators | item | 2 |
| 17 | Hitting practice devices | item | 4 |
| 18 | Handweights, weight range 1 kg to 10 kg | set | 4 |
| 19 | Stretching exercise equipment | item | 2 |
| 20 | ECG machines | item | 1 |
| 21 | Anaesthesia machines | item | 1 |
| 22 | Ventilators | item | 2 |
| 23 | Nebulizers | item | 2 |
| 24 | Cardioverter defibrillators, pacemakers | item | 1 |
| 25 | Personal oxygen generators | item | 4 |
| 26 | Patient monitors | item | 2 |
| 27 | Electric syringe pumps | item | 2 |
| 28 | Infusion pumps | item | 2 |
| 29 | Electrical suction machines | item | 2 |
| 30 | Continuous-operation low-pressure suction machines | item | 2 |
| 31 | Continuous-operation electric suction machines | item | 2 |
| 32 | Nurse call alarm systems | piece | 1 |
| 33 | UV therapeutical lamps | set | 2 |
| 34 | Infra-red lights | set | 4 |
| 35 | Phototherapy equipment | set | 4 |
| 36 | Exercise chairs | item | 4 |
| 37 | Exercise mattresses | item | 4 |
| 38 | Hyperextension benches | item | 2 |
| 39 | Crutches of various kinds | pair | 10 |
| 40 | Wooden training stairs | set | 2 |
| 41 | Message beds | set | 4 |
| 42 | Adult sphygmomanometers | item | 5 |
| 43 | Pediatric sphygmomanometers | item | 2 |
| 44 | Adult bag-valve masks | item | 2 |
| 45 | Reflex hammers | item | 2 |
| 46 | Stainless steel, straight and curved metal tongue depressors | item | 10 |
| 47 | Clinical thermometers, maximum temperature of 420C | item | 15 |
| 48 | X-ray film illuminators | item | 2 |
| 49 | Clar headlights | item | 2 |
| 50 | Gauze and cotton sterilizing boxes of various kinds | item | 10 |
| 51 | Instrument sterilizing containers of various kinds | item | 10 |
| 52 | Medical instrument trays of various kinds | item | 10 |
| 53 | Kidney trays of various kinds | item | 10 |
| 54 | Syringe and needle boiling sterilizers | item | 1 |
| 55 | Instrument storage cabinets | item | 1 |
| 56 | Medicine storage cabinets | item | 1 |
| 57 | Fridges | item | 1 |
| 58 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 59 | Hot and cold packs (rubber) | item | 5 |
| 60 | Medical gloves, sizes 6.5 and 7 | item | 50 |
| 61 | Oxygen tank carts | item | 1 |
| 62 | Dispensing trolleys | item | 1 |
| 63 | Instrument push trolleys | item | 1 |
| 64 | Wheelchairs | item | 2 |
| 65 | Manual stretchers | item | 1 |
| 66 | Crutches | pair | 4 |
| 67 | Blood serum infusion poles | item | 2 |
| 68 | Disposable syringes of various kinds | item | 200 |
| 69 | Disposable syringe and needle destroyers | item | 1 |
| 70 | Sharps collectors | item | 2 |
| 71 | Medical beds | item | 5 |
| 72 | Bedside lockers | item | 5 |
| 73 | Office desks | item | 3 |
| 74 | Chairs | item | 10 |
| 75 | Seat stools | item | 10 |
| 76 | Whiteboards | item | 2 |
| 77 | Medical filing cabinets | item | 2 |
| 78 | Platform scales (maximum weight of 120kg) | item | 1 |
| 79 | Linen carts | item | 1 |
| 80 | Enema bulbs | item | 2 |
| 81 | Female bedpans | item | 3 |
| 82 | Male portable chamber pots | item | 3 |
| 83 | Sputum mugs | item | 3 |
| 84 | Dustbins | item | 1 |
| 85 | Drinking water storage containers | item | 1 |
| 86 | 21-inch recording monitors | item | 1 |
| 87 | Computers + printers | item | 1 |
| 19 | ONCOLOGY DEPARTMENTONCOLOGY DEPARTMENTONCOLOGY DEPARTMENT |  |  |
| 1 | Cobalt-60 teletherapy machines | item | 1 |
| 2 | X-ray therapy machines | item | 2 |
| 3 | Radiation survey meters for safety purposes | item | 1 |
| 4 | Therapeutical radiation dosimeters | item | 1 |
| 5 | Low-dose-rate brachytherapy equipment | item | 1 |
| 6 | High-dose-rate brachytherapy equipment | item | 1 |
| 7 | Simulators | item | 1 |
| 8 | ECG machines | item | 1 |
| 9 | Anaesthesia machines | item | 1 |
| 10 | Ventilators | item | 2 |
| 11 | Nebulizers | item | 2 |
| 12 | Portable oxygen generators | item | 4 |
| 13 | Electric syringe pumps | item | 2 |
| 14 | Infusion pumps | item | 2 |
| 15 | Patient monitors | item | 2 |
| 16 | Nurse call alarm systems | piece | 1 |
| 17 | Adult sphygmomanometers | item | 5 |
| 18 | Pediatric sphygmomanometers | item | 2 |
| 19 | Adult bag-valve masks | item | 2 |
| 20 | Reflex hammers | item | 2 |
| 21 | Stainless steel tongue depressors | item | 10 |
| 22 | Clinical thermometers, maximum temperature of 420C | item | 15 |
| 23 | X-ray film illuminators | item | 2 |
| 24 | Clar headlights | item | 2 |
| 25 | Gauze and cotton sterilizing boxes of various kinds | item | 10 |
| 26 | Instrument sterilizing containers of various kinds | item | 10 |
| 27 | Medical instrument trays of various kinds | item | 10 |
| 28 | Kidney trays of various kinds | item | 10 |
| 29 | Syringe and needle boiling sterilizers | item | 1 |
| 30 | Instrument storage cabinets | item | 1 |
| 31 | Medicine storage cabinets | item | 1 |
| 32 | Fridges | item | 1 |
| 33 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 34 | Hot and cold packs (rubber) | item | 5 |
| 35 | Medical gloves, sizes 6.5 and 7 | item | 50 |
| 36 | Oxygen tank carts | item | 1 |
| 37 | Dispensing trolleys | item | 1 |
| 38 | Instrument push trolleys | item | 1 |
| 39 | Wheelchairs | item | 2 |
| 40 | Manual stretchers | item | 1 |
| 41 | Crutches | pair | 2 |
| 42 | Blood serum infusion poles | item | 2 |
| 43 | Oxygen humidifiers | set | 5 |
| 44 | Pressure gauges for oxygen tanks | item | 5 |
| 45 | Flow controlling valves for oxygen tanks | item | 5 |
| 46 | Oxygen tanks | item | 5 |
| 47 | Disposable syringes of various kinds | item | 200 |
| 48 | Disposable syringe and needle destroyers | item | 1 |
| 49 | Sharps collectors | item | 2 |
| 50 | Medical beds | item | 15 |
| 51 | Bedside lockers | item | 15 |
| 52 | Office desks | item | 5 |
| 53 | Chairs | item | 10 |
| 54 | Seat stools | item | 10 |
| 55 | Whiteboards | item | 2 |
| 56 | Medical filing cabinets | item | 2 |
| 57 | Platform scales (maximum weight of 120kg) | item | 1 |
| 58 | Linen carts | item | 1 |
| 59 | Enema bulbs | item | 2 |
| 60 | Female bedpans | item | 3 |
| 61 | Male portable chamber pots | item | 3 |
| 62 | Sputum mugs | item | 3 |
| 63 | Dustbins | item | 1 |
| 64 | Drinking water storage containers | item | 1 |
| 65 | 21-inch recording monitors | item | 1 |
| 66 | Computers + printers | item | 1 |
| 20 | HAEMATOLOGY AND BLOOD TRANSFUSION DEPARTMENTHAEMATOLOGY AND BLOOD TRANSFUSION DEPARTMENTHAEMATOLOGY AND BLOOD TRANSFUSION DEPARTMENT |  |  |
| 1 | Automated hematology analyzers (18 or 22-parameter automated cell counters) |  | 1 |
| 2 | Semi-automatic hematology analyzers (8 or 12 parameters) | item | 1 |
| 3 | Automatic blood coagulation meters | item | 1 |
| 4 | Elisa testing systems | piece | 1 |
| 5 | Clar headlights | item | 2 |
| 6 | UV sterilization lamps | item | 2 |
| 7 | Test tube racks of various kinds | item | 10 |
| 8 | Glass instruments used in laboratory facilities, including test tubes, slides, incorporated Petri plates, glass chopsticks, conical, round-bottom, cylinder flask containers, beakers, funnels, etc.) | Sufficient quantitySufficient quantity |  |
| 9 | 0.1 gr technical balances | item | 2 |
| 10 | 0.1 mg analytical balances | item | 1 |
| 11 | Roberval balances | item | 1 |
| 12 | Sterilization hoods | item | 2 |
| 13 | Double water still, capacity 5L/h | item | 1 |
| 14 | Water still, capacity 20L/h | item | 1 |
| 15 | Vacuum pumps | item | 1 |
| 16 | Dehumidifiers | item | 1 |
| 17 | Magnetic stirrers | item | 1 |
| 18 | Shakers | item | 1 |
| 19 | Water and liquid filtration equipment | item | 1 |
| 20 | Reitz filtration systems with filter papers and membrane filters | set | 1 |
| 21 | Hemetocrit centrifuges with 24 capillary tubes | item | 1 |
| 22 | Multi-purpose centrifuges | item | 1 |
| 23 | Pipetting systems | item | 1 |
| 24 | Blood-collection balance shakers | item | 1 |
| 25 | Diluters | item | 1 |
| 26 | Blood bank refrigerators | item | 2 |
| 27 | -30oC deep freezers | item | 1 |
| 28 | Refrigerated centrifuges used for both blood tubes and blood bags | item | 1 |
| 29 | Binocular microscopes | item | 2 |
| 30 | Microscopes with integrated cameras | item | 1 |
| 31 | Seconds timers | item | 2 |
| 32 | Minutes timers | item | 2 |
| 33 | UV lights | item | 2 |
| 34 | Slide stainers | item | 1 |
| 35 | Platelet aggregometers | item | 1 |
| 36 | Platelet shakers | item | 1 |
| 37 | Blood pH meters | item | 1 |
| 38 | 220-liter fridges | item | 4 |
| 39 | Manual pipettes | item | 4 |
| 40 | Automatic pipettes of various kinds (P10, P20, P100, P1000) ml | item | 3 |
| 41 | Blood bags | item | 100 |
| 42 | Intra-osseous catheters | item | 1 |
| 43 | Intra-osseous biopsy needles | item | 1 |
| 44 | Disposable syringes of various kinds | item | 200 |
| 45 | Disposable syringe and needle destroyers | item | 1 |
| 46 | Sharps collectors | item | 2 |
| 47 | Dehumidifiers | item | 1 |
| 48 | Medical gloves, sizes 6.5 and 7 | item | 50 |
| 49 | Dustbins | item | 1 |
| 50 | Drinking water storage containers | item | 1 |
| 51 | Computers + printers | item | 2 |
| 21 | BIOCHEMISTRY DEPARTMENTBIOCHEMISTRY DEPARTMENTBIOCHEMISTRY DEPARTMENT |  |  |
| 1 | Automatic biochemistry analyzers | item | 1 |
| 2 | Semi-automatic biochemistry analyzers | item | 1 |
| 3 | Blood oxygen analyzers | item | 1 |
| 4 | Selective-electrode electrolyte analyzers | item | 1 |
| 5 | Automatic immune analyzers | item | 1 |
| 6 | 10-parameter automated urine analyzers | item | 1 |
| 7 | Electroporation systems | item | 1 |
| 8 | pH meters | item | 2 |
| 9 | Hydrometers | item | 1 |
| 10 | Double water still, capacity 5L/h | item | 1 |
| 11 | Double water still, capacity 20L/h | item | 1 |
| 12 | Vacuum pumps | item | 1 |
| 13 | Magnetic stirrers | item | 1 |
| 14 | Shakers | item | 1 |
| 15 | Diluters | item | 1 |
| 16 | Hemetocrit centrifuges with 24 capillary tubes | item | 1 |
| 17 | Multi-purpose centrifuges | item | 3 |
| 18 | Test tube racks of various kinds | item | 50 |
| 19 | Glass instruments used in laboratory facilities, including test tubes, slides, incorporated plates, glass chopsticks, conical, round-bottom, cylinder flask containers, beakers, funnels, etc.) | Sufficient quantity |  |
| 20 | 0.1 gr technical balances | item | 1 |
| 21 | 0.1 mg analytical balances | item | 1 |
| 22 | Roberval balances | item | 1 |
| 23 | Osmometers | item | 1 |
| 24 | Binocular microscopes | item | 4 |
| 25 | Magnifiers | item | 2 |
| 26 | Oil-heater bain maries | item | 1 |
| 27 | Hot-water bain maries | item | 2 |
| 28 | 200-liter fridges | item | 3 |
| 29 | -30oC deep freezers | item | 1 |
| 30 | 370C - 560C warming cabinets | item | 2 |
| 31 | 4oC – 37oC refrigeration and warming cabinets | item | 1 |
| 32 | Big-capacity electric drying cabinets, maximum temperature 2500C | item | 1 |
| 33 | Small-capacity electric drying cabinets, maximum temperature 2500C | item | 2 |
| 34 | Minutes timers | item | 2 |
| 35 | Seconds timers | item | 2 |
| 36 | Sterilization hoods | item | 1 |
| 37 | Fume hood safety cabinets | item | 1 |
| 38 | Manual pipettes | item | 2 |
| 39 | Automatic pipettes of various kinds (P10, P20, P100, P1000) ml | item | 2 |
| 40 | Water purification systems | piece | 1 |
| 41 | Ultrasonic cleaners | item | 1 |
| 42 | Disposable syringes of various kinds | item | 200 |
| 43 | Disposable syringe and needle destroyers | item | 1 |
| 44 | Sharps collectors | item | 2 |
| 45 | Dehumidifiers | item | 2 |
| 46 | Air conditioners | item | 3 |
| 47 | Dustbins | item | 1 |
| 48 | Drinking water storage containers | item | 1 |
| 49 | Computers + printers | item | 1 |
| 22 | MICROBIOLOGY DEPARTMENTMICROBIOLOGY DEPARTMENTMICROBIOLOGY DEPARTMENT |  |  |
| 1 | Colony counters | item | 1 |
| 2 | Bacterial denominators | item | 1 |
| 3 | Virus denominators (used in inter-provincial hospitals) | item | 1 |
| 4 | Antibiogram bacterial sensitivity test equipment | item | 1 |
| 5 | Malaria parasite identification devices | item | 1 |
| 6 | Agglutination testing devices | item | 1 |
| 7 | Double water still, capacity 5L/h | item | 1 |
| 8 | Double water still, capacity 20L/h | item | 1 |
| 9 | Vacuum pumps | item | 1 |
| 10 | Magnetic stirrers | item | 1 |
| 11 | Shakers | item | 1 |
| 12 | Diluters | item | 1 |
| 13 | Pipetting systems | item | 1 |
| 14 | Water and liquid filtration equipment | item | 1 |
| 15 | Reitz filtration systems with filter papers and membrane filters | set | 1 |
| 16 | Hemetocrit centrifuges with 24 capillary tubes | item | 1 |
| 17 | Multi-purpose centrifuges | item | 3 |
| 18 | Urine sediment centrifuges | item | 1 |
| 19 | pH meters | item | 1 |
| 20 | Wet-sample grinding machines | item | 1 |
| 21 | Dry-sample grinding machines | item | 1 |
| 22 | Ultrasonic instrument sterilizers | item | 1 |
| 23 | Binocular microscopes | item | 1 |
| 24 | Fluorescence microscopes | item | 1 |
| 25 | Microscopes with integrated cameras | item | 1 |
| 26 | Minutes timers | item | 2 |
| 27 | Seconds timers | item | 2 |
| 28 | Sterilization hoods | item | 1 |
| 29 | Oil-heater bain maries | item | 1 |
| 30 | Hot-water bain maries | item | 2 |
| 31 | 50 – 70-litre electric sterilizing ovens | item | 1 |
| 32 | 200-liter fridges | item | 3 |
| 33 | -30oC deep freezers | item | 1 |
| 34 | 370C - 560C warming cabinets | item | 2 |
| 35 | 4oC – 37oC refrigeration and warming cabinets | item | 1 |
| 36 | CO2 incubators | item | 1 |
| 37 | Microbiological incubators | item | 1 |
| 38 | Anaerobic incubators | item | 1 |
| 39 | Big-capacity electric drying cabinets, maximum temperature 2500C | item | 2 |
| 40 | Small-capacity electric drying cabinets, maximum temperature 2500C | item | 3 |
| 41 | Fume hood safety cabinets | item | 1 |
| 42 | Manual pipettes | item | 2 |
| 43 | Automatic pipettes of various kinds (P10, P20, P100, P1000) ml | item | 2 |
| 44 | Clar headlights | item | 2 |
| 45 | UV lights | item | 2 |
| 46 | Test tube racks of various kinds | Sufficient quantitySufficient quantity |  |
| 47 | Glass instruments used in laboratory facilities, including test tubes, slides, incorporated plates, glass chopsticks, conical, round-bottom, cylinder flask containers, beakers, funnels, etc.) | Sufficient quantitySufficient quantity |  |
| 48 | 0.1 gr technical balances | item | 1 |
| 49 | 0.1 mg analytical balances | item | 1 |
| 50 | Roberval balances | item | 1 |
| 51 | Osmometers | item | 1 |
| 52 | Water purification systems | piece | 1 |
| 53 | Blood bank refrigerators | item | 1 |
| 54 | Dehumidifiers | item | 1 |
| 55 | Air conditioners | item | 3 |
| 56 | Disposable syringes of various kinds | item | 200 |
| 57 | Disposable syringe and needle destroyers | item | 1 |
| 58 | Sharps collectors | item | 2 |
| 59 | Dustbins | item | 2 |
| 60 | Drinking water storage containers | item | 1 |
| 61 | Computers + printers | set | 1 |
| 23 | DIAGNOSTIC IMAGING DEPARTMENT DIAGNOSTIC IMAGING DEPARTMENT DIAGNOSTIC IMAGING DEPARTMENT |  |  |
| 1 | CT scanner systems with built-in contrast injector equipment | piece | 1 |
| 2 | MRI systems used in regional-level hospitals | piece | 1 |
| 3 | MR angiography systems used in regional-level hospitals | piece | 1 |
| 4 | Fluroscopy equipment with the radiology current > 500 mA, used for capturing and displaying images and designed with double beds and x-ray shadows | piece | 1 |
| 5 | Conventional diagnostic X-ray machines with the radiography current of 500 mA, designed with double beds and shadows | piece | 1 |
| 6 | Conventional X-ray equipment with the radiography current of 300 mA | piece | 2 |
| 7 | Mobile X-ray machines | set | 1 |
| 8 | Mamography x-ray machines | set | 1 |
| 9 | C-arm fluoroscopic X-ray equipment (placed in operating theaters) | set | 1 |
| 10 | Color Doppler ultrasound machines + color or black & white printers | piece | 1 |
| 11 | Black & white printers | set | 4 |
| 12 | Portable ultrasound imaging machines | item | 2 |
| 13 | Image and data storage and processing stations in internal information networks | piece |  |
| 14 | X-ray cassettes + intensifying screens, sizes 13x18cm, 18x24cm, 24x30cm, 30x40cm, 35x35cm, 35x40cm | Sufficient quantity of approximately 60 items per each Sufficient quantity of approximately 60 items per each |  |
| 15 | 6-section X-ray film viewers |  | 4 |
| 16 | 2 to 3-section X-ray film viewers, size 30x40cm | item | 4 |
| 17 | Magnifiers | item | 6 |
| 18 | Lead gloves | pair | 2 |
| 19 | Lead apron | item | 6 |
| 20 | Lead shields | item | 5 |
| 21 | 2-step stairs | item | 5 |
| 22 | Lead alphabets | set | 5 |
| 23 | Stainless steel hangers in various sizes | item | 40 |
| 24 | Darkroom red lamps | item | 4 |
| 25 | Automatic X-ray film processors | item | 2 |
| 26 | Fridges | item | 2 |
| 27 | Unused X-ray film storage cabinets | item | 3 |
| 28 | Enema bulbs | item | 2 |
| 29 | Mugs and spoons | item | 4 |
| 30 | Disposable syringes of various kinds | item | 50 |
| 31 | Sharps collectors | item | 1 |
| 32 | Dustbins | item | 2 |
| 33 | Drinking water storage containers | item | 1 |
| 34 | Computers + printers | set | 2 |
| 24 | FUNCTIONAL EXPLORATION DEPARTMENT FUNCTIONAL EXPLORATION DEPARTMENT FUNCTIONAL EXPLORATION DEPARTMENT |  |  |
| 1 | Devices for measuring basal metabolic rate | item | 1 |
| 2 | Spirometers | item | 1 |
| 3 | 12-channel auto-analysis ECG machines | item | 3 |
| 4 | EEG machines | item | 1 |
| 5 | EMG machines | item | 1 |
| 6 | Devices for measuring body size variation | item | 1 |
| 7 | Respiratory pulmonary spirometers | item | 1 |
| 8 | Pulse contour cardiac output monitors | item | 1 |
| 9 | Echo-encephalography devices | item | 1 |
| 10 | Devices for measuring cerebral circulation | item | 1 |
| 11 | Osteoporosis assessment instruments | item | 1 |
| 12 | Stress echo machines | piece | 1 |
| 13 | Stress ECG machines | piece | 1 |
| 14 | Color diagnostic ultrasound machines | item | 1 |
| 15 | Electric drying cabinets | item | 1 |
| 16 | Fridges | item | 1 |
| 17 | Instrument push trolleys | item | 4 |
| 18 | Instrument storage cabinets | item | 2 |
| 19 | Medicine storage cabinets | item | 2 |
| 20 | Clar headlights | item | 2 |
| 21 | Desk lamps | item | 4 |
| 22 | Examination lights | item | 4 |
| 23 | Disposable syringes of various kinds | item | 200 |
| 24 | Disposable syringe and needle destroyers | item | 1 |
| 25 | Sharps collectors | item | 2 |
| 26 | Medical gloves, sizes 6.5 and 7 | pair | 50 |
| 27 | Platform balances | item | 1 |
| 28 | Desks | item | 3 |
| 29 | Chairs | item | 10 |
| 30 | Seat stools | item | 10 |
| 31 | Whiteboards | item | 2 |
| 32 | Medical filing cabinets | item | 2 |
| 33 | Dustbins | item | 2 |
| 34 | Drinking water storage containers | item | 1 |
| 35 | Computers + printers | item | 1 |
| 25 | ENDOSCOPY DEPARTMENT ENDOSCOPY DEPARTMENT ENDOSCOPY DEPARTMENT |  |  |
| 1 | Video endoscopy camera systems | item | 1 |
| 2 | Flexible-tube colonoscopes + light sources | item | 2 |
| 3 | Flexible-tube gastroduodenoscopes + light sources | item | 2 |
| 4 | Cystoscopes | item | 1 |
| 5 | Nasal endoscopes | item | 1 |
| 6 | Laryngoscopes | item | 4 |
| 7 | Bronchus endoscopes | item | 1 |
| 8 | Bile duct endoscopes | item | 1 |
| 9 | Cervical cytology screeners | item | 1 |
| 10 | Amnioscopes | item | 2 |
| 11 | Endoscopic surgical devices and other endoscopic surgical instruments | set | 3 |
| 12 | Endoscopic device storage cabinets | item | 3 |
| 13 | Urinary catheters | item | 1 |
| 14 | Anaesthesia machines | item | 1 |
| 15 | Ventilators | item | 1 |
| 16 | Electrical suction machines | item | 1 |
| 17 | Medical beds (in excess of the stated limit) | item | 1 |
| 18 | Blood serum infusion poles | item | 5 |
| 19 | Disposable syringes of various kinds | item | 200 |
| 20 | Disposable syringe and needle destroyers | item | 1 |
| 21 | Medical gloves, sizes 6.5 and 7 | pair | 50 |
| 22 | Sharps collectors | item | 2 |
| 23 | Dustbins | item | 2 |
| 24 | Drinking water storage containers | item | 1 |
| 25 | Computers + printers | set | 1 |
| 26 | SURGICAL PATHOLOGY DEPARTMENT SURGICAL PATHOLOGY DEPARTMENT SURGICAL PATHOLOGY DEPARTMENT |  |  |
| 1 | Binocular microscopes | item | 2 |
| 2 | Fluorescence microscopes | item | 1 |
| 3 | Microscopes with integrated cameras | item | 1 |
| 4 | Binocular microscopes | item | 1 |
| 5 | Automated tissue microscopes | item | 1 |
| 6 | Microtomes | item | 1 |
| 7 | Freezing microtomes | item | 1 |
| 8 | Thin slicing blades | item | 1 |
| 9 | Slicing knife sharpeners | item | 1 |
| 10 | Paraffin casting moulds | item | 2 |
| 11 | Paraffin cookers | item | 1 |
| 12 | Slide stainers | item | 1 |
| 13 | Slide driers | item | 1 |
| 14 | Centrifuges | item | 1 |
| 15 | Bain maries | item | 1 |
| 16 | Water still, capacity 5 liter/h | item | 1 |
| 17 | Analytic balances | item | 1 |
| 18 | Viscera weighing balances | item | 1 |
| 19 | pH meters | item | 1 |
| 20 | Specimen grossing tables | item | 1 |
| 21 | Laboratory room instruments | item | 1 |
| 22 | Post-mortem examination instruments | item | 1 |
| 23 | Post-mortem examination tables | item | 1 |
| 24 | Corpse refrigerators | item | 2 |
| 25 | Fridges | item | 2 |
| 26 | 370C - 560C warming cabinets | pair | 2 |
| 27 | 2500C drying cabinets | item | 2 |
| 28 | Medical gloves, sizes 6.5 and 7 | pair | 50 |
| 29 | Sharps collectors | item | 1 |
| 30 | Dustbins | item | 2 |
| 31 | Computers + printers | set | 1 |
| 27 | BACTERIAL CONTAMINATION CONTROL DEPARTMENTBACTERIAL CONTAMINATION CONTROL DEPARTMENTBACTERIAL CONTAMINATION CONTROL DEPARTMENT |  |  |
| 1 | Hot-air sterilizing instruments, large volume 300 - 500 liters | set | 2 |
| 2 | Autoclaves, large volume of 200 – 300 liters | set | 2 |
| 3 | 2500C drying cabinets | item | 6 |
| 4 | Linen carts | item | 5 |
| 5 | Gauze and cotton sterilizing boxes of various kinds | item | 100 |
| 6 | Instrument sterilizing containers of various kinds | item | 50 |
| 7 | Unsterilized or sterilized object reception racks | item | 12 |
| 8 | Instrument tables | item | 8 |
| 9 | Linen tables | item | 4 |
| 10 | Ultrasonic cleaners | item | 1 |
| 11 | Linen washing machine, capacity 50kg | item | 2 |
| 12 | Linen washing machine, capacity 30kg | item | 1 |
| 13 | Linen washing machine, capacity 20kg | item | 1 |
| 14 | Linen spinning machines | item | 1 |
| 15 | Linen drying machine, capacity 50kg | item | 2 |
| 16 | Linen drying machine, capacity 30kg | item | 1 |
| 17 | Linen compression ironizers | item | 2 |
| 18 | Linen flatwork ironizers | item | 1 |
| 19 | Sewing machines | item | 3 |
| 20 | Electric ironers | pair | 2 |
| 21 | Weighing scales (maximum weight of 120kg) | item | 2 |
| 22 | 5kg hanging scales | item | 2 |
| 23 | Computers + printers | set | 1 |
| 28 | PHARMACY DEPARTMENTPHARMACY DEPARTMENTPHARMACY DEPARTMENT |  |  |
| 1 | 75-liter hot-air sterilizers | item | 2 |
| 2 | Big-size hot-air sterilizers | item | 2 |
| 3 | Water still, capacity 20 liter/h | item | 1 |
| 4 | Water still, capacity 50 liter/h | item | 1 |
| 5 | 0,10 gr technical balances | item | 2 |
| 6 | 0.1 gr analytical balances | item | 1 |
| 7 | 0.1 gr analytical balances | item | 1 |
| 8 | 500 gr balances | item | 1 |
| 9 | 5000 gr plate scales | item | 1 |
| 10 | Weighing scales (maximum weight of 120kg) | item | 1 |
| 11 | Binocular microscopes | item | 1 |
| 12 | Refractometers | item | 1 |
| 13 | Vacuum pumps | item | 2 |
| 14 | Syringe filling Instruments | item | 1 |
| 15 | Fridges | item | 4 |
| 16 | Big-size drying cabinets | item | 2 |
| 17 | Medium-size drying cabinets | item | 4 |
| 18 | Medicine storage cabinets | item | 6 |
| 19 | Medicine storage shelves or racks | item | 6 |
| 20 | pH meters | item | 1 |
| 21 | Hydrometers | item | 1 |
| 22 | Bain maries | item | 1 |
| 23 | Pill counting trays | item | 1 |
| 24 | Stainless-steel 20-liter water tanks with caps and taps | item | 1 |
| 25 | Automatic powder medicine mixers | item | 1 |
| 26 | Mortars and pestles | item | 1 |
| 27 | Shaking blenders | item | 1 |
| 28 | Pharmaceutical glass instruments | set | 1 |
| 29 | Blood serum preparation instruments | set | 1 |
| 30 | Blood serum examination instruments | set | 1 |
| 31 | Air conditioners | item | 1 |
| 32 | Dehumidifiers | item | 1 |
| 33 | Push trolleys | item | 1 |
| 34 | Lift trolleys | item | 1 |
| 35 | Office desks | item | 4 |
| 36 | Chairs | item | 20 |
| 37 | Medical file and book storage cabinets | item | 4 |
| 38 | Whiteboards | item | 3 |
| 39 | 21-inch televisions | item | 1 |
| 40 | Computers + printers | item | 2 |
| 29 | NUTRITION DEPARTMENTNUTRITION DEPARTMENTNUTRITION DEPARTMENT |  |  |
| 1 | Food refrigerators | item | 6 |
| 2 | Electric drying cabinets | item | 4 |
| 3 | Food grinders | item | 4 |
| 4 | Blenders | item | 2 |
| 5 | Microwave ovens | item | 2 |
| 6 | Stainless steel instruments used in kitchens, such as tables and cupboards, etc. | Synchronized |  |
| 7 | Gas cooking systems | piece | 1 |
| 8 | Charcoal cooking stoves | piece | 1 |
| 9 | 120kg weighing scales | item | 2 |
| 10 | Dining table and chair sets for 300 – 400 persons | Synchronized |  |
| 11 | Office desks | item | 4 |
| 12 | Chairs | item | 20 |
| 13 | Medical file and book storage cabinets | item | 3 |
| 14 | Whiteboards | item | 3 |
| 15 | Air conditioners | item | 6 |
| 16 | Computers + printers | item | 1 |
| 30 | GENERAL PLANNING DIVISIONGENERAL PLANNING DIVISIONGENERAL PLANNING DIVISION |  |  |
| 1 | Office desks | item | 6 |
| 2 | Chairs | item | 20 |
| 3 | Medical file and book storage cabinets | item | 6 |
| 4 | Bookshelves for storage of medical records | item | 6 |
| 5 | Whiteboards | item | 3 |
| 6 | Computer network systems | item | 1 |
| 7 | Personal computers + printers | item | 3 |
| 8 | Video recorders | set | 1 |
| 9 | Cameras | item | 1 |
| 10 | Camcorders | item | 1 |
| 11 | Teaching and workshop equipment, including overhead projectors, positive-proof film projectors and computer projectors | piece | 1 |
| 12 | 21 or 29-inch recording monitors | item | 3 |
| 31 | NURSING DIVISIONNURSING DIVISIONNURSING DIVISION |  |  |
| 1 | Office desks | item | 3 |
| 2 | Chairs | item | 8 |
| 3 | Medical file and book storage cabinets | item | 2 |
| 4 | Whiteboards | item | 1 |
| 5 | Computers + printers | item | 1 |
| 32 | MEDICAL EQUIPMENT DIVISIONMEDICAL EQUIPMENT DIVISIONMEDICAL EQUIPMENT DIVISION |  |  |
| 1 | Office desks | item | 5 |
| 2 | Machinery repair tables | item | 3 |
| 3 | Chairs | item | 20 |
| 4 | Medical file and book storage cabinets | item | 3 |
| 5 | Instrument storage cabinets | item | 2 |
| 6 | Machinery and equipment racks | item | 4 |
| 7 | Digital multifunctional electric meters | item | 4 |
| 8 | Amp clamp meters | item | 1 |
| 9 | Medical machinery repair instruments | set | 2 |
| 10 | Electricity repair instruments | set | 2 |
| 11 | Double-current oscilloscopes | item | 1 |
| 12 | Mechanical repair instruments | set | 2 |
| 13 | Working lights | item | 4 |
| 14 | Blow torches | item | 1 |
| 16 | Electric base drills | item | 2 |
| 17 | Handheld electric drills | item | 2 |
| 18 | Metal cutting saws | item | 2 |
| 19 | Electric pincers | item | 6 |
| 20 | Electric welding machines | item | 1 |
| 21 | Big and small-size parallel vices | item | 2 |
| 22 | Screwdrivers of various kinds | item | 20 |
| 23 | 2 KVA voltage stabilizers | item | 2 |
| 24 | Computers + printers | item | 2 |
| 33 | PERSONNEL DIVISIONPERSONNEL DIVISIONPERSONNEL DIVISION |  |  |
| 1 | Office desks | item | 6 |
| 2 | Chairs | item | 20 |
| 3 | Medical file and book storage cabinets | item | 6 |
| 4 | Whiteboards | item | 2 |
| 5 | Computers + printers | set | 1 |
| 34 | ADMINISTRATIVE DIVISIONADMINISTRATIVE DIVISIONADMINISTRATIVE DIVISION |  |  |
| 1 | Internal telephone switchboard stations | set | 1 |
| 2 | Typewriters | item | 2 |
| 3 | Computers | item | 5 |
| 4 | Medical filing cabinets | item | 10 |
| 5 | Fridges | item | 4 |
| 6 | Office desks | item | 20 |
| 7 | Chairs | item | 40 |
| 8 | Whiteboards | item | 6 |
| 9 | Electric welding machines | item | 1 |
| 10 | Battery chargers | item | 2 |
| 11 | Grinders | item | 1 |
| 12 | Manual drills | item | 1 |
| 13 | Electric drills | item | 1 |
| 14 | Sawing machines | item | 1 |
| 15 | Vices | item | 1 |
| 16 | Car repair toolkits | set | 2 |
| 17 | Woodwork instruments | set | 2 |
| 18 | Working lights | item | 4 |
| 19 | 10m metal tape measures | item | 2 |
| 20 | Metal cutting shears | item | 2 |
| 21 | Electric needles | item | 6 |
| 22 | Instruments for repair of water supply system | set | 1 |
| 23 | Metal cutting saws | item | 2 |
| 24 | Hammers, weight 0.5 kg, 2 kg and 5 kg | set | 3 |
| 25 | Voltage stabilizers of various kinds | item | 6 |
| 26 | Overhead projectors | item | 1 |
| 27 | Positive-proof film projectors and screens | item | 1 |
| 28 | Video + 21-inch television set | set | 2 |
| 29 | Cameras | item | 1 |
| 30 | Computer projecting systems | piece | 1 |
| 31 | Meeting hall amplifiers | piece | 1 |
| 32 | Computers + printers | set | 4 |
| 35 | ACCOUNTING AND FINANCE DIVISIONACCOUNTING AND FINANCE DIVISIONACCOUNTING AND FINANCE DIVISION |  |  |
| 1 | Office desks | item | 15 |
| 2 | Chairs | item | 30 |
| 3 | Medical file and book storage cabinets | item | 6 |
| 4 | Book racks | item | 5 |
| 5 | Whiteboards | item | 4 |
| 6 | Calculators | item | 15 |
| 7 | Computers + printers | set | 6 |
| 8 | Safes | item | 3 |
| 36 | GENERAL AND STANDBY EQUIPMENTGENERAL AND STANDBY EQUIPMENTGENERAL AND STANDBY EQUIPMENT |  |  |
| 1 | Medical beds | item | 20 |
| 2 | Bedside lockers | item | 20 |
| 3 | Desk lamps | item | 5 |
| 4 | Examination lights | item | 10 |
| 5 | Bedpans | item | 30 |
| 6 | Potty pan chamber pots | item | 30 |
| 7 | Oxygen tanks | item | 10 |
| 8 | Disposable plastic syringes of various kinds | item | 2000 |
| 9 | 20ml glass syringes | item | 100 |
| 10 | Desks | item | 15 |
| 11 | Whiteboards | item | 10 |
| 12 | Enema bulbs | item | 30 |
| 13 | Patient stretcher trolley | item | 5 |
| 14 | Manual stretchers | item | 5 |
| 15 | Adult weighing scales with height rods | item | 5 |
| 16 | Pediatric weighing scales | item | 3 |
| 17 | Sputum mugs | item | 20 |
| 18 | Containers of various kinds | item | 50 |
| 19 | Medical gloves for surgeons | pair | 300 |
| 20 | Chairs | item | 60 |
| 21 | Seat stools | item | 60 |
| 22 | Blood serum infusion poles | set | 15 |
| 23 | Gauze and cotton sterilizing boxes of various kinds | item | 50 |
| 24 | Instrument sterilizing containers of various kinds | set | 50 |
| 25 | Electric heating ovens | item | 3- |
| 26 | Crutches | pair | 5 |
| 27 | Syringe and needle boiling sterilizers | item | 5 |
| 28 | Instrument boiling sterilizers | item | 5 |
| 29 | Dustbins | item | 30 |
| 30 | Instrument storage cabinets | item | 5 |
| 31 | Medicine storage cabinets | item | 10 |
| 32 | Fridges | item | 5 |
| 33 | Electric drying cabinets, maximum temperature 2500C | item | 5 |
| 34 | Cold and hot packs | item | 30 |
| 35 | Medical filing cabinets | item | 10 |
| 36 | Oxygen service valves with flowmeters | item | 10 |
| 37 | Water storage buckets | item | 30 |
| 38 | Linen carts | item | 5 |
| 39 | Oxygen tank carts | Item | 5 |
| 40 | Dispensing carts | item | 5 |
| 41 | Instrument push trolleys | item | 5 |
| 42 | Wheelchairs | item | 4 |
| 43 | Emergency ambulances | Item | 5 |
| 44 | 3-5 ton trucks | item | 1 |
| 45 | Clinical thermometers, maximum temperature of 420C | item | 100 |
| 46 | 21-inch recording monitors | item | 3 |
| 47 | 300 KVA standby power generators | piece | 1 |
| 48 | Purified water dispensing containers for departments and divisions | piece | 35 |
| 49 | Air conditioners for departments and divisions | Depending on financial capabilityDepending on financial capability |  |
| 50 | Medical gas (compressed air, negative pressure vacuum and oxygen) production and supply pipelines | system | 1 |
| 51 | Local area network of servers and personal computers at divisions and departments | system | 1 |
| 52 | Teaching equipment: overhead projectors, positive-proof film projectors, microphones and amplifiers, etc. | system | 1 |
| 53 | Meeting-hall sound equipment | system | 1 |
| 54 | Video recording equipment | system | 1 |
| 55 | Amplifiers and sound speakers for hospital departments and divisions | piece | 1 |
| 56 | Patient instruction monitors | piece | 1 |

LIST OF MEDICAL EQUIPMENT FOR DISTRICT-LEVEL GENERAL HOSPITALS

| No. | Department and division | Unit of measurement | Quantity |
| --- | --- | --- | --- |
| A | Specialized functional divisions |  |  |
| 1 | General planning and medical equipment division |  |  |
| 2 | Nursing (caretaker) division |  |  |
| 3 | Administrative and personnel division |  |  |
| 4 | Finance and accounting division |  |  |
| B | Name of departments | Bed |  |
| 1 | Outpatient department |  |  |
| 2 | Intensive care unit | 10 |  |
| 3 | General internal medicine department | 70 |  |
| 4 | Infectious disease department | 15 |  |
| 5 | Pediatrics department | 20 |  |
| 6 | General surgery department | 45 |  |
| 7 | Gynecology and obstetrics department | 25 |  |
| 8 | ENT – Oral & Maxillofacial – Opthalmology department | 15 |  |
| 9 | Laboratory department (Hematology – Biochemistry – Microbiology) department |  |  |
| 10 | Diagnostic imaging department |  |  |
| 11 | Surgical imaging department |  |  |
| 12 | Bacterial contamination control department |  |  |
| 13 | Pharmacy department |  |  |
| 14 | Nutrition department |  |  |
|  | Total | 200 |  |
| 1 | OUTPATIENT DEPARTMENTOUTPATIENT DEPARTMENTOUTPATIENT DEPARTMENT |  |  |
| 1 | Adult stethoscopes | item | 6 |
| 2 | Pediatric stethoscopes | item | 2 |
| 3 | Adult sphygmomanometers | item | 6 |
| 4 | Pediatric sphygmomanometers | item | 2 |
| 5 | Clinical thermometers, maximum temperature of 420C | item | 20 |
| 6 | Adult exam beds | item | 6 |
| 7 | Pediatric exam beds | item | 2 |
| 8 | Medical beds (in excess of the stated limit) | item | 5 |
| 9 | Emergency beds | item | 2 |
| 10 | Examination lights | item | 8 |
| 11 | Examination headlights | item | 2 |
| 12 | Weighing scales with height rods | item | 2 |
| 13 | X-ray film illuminators | item | 6 |
| 14 | Fridges | item | 2 |
| 15 | Electric drying cabinets, maximum temperature 2500C | item | 2 |
| 16 | Instrument storage cabinets | item | 2 |
| 17 | Instrument push trolleys | item | 4 |
| 18 | Medical filing cabinets | item | 4 |
| 19 | Office desks | item | 6 |
| 20 | Chairs | item | 20 |
| 21 | Waiting benches for patients | item | 4 |
| 22 | Swivel seat stools | item | 20 |
| 23 | Whiteboards | item | 2 |
| 24 | Instrument boiling sterilizers | item | 2 |
| 25 | ECG machines | item | 1 |
| 26 | Surgical instrument kits | item | 2 |
| 27 | Exam instrument kits | item | 6 |
| 28 | Reflex hammers | item | 4 |
| 29 | Disposable syringes of various kinds | item | 200 |
| 30 | Syringe and needle destroyers | item | 1 |
| 31 | UV sterilization lamps | item | 2 |
| 32 | Patient transfer carts | item | 2 |
| 33 | Patient stretcher trolley | item | 2 |
| 34 | Manual stretchers | item | 2 |
| 35 | Medical gloves | pair | 50 |
| 36 | Female bedpans | item | 5 |
| 37 | Potty pan chamber pots (feces collection) | item | 10 |
| 38 | Male portable chamber pots | item | 5 |
| 39 | Sharps collectors | item | 4 |
| 40 | Dustbins | item | 4 |
| 41 | Drinking water storage tanks for patients | item | 1 |
| 42 | Computers + printers | set | 1 |
| 2 | INTENSIVE CARE UNITINTENSIVE CARE UNITINTENSIVE CARE UNIT |  |  |
| 1 | Patient monitors | item | 2 |
| 2 | Portable oxygen generators | item | 2 |
| 3 | Ventilators | item | 2 |
| 4 | Anaesthesia machines | item | 1 |
| 5 | Cardioverter defibrillators, pacemakers | item | 1 |
| 6 | Nebulizers | item | 2 |
| 7 | Infusion pumps | item | 3 |
| 8 | Electric syringe pumps | item | 2 |
| 9 | ECG machines | item | 1 |
| 10 | Electrical suction machines | item | 2 |
| 11 | Continuous-operation electric suction machines | item | 2 |
| 12 | Handheld pulse oximeters | item | 2 |
| 13 | Adult stethoscopes | item | 5 |
| 14 | Pediatric stethoscopes | item | 5 |
| 15 | Adult sphygmomanometers | item | 5 |
| 16 | Pediatric sphygmomanometers | item | 2 |
| 17 | Clinical thermometers, maximum temperature of 420C | item | 10 |
| 18 | Adult weighing scales with height rods | item | 1 |
| 19 | Emergency beds | item | 10 |
| 20 | Bedside lockers | item | 10 |
| 21 | Medicine storage cabinets | item | 1 |
| 22 | Instrument storage cabinets | item | 2 |
| 23 | Electric drying cabinets | item | 2 |
| 24 | Fridges | item | 2 |
| 25 | Examination lights | item | 4 |
| 26 | Clar headlights | item | 2 |
| 27 | X-ray film illuminators | item | 4 |
| 28 | Measurement rulers | item | 1 |
| 29 | Dispensing trolleys | item | 2 |
| 30 | Instrument push trolleys | item | 2 |
| 31 | Linen carts | item | 1 |
| 32 | Oxygen tank carts | item | 1 |
| 33 | Oxygen humidifiers | set | 8 |
| 34 | Pressure gauges for oxygen tanks | item | 8 |
| 35 | Flow controlling valves for oxygen tanks | item | 8 |
| 36 | Oxygen tanks | item | 10 |
| 37 | Instrument boiling sterilizers | item | 2 |
| 38 | Gauze and cotton sterilizing boxes of various kinds | item | 20 |
| 39 | Instrument sterilizing containers of various kinds | item | 20 |
| 40 | Nurse call alarm systems | piece | 1 |
| 41 | Kidney trays of various kinds | item | 20 |
| 42 | Medical gloves | pair | 50 |
| 43 | Disposable plastic syringes of various kinds | item | 200 |
| 44 | Syringe and needle destroyers | item | 1 |
| 45 | Sharps collectors | item | 2 |
| 46 | Blood serum infusion poles | item | 10 |
| 47 | Enema bulbs | item | 4 |
| 48 | Hot and cold packs (rubber) | item | 10 |
| 49 | Electric heating ovens | item | 5 |
| 50 | Patient stretcher trolley | item | 2 |
| 51 | Manual stretchers | item | 2 |
| 52 | Wheelchairs | item | 2 |
| 53 | Crutches | item | 2 |
| 54 | Reflex hammers | item | 4 |
| 55 | Tongue depressors | set | 20 |
| 56 | Endotracheal tubes | item | 10 |
| 57 | Tracheostomy instrument kits | item | 2 |
| 58 | Adult laryngoscopes | item | 2 |
| 59 | Pediatric laryngoscopes | item | 1 |
| 60 | Paracentesis needles | item | 5 |
| 61 | Thoracentesis needles | item | 5 |
| 62 | Cerebrospinal fluid catheters | item | 5 |
| 63 | Pleura catheter kits | item | 10 |
| 64 | Venous catheters | item | 10 |
| 65 | Nelaton tubes | item | 20 |
| 66 | Peritoneal catheters for drainage of abdominal ascites | item | 10 |
| 67 | Gastric catheters of various sizes | item | 20 |
| 68 | Faucher tubes size #2 for gastric lavage | item | 2 |
| 70 | Limb fixation instrument kits | item | 2 |
| 71 | Fetal stethoscopes | item | 2 |
| 72 | Adult bag-valve masks | set | 3 |
| 73 | Pediatric bag-valve masks | set | 2 |
| 74 | Portable UV lights | item | 2 |
| 75 | Medical gloves, sizes 6.5 and 7 | pair | 50 |
| 76 | Female bedpans | item | 10 |
| 77 | Potty pan chamber pots (feces collection) | item | 10 |
| 78 | Male portable chamber pots | item | 10 |
| 79 | Drinking water storage containers | item | 10 |
| 80 | Dustbins | item | 2 |
| 81 | Standby power generators, capacity range from 3000 W to 5000W, 220V 50HZ | item | 1 |
| 82 | Ice buckets | item | 283 |
| 83 | Computers + printers | item | 1 |
| 3 | GENERAL MEDICINE DEPARTMENTGENERAL MEDICINE DEPARTMENTGENERAL MEDICINE DEPARTMENT |  |  |
| 1 | Electric ventilators | item | 2 |
| 2 | Ventilators | item | 2 |
| 3 | Nebulizers | item | 4 |
| 4 | Portable oxygen generators | item | 4 |
| 5 | Infusion pumps | item | 6 |
| 6 | Electric syringe pumps | item | 6 |
| 7 | Patient monitors | item | 4 |
| 8 | Ultrasound machines | item | 2 |
| 9 | Gastric endoscopy machines | item | 1 |
| 10 | Flexible-tube colonoscopes + light sources | item | 1 |
| 11 | Rectal endoscopy machines | item | 1 |
| 12 | Endotracheal tubes | set | 2 |
| 13 | Tracheotomy instruments | set | 1 |
| 14 | Laryngoscopes | set | 12 |
| 15 | Handheld pulse oximeters | item | 1 |
| 16 | Electrical suction machines | item | 8 |
| 17 | Low-pressure suction machines | item | 2 |
| 18 | Electro-acupuncture machines | item | 4 |
| 19 | Laser therapy machines | item | 2 |
| 20 | Acupuncture needles | set | 30 |
| 21 | Massage machines | item | 2 |
| 22 | Oriental medicine cooking system | piece | 2 |
| 23 | Herbal medicine cutters | item | 1 |
| 24 | Herbal medicine pulverizers | item | 1 |
| 25 | Pill coaters | item | 1 |
| 26 | Ergometer exercise bikes | item | 1 |
| 27 | Magnetic field exposure disease treatment equipment | item | 1 |
| 28 | Low-frequency therapeutical equipment | item | 1 |
| 29 | High-frequency therapeutical equipment | item | 1 |
| 30 | Hyperfrequency therapeutical equipment | item | 1 |
| 31 | Therapeutical ultrasound equipment | item | 1 |
| 32 | Electrical muscle stimulators | item | 1 |
| 33 | Neuromuscular stimulators | item | 1 |
| 34 | Adult bag-valve masks | item | 4 |
| 35 | Pediatric bag-valve masks | item | 2 |
| 36 | Tongue depressors | item | 10 |
| 37 | X-ray film illuminators | item | 4 |
| 38 | Clar headlights | item | 4 |
| 39 | Oxygen humidifiers | set | 8 |
| 40 | Pressure gauges for oxygen tanks | item | 8 |
| 41 | Flow controlling valves for oxygen tanks | item | 8 |
| 42 | Oxygen tanks | item | 10 |
| 43 | Surgical instrument kits | set | 2 |
| 44 | Male and female urethra catheters | set | 2 |
| 45 | Reflex hammers | item | 4 |
| 46 | Patient stretcher trolley | item | 2 |
| 47 | Manual stretchers | item | 2 |
| 48 | Adult stethoscopes | item | 10 |
| 49 | Pediatric stethoscopes | item | 5 |
| 50 | Blood serum infusion poles | item | 30 |
| 51 | Gauze and cotton sterilizing boxes of various kinds | item | 40 |
| 52 | Adult sphygmomanometers | item | 20 |
| 53 | Instrument sterilizing containers of various kinds | item | 20 |
| 54 | Pediatric sphygmomanometers | item | 4 |
| 55 | Nurse call alarm systems | piece | 1 |
| 56 | Medical instrument trays of various kinds | item | 40 |
| 57 | Instrument trays of various kinds | item | 40 |
| 58 | Paracentesis needles | item | 5 |
| 59 | Thoracentesis needles | item | 5 |
| 60 | Cerebrospinal fluid catheters | item | 5 |
| 61 | Injection and blood collection needles | box | 5 |
| 62 | Disposable plastic syringes of various kinds | item | 500 |
| 63 | Disposable syringe and needle destroyers | item | 1 |
| 64 | Sharps collectors | item | 1 |
| 65 | Acupuncture point charts | set | 2 |
| 66 | Exercise chairs | item | 2 |
| 67 | Exercise chairs | item | 2 |
| 68 | Exercise mattresses | item | 2 |
| 69 | Instrument storage cabinets | item | 2 |
| 70 | Medicine storage cabinets | item | 4 |
| 71 | Oriental medicine cabinets | item | 2 |
| 72 | Fridges | item | 4 |
| 73 | Electric drying cabinets | item | 4 |
| 74 | Cold and hot packs | item | 20 |
| 75 | Medical gloves | pair | 200 |
| 76 | Female bedpans | item | 30 |
| 77 | Potty pan chamber pots (feces collection) | item | 30 |
| 78 | Male portable chamber pots | item | 30 |
| 79 | Oxygen tank carts | item | 1 |
| 80 | Dispensing trolleys | item | 4 |
| 81 | Instrument push trolleys | item | 2 |
| 82 | Wheelchairs | item | 4 |
| 83 | Clinical thermometers, maximum temperature of 420C | item | 70 |
| 84 | Medical beds | item | 70 |
| 85 | Bedside lockers | item | 70 |
| 86 | Office desks | item | 15 |
| 87 | Chairs | item | 30 |
| 88 | Seat stools | item | 30 |
| 89 | Whiteboards | item | 6 |
| 90 | Medical filing cabinets | item | 6 |
| 91 | Platform scales (maximum weight of 120kg) | item | 20 |
| 92 | Linen carts | item | 2 |
| 93 | Drinking water storage containers | item | 4 |
| 94 | Dustbins | item | 5 |
| 95 | 21-inch recording monitors | set | 2 |
| 4 | INFECTIOUS DISEASE DEPARTMENTINFECTIOUS DISEASE DEPARTMENTINFECTIOUS DISEASE DEPARTMENT |  |  |
| 1 | Ventilators | item | 2 |
| 2 | Nebulizers | item | 2 |
| 3 | Portable oxygen generators | item | 2 |
| 4 | Infusion pumps | item | 2 |
| 5 | Electric syringe pumps | item | 2 |
| 6 | Electrical suction machines | item | 2 |
| 7 | Low-pressure suction machines | item | 2 |
| 8 | Patient monitors | item | 2 |
| 9 | Handheld pulse oximeters | piece | 1 |
| 11 | Adult bag-valve masks | item | 2 |
| 12 | Pediatric bag-valve masks | item | 1 |
| 13 | Tongue depressors | item | 10 |
| 14 | X-ray film illuminators | item | 2 |
| 15 | Clar headlights | item | 2 |
| 16 | Oxygen humidifiers | set | 5 |
| 17 | Pressure gauges for oxygen tanks | item | 5 |
| 18 | Flow controlling valves for oxygen tanks | item | 5 |
| 19 | Oxygen tanks | item | 5 |
| 20 | Paracentesis needles | item | 5 |
| 21 | Thoracentesis needles | item | 5 |
| 22 | Cerebrospinal fluid catheters | item | 5 |
| 23 | Endotracheal tubes | set | 2 |
| 24 | Trach cannularization tubes | set | 2 |
| 25 | Laryngoscopes | set | 2 |
| 26 | Surgical instrument kits | set | 1 |
| 27 | Male and female urethra catheters | set | 6 |
| 28 | Reflex hammers | item | 4 |
| 29 | Patient stretcher trolley | item | 1 |
| 30 | Manual stretchers | item | 1 |
| 31 | Adult stethoscopes | item | 6 |
| 32 | Pediatric stethoscopes | item | 2 |
| 33 | Blood serum infusion poles | item | 5 |
| 34 | Gauze and cotton sterilizing boxes of various kinds | item | 10 |
| 35 | Instrument sterilizing containers of various kinds | item | 8 |
| 36 | Adult sphygmomanometers | item | 4 |
| 37 | Pediatric sphygmomanometers | item | 1 |
| 38 | Medical instrument trays of various kinds | item | 10 |
| 39 | Kidney trays of various kinds | item | 10 |
| 40 | Injection and blood collection needles | box | 5 |
| 41 | Disposable plastic syringes of various kinds | item | 300 |
| 42 | Syringe and needle destroyers | item | 1 |
| 43 | Sharps collectors | item | 2 |
| 44 | Instrument boiling sterilizers | item | 2 |
| 46 | Instrument storage cabinets | item | 1 |
| 47 | Fridges | item | 2 |
| 48 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 49 | Cold and hot packs | item | 5 |
| 50 | Medical gloves | pair | 50 |
| 52 | Female bedpans | item | 10 |
| 53 | Male portable chamber pots | item | 10 |
| 54 | Oxygen tank carts | item | 1 |
| 55 | Dispensing trolleys | item | 2 |
| 56 | Instrument push trolleys | item | 1 |
| 57 | Clinical thermometers, maximum temperature of 420C | item | 15 |
| 58 | Medical beds | item | 15 |
| 59 | Bedside lockers | item | 15 |
| 60 | Office desks | item | 50 |
| 61 | Chairs | item | 100 |
| 62 | Seat stools | item | 50 |
| 63 | Whiteboards | item | 20 |
| 64 | Medical filing cabinets | item | 20 |
| 65 | Platform scales (maximum weight of 120kg) | item | 15 |
| 66 | Linen carts | item | 5 |
| 67 | Drinking water storage containers | item | 1 |
| 68 | Dustbins | item | 2 |
| 69 | 21-inch recording monitors | item | 1 |
| 70 | Computers + printers | set | 1 |
| 5 | PEDIATRICS DEPARTMENTPEDIATRICS DEPARTMENTPEDIATRICS DEPARTMENT |  |  |
| 1 | ECG machines | item | 1 |
| 2 | Pediatric ventilators | item | 1 |
| 3 | Nebulizers | item | 1 |
| 4 | Portable oxygen generators | item | 2 |
| 5 | Infusion pumps | item | 2 |
| 6 | Electric syringe pumps | item | 2 |
| 7 | Electrical suction machines | item | 2 |
| 8 | Low-pressure suction machines | item | 1 |
| 9 | Handheld pulse oximeters | piece | 1 |
| 11 | Adult bag-valve masks | item | 2 |
| 12 | Pediatric bag-valve masks | item | 1 |
| 13 | Tongue depressors | item | 10 |
| 14 | X-ray film illuminators | item | 2 |
| 15 | Clar headlights | item | 2 |
| 16 | Oxygen humidifiers | set | 5 |
| 17 | Pressure gauges for oxygen tanks | item | 5 |
| 18 | Flow controlling valves for oxygen tanks | item | 5 |
| 19 | Oxygen tanks | item | 5 |
| 20 | Paracentesis needles | item | 5 |
| 21 | Thoracentesis needles | item | 5 |
| 22 | Cerebrospinal fluid catheters | item | 5 |
| 23 | Endotracheal tubes | set | 2 |
| 24 | Trach cannularization tubes | set | 2 |
| 25 | Laryngoscopes | set | 2 |
| 26 | Surgical instrument kits | set | 1 |
| 27 | Male and female urethra catheters | set | 6 |
| 28 | Reflex hammers | item | 4 |
| 29 | Patient stretcher trolley | item | 1 |
| 30 | Manual stretchers | item | 1 |
| 31 | Adult stethoscopes | item | 6 |
| 32 | Pediatric stethoscopes | item | 2 |
| 33 | Blood serum infusion poles | item | 5 |
| 34 | Gauze and cotton sterilizing boxes of various kinds | item | 10 |
| 35 | Instrument sterilizing containers of various kinds | item | 8 |
| 36 | Adult sphygmomanometers | item | 4 |
| 37 | Pediatric sphygmomanometers | item | 1 |
| 38 | Medical instrument trays of various kinds | item | 10 |
| 39 | Kidney trays of various kinds | item | 10 |
| 40 | Injection and blood collection needles | box | 5 |
| 41 | Disposable plastic syringes of various kinds | item | 300 |
| 42 | Syringe and needle destroyers | item | 1 |
| 43 | Sharps collectors | item | 2 |
| 44 | Instrument boiling sterilizers | item | 2 |
| 46 | Instrument storage cabinets | item | 1 |
| 47 | Fridges | item | 2 |
| 48 | Electric drying cabinets, maximum temperature 3000C | item | 2 |
| 49 | Cold and hot packs | item | 5 |
| 50 | Medical gloves | pair | 50 |
| 52 | Female bedpans | item | 10 |
| 53 | Male portable chamber pots | item | 10 |
| 54 | Oxygen tank carts | item | 1 |
| 55 | Dispensing trolleys | item | 2 |
| 56 | Instrument push trolleys | item | 1 |
| 57 | Clinical thermometers, maximum temperature of 420C | item | 15 |
| 58 | Medical beds | item | 15 |
| 59 | Bedside lockers | item | 15 |
| 60 | Office desks | item | 50 |
| 61 | Chairs | item | 100 |
| 62 | Seat stools | item | 50 |
| 63 | Whiteboards | item | 20 |
| 64 | Medical filing cabinets | item | 20 |
| 65 | Platform scales (maximum weight of 120kg) | item | 15 |
| 66 | Linen carts | item | 5 |
| 67 | Drinking water storage containers | item | 1 |
| 68 | Dustbins | item | 2 |
| 69 | 21-inch recording monitors | item | 1 |
| 70 | Computers + printers | set | 1 |
| 6 | GENERAL SURGERY DEPARTMENT AND OPERATING THEATERGENERAL SURGERY DEPARTMENT AND OPERATING THEATERGENERAL SURGERY DEPARTMENT AND OPERATING THEATER |  |  |
| 1 | ECG machines | item | 2 |
| 2 | Anaesthesia machines | item | 2 |
| 3 | Ventilators | item | 4 |
| 4 | Nebulizers | item | 4 |
| 5 | Cardioverter defibrillators, pacemakers | item | 4 |
| 6 | Portable oxygen generators | item | 1 |
| 7 | Patient monitors | item | 4 |
| 8 | Electric syringe pumps | item | 8 |
| 9 | Infusion pumps | item | 8 |
| 10 | Electrical suction machines | item | 2 |
| 11 | Continuous-operation electric suction machines | item | 2 |
| 12 | Nurse call alarm machines and systems | piece | 1 |
| 13 | Adult sphygmomanometers | item | 10 |
| 14 | Pediatric sphygmomanometers | item | 5 |
| 15 | Adult bag-valve masks | item | 5 |
| 16 | Pediatric bag-valve masks | item | 3 |
| 17 | Endotracheal tubes | set | 5 |
| 18 | Trach cannularization tubes | set | 1 |
| 19 | Reflex hammers | item | 2 |
| 20 | Tongue depressors | item | 20 |
| 21 | Clinical thermometers, maximum temperature of 420C | item | 15 |
| 22 | X-ray film illuminators | item | 4 |
| 23 | Clar headlights | item | 2 |
| 24 | Surgical instrument kits | set | 1 |
| 25 | Male and female urethra catheters | set | 10 |
| 26 | Oxygen humidifiers | set | 5 |
| 27 | Pressure gauges for oxygen tanks | item | 5 |
| 28 | Flow controlling valves for oxygen tanks | item | 5 |
| 29 | Oxygen tanks | item | 5 |
| 30 | Gauze and cotton sterilizing boxes of various kinds | item | 20 |
| 31 | Instrument sterilizing containers of various kinds | item | 20 |
| 32 | Medical instrument trays of various kinds | item | 20 |
| 33 | Kidney trays of various kinds | item | 10 |
| 34 | Instrument boiling sterilizers | item | 2 |
| 35 | Instrument storage cabinets | item | 2 |
| 36 | Medicine storage cabinets | item | 2 |
| 37 | Fridges | item | 4 |
| 38 | Electric drying cabinets, maximum temperature 3000C | item | 4 |
| 39 | Hot and cold packs (rubber) | item | 10 |
| 40 | Medical gloves, sizes 6.5 and và7 | pair | 50 |
| 41 | Plaster tables | item | 1 |
| 42 | Oxygen tank carts | item | 1 |
| 43 | Dispensing trolleys | item | 4 |
| 44 | Instrument push trolleys | item | 2 |
| 45 | Patient stretcher trolley | item | 2 |
| 46 | Manual stretchers | item | 2 |
| 47 | Crutches | item | 4 |
| 48 | Emergency beds | item | 4 |
| 49 | Anti-ulcer mattresses | item | 4 |
| 50 | Medical gloves | pair | 20 |
| 51 | Blood serum infusion poles | item | 10 |
| 52 | 20ml glass syringes + needles | set | 5 |
| 53 | Disposable syringes of various kinds | item | 500 |
| 54 | Disposable syringe and needle destroyers | item | 1 |
| 55 | Sharps collectors | item | 6 |
| 56 | Pediatric feeding pumps | item | 2 |
| 57 | Medical beds | item | 90 |
| 58 | Bedside lockers | item | 90 |
| 59 | Office desks | item | 40 |
| 60 | Chairs | item | 80 |
| 61 | Seat stools | item | 80 |
| 62 | Whiteboards | item | 2 |
| 63 | Medical filing cabinets | item | 10 |
| 64 | Platform scales (maximum weight of 120kg) | item | 3 |
| 65 | Linen carts | item | 2 |
| 66 | Enema bulbs | item | 10 |
| 67 | Female bedpans | item | 45 |
| 68 | Male portable chamber pots | item | 45 |
| 69 | Sputum mugs | item | 90 |
| 70 | Dustbins | item | 6 |
| 71 | Drinking water storage containers | item | 5 |
| 72 | 21-inch recording monitors | item | 3 |
| 73 | Computers + printers | set | 2 |
| 7 | GYNECOLOGY AND OBSTETRICS DEPARTMENTGYNECOLOGY AND OBSTETRICS DEPARTMENTGYNECOLOGY AND OBSTETRICS DEPARTMENT |  |  |
| 1 | ECG machines | item | 1 |
| 2 | Anaesthesia machines | item | 1 |
| 3 | Ventilators | item | 2 |
| 4 | Pediatric ventilators | item | 2 |
| 5 | Neonatal incubators | item | 6 |
| 6 | Nebulizers | item | 2 |
| 7 | Cardioverter defibrillators, pacemakers | item | 1 |
| 8 | Portable oxygen generators | item | 4 |
| 9 | Electric syringe pumps | item | 2 |
| 11 | Infusion pumps | item | 3 |
| 12 | Patient monitors | item | 2 |
| 13 | Tubal insufflation instruments | item | 1 |
| 14 | Amnioscopes | item | 1 |
| 15 | Gynecological exam tables | item | 3 |
| 16 | Birthing beds | item | 6 |
| 17 | Obstetric delivery tables | item | 2 |
| 18 | Gynaecological operating tables | item | 1 |
| 19 | Nurse call alarm devices | piece | 1 |
| 20 | Adult sphygmomanometers | item | 5 |
| 21 | Pediatric sphygmomanometers | item | 2 |
| 22 | Adult Ambu bags | item | 2 |
| 23 | Reflex hammers | item | 2 |
| 24 | Tongue depressors | item | 10 |
| 25 | Clinical thermometers | item | 15 |
| 26 | Clinical thermometers, maximum temperature of 420C | item | 15 |
| 27 | X-ray film illuminators | item | 2 |
| 28 | Phototherapy lamps for neonatal jaundice treatment | item | 2 |
| 29 | Infrared light therapy devices | item | 2 |
| 30 | Surgical instrument kits | set | 1 |
| 31 | Female urethra catheterization instruments | set | 3 |
| 32 | Endotracheal tubes | set | 2 |
| 33 | Female sterilization kits | set | 3 |
| 34 | Male sterilization kits | set | 3 |
| 35 | Midwifery instrument kits | set | 10 |
| 36 | Gynaelogical and obstetrical examination kits | set | 5 |
| 37 | Cesarean section and hysterectomy instruments | set | 3 |
| 38 | hysterectomy instruments | set | 2 |
| 39 | Cesarean section instruments | set | 3 |
| 40 | Cervical biopsy forceps | item | 2 |
| 41 | Baby radiators | set | 2 |
| 42 | Abortion instruments | set | 4 |
| 43 | Instruments for removal of IUD | set | 4 |
| 44 | Manual mucus suction instruments for newborns | item | 1 |
| 46 | Adult weighing scale with height rods | item | 1 |
| 47 | Neonatal weighing scales | item | 2 |
| 48 | Pediatric bath tubs | item | 10 |
| 49 | Emergency beds | item | 1 |
| 50 | Beds for postparfum intensive care | item | 5 |
| 52 | Anti-ulcer mattresses | item | 4 |
| 53 | Oxygen humidifiers | item | 5 |
| 54 | Pressure gauges for oxygen tanks | item | 5 |
| 55 | Flow controlling valves for oxygen tanks | item | 5 |
| 56 | Oxygen tanks | item | 5 |
| 57 | Gauze and cotton sterilizing boxes of various kinds | item | 30 |
| 58 | Instrument sterilizing containers of various kinds | item | 30 |
| 59 | Medical instrument trays of various kinds | item | 30 |
| 60 | Kidney trays of various kinds | item | 30 |
| 61 | Syringe and needle boiling sterilizers | item | 2 |
| 62 | Instrument boiling sterilizers | item | 2 |
| 63 | Instrument storage cabinets | item | 3 |
| 64 | Medicine storage cabinets | item | 3 |
| 65 | Fridges | item | 3 |
| 66 | Electric drying cabinets, maximum temperature 3000C | item | 3 |
| 67 | Hot and cold packs (rubber) | item | 10 |
| 68 | Medical gloves | pair | 200 |
| 69 | Oxygen tank carts | item | 1 |
| 70 | Medicine dispensing trolleys | item | 5 |
| 71 | Instrument push trolleys | item | 3 |
| 72 | Wheelchairs | item | 4 |
| 73 | Patient stretcher trolley | item | 2 |
| 74 | Manual stretchers | item | 2 |
| 75 | Crutches | item | 2 |
| 7 | Blood serum infusion poles | item | 15 |
| 6 | Disposable syringes of various kinds | item | 200 |
| 77 | Disposable syringe and needle destroyers | item | 1 |
| 78 | Sharps collectors | item | 5 |
| 79 | Medical beds | item | 50 |
| 80 | Bedside lockers | item | 50 |
| 81 | Office desks | item | 20 |
| 82 | Chairs | item | 50 |
| 83 | Seat stools | item | 50 |
| 84 | Whiteboards | item | 4 |
| 85 | Medical filing cabinets | item | 4 |
| 86 | Platform scales (maximum weight of 120kg) | item | 2 |
| 87 | Linen carts | item | 2 |
| 88 | Enema bulbs | item | 20 |
| 89 | Female bedpans | item | 50 |
| 90 | Male portable chamber pots | item | 50 |
| 91 | Sputum mugs | item | 10 |
| 92 | Dustbins | item | 4 |
| 93 | Anti-bacterial solution buckets | item | 2 |
| 94 | Drinking water storage containers | item | 2 |
| 95 | 21-inch recording monitors | item | 2 |
| 96 | Computers + printers | item | 1 |

LIST OF MEDICAL EQUIPMENT FOR REGIONAL-LEVEL CLINICS

| No. | Description | Unit of measurement | Quantity |
| --- | --- | --- | --- |
| 1 | Medical beds | item | 5 |
| 2 | Bedside lockers | item | 5 |
| 3 | Mattress exam tables | item | 2 |
| 4 | Birthing beds | item | 2 |
| 5 | Gynecological exam tables | item | 1 |
| 6 | Surgical beds | item | 1 |
| 7 | Mobile single-lamp surgical lights | item | 2 |
| 8 | 4-lamp surgical lights | item | 1 |
| 9 | Plaster replacement and dispensing trolleys | item | 2 |
| 10 | Dual-head stethoscopes | item | 5 |
| 11 | Adult sphygmomanometers | item | 4 |
| 12 | Pediatric sphygmomanometers | item | 1 |
| 13 | Taylor reflex hammers | item | 2 |
| 14 | Fetal stethoscopes | item | 2 |
| 15 | Movable scales | item | 2 |
| 16 | Adult weighing scales with height rods | item | 2 |
| 17 | Neonatal weighing scales | item | 1 |
| 18 | Adult Ambu bags | item | 2 |
| 19 | Pediatric Ambu bags | item | 2 |
| 20 | Single-channel ECG machines | item | 1 |
| 21 | Handheld diagnostic ultrasound machines | item | 1 |
| 22 | Nebulizers | item | 2 |
| 23 | Newborn tracheal cannulas | item | 2 |
| 24 | Obstetric vacuum extractors | item | 1 |
| 25 | Electric steamers, 39 liters to 50 liters 220V/50Hz | item | 1 |
| 26 | Electric drying cabinets, maximum temperature 3500C | item | 3 |
| 27 | Electric heating ovens | item | 3 |
| 28 | Instrument boxes with lids | item | 10 |
| 29 | Gauze and cotton sterilizing cylinder boxes, diameter 290 mm and height 160 mm | item | 10 |
| 30 | Electric instrument boiling sterilizers | item | 3 |
| 31 | Exam lights 220V/50Hz | item | 4 |
| 32 | Adult tongue depressors | item | 20 |
| 33 | Pediatric tongue depressors | item | 10 |
| 34 | All-purpose examination lamps | item | 3 |
| 35 | Eye, nose and ear exam lights | item | 1 |
| 36 | Acuity charts | item | 2 |
| 37 | Ophthalmic exam and treatment instruments (synchronized) | set | 2 |
| 38 | ENT exam and treatment instruments (synchronized) | set | 2 |
| 39 | Laryngoscopes | set | 2 |
| 40 | Gruber-style ear specula | set | 2 |
| 41 | Vienne-style nose specula | item | 2 |
| 42 | Dental exam and treatment chairs (simple) | piece | 1 |
| 43 | Tooth extracting pliers for adults and children | set | 2 |
| 44 | Straight root elevators | item | 5 |
| 45 | Curved root elevators | item | 2 |
| 46 | Dental syringes | item | 2 |
| 47 | Simple dental exam instruments (mirrors, forceps, broaches and trays, etc.) | set | 4 |
| 48 | Excavators | item | 5 |
| 49 | Dental tartar removers | set | 2 |
| 50 | Gynecological and obstetric exam and treatment instruments | set | 2 |
| 51 | Surgical forceps 1x2 teeth |  | 10 |
| 52 | Surgical pliers – 155 mm – stainless steel 145 mm – stainless steel |  | 10 |
| 53 | Kelly straight hemostatic forceps – 140 mm - SS | item | 10 |
| 54 | Kelly curved hemostatic forceps – 140 mm - SS | item | 10 |
| 55 | Kocher straight hemostatic forceps – 140 mm - SS | item | 10 |
| 56 | Kocher curved hemostatic forceps – 140 mm - SS | item | 10 |
| 57 | Halstead Mosquito curved hemostatic forceps – 125 mm – Stainless steel | item | 10 |
| 58 | Mayo – Hegar needle holders 160mm | item | 3 |
| 59 | Tongue seizing forceps | item | 2 |
| 60 | Grip-speculum bench ear exam forceps | item | 2 |
| 61 | Surgical knife handles | item | 5 |
| 62 | No.10 surgical scalpel blades, 5 blades per pack | pack | 10 |
| 63 | No.15 surgical scalpel blades, 5 blades per pack | pack | 10 |
| 64 | Tonsillectomy scalpels | item | 1 |
| 65 | Mayo pointed, blunt surgical scissors – 170 mm – Stainless steel | item | 10 |
| 66 | Mayo curved, blunt surgical scissors – 170 mm – Stainless steel | item | 10 |
| 67 | Straight pointed/blunt surgical scissors – 145 mm – Stainless steel | item | 10 |
| 68 | Lister angled-tip bandage scissors 180 mm, stainless steel | item | 1 |
| 69 | Pelvimeters | item | 1 |
| 70 | Simpson uterine sounds 300 mm, graduated in 20 mm | item | 1 |
| 71 | Graves vaginal specula – small size – stainless steel | item | 4 |
| 72 | Graves vaginal specula – medium size – stainless steel | item | 4 |
| 73 | Vaginal vault instruments, various sizes | item | 4 |
| 74 | Pratt double-end cervical dilator sets – 5 pieces – stainless steel | set | 2 |
| 75 | Straight cotton swab locking forceps 200 mm | item | 2 |
| 76 | Obstetric forceps with traction rods | item | 1 |
| 77 | Clinical thermometers, maximum temperature of 420C | item | 10 |
| 78 | Insulin pumps 1ml/40 – 80 units | item | 2 |
| 79 | Disposable syringes of various kinds | item | 500 |
| 80 | Disposable syringe and needle destroyers | item | 1 |
| 81 | Half curved suture needles | item | 20 |
| 82 | Half curved cervical suture needles | item | 20 |
| 83 | Catgut sutures – 36 sachets per box | item | 10 |
| 84 | Kidney trays – stainless steel | item | 5 |
| 85 | Catheter funnels 90 ml - stainless steel | item | 4 |
| 86 | Patient stretcher trolley | item | 1 |
| 87 | Manual stretchers | item | 1 |
| 88 | Surgical gloves in different sizes | pair | 100 |
| 89 | Tubes for gastric lavage | item | 2 |
| 90 | Urethra catheterization tubes | item | 2 |
| 91 | Enema bulbs 30 ml | item | 2 |
| 92 | Pediatric nasal aspirators 30ml | item | 2 |
| 93 | Manual breast pumps | item | 2 |
| 94 | Hot and cold packs (rubber) 2 liters | item | 4 |
| 95 | Enema bag tubes and tubing irrigator connector 1.5 Lw | item | 2 |
| 96 | Baby bath tubs 25 liters | item | 2 |
| 97 | Female bedpans | item | 5 |
| 98 | Male chamber pots | item | 5 |
| 99 | Potty pan chamber pots | item | 5 |
| 100 | Binocular microscopes | item | 2 |
| 101 | Simple urine analyzers | item | 1 |
| 102 | Simple hematology analyzers | item | 1 |
| 103 | Hematology centrifuges | item | 1 |
| 104 | Multi-purpose electric centrifuges | item | 1 |
| 105 | Technical scales | item | 1 |
| 106 | Plate scales | item | 1 |
| 107 | Minutes timers | item | 2 |
| 108 | Hand tally counter with a counting range of 0 – 999 | item | 1 |
| 109 | Different-volume suction tubes | item | 10 |
| 110 | 60 ml glass pipette dropper bottles | item | 3 |
| 111 | Slides | item | 1000 |
| 112 | Glass marking pencils | item | 10 |
| 113 | 25 liter aluminum containers | item | 2 |
| 114 | 1.4 meter PP fabrics | piece | 10 |
| 115 | 2-section X-ray film viewers, size 30x40cm | item | 2 |
| 116 | Single-section X-ray film viewers | item | 2 |
| 117 | 100 liter refrigerators - 220V/50Hz | item | 2 |
| 118 | Vaccine cold boxes | item | 10 |
| 119 | Instruments for administering intramuscular injections | set | 1 |
| 120 | Instruments for male and female sterilization | set | 2 |
| 121 | IUD insertion Instruments | set | 5 |
| 122 | IUD removal Instruments | set | 2 |
| 123 | Obstetric suction kits | set | 5 |
| 124 | Gas mantles | item | 1 |
| 125 | Camping lights | item | 4 |
| 126 | Handheld megaphones | item | 1 |
| 127 | Dustbins | item | 5 |
| 128 | Drinking water storage containers | item | 2 |
| 129 | Water pumps | item | 1 |
| 130 | Manual water pumps (installed at places without electricity) | item | 1 |
| 131 | 5 KVA/220V power generators | item | 1 |
| 132 | 21 inch recording monitors | item | 1 |
| 133 | Computers + printers | set | 1 |

------------------------------------------------------------------------------------------------------
This translation is made by THƯ VIỆN PHÁP LUẬT, Ho Chi Minh City, Vietnam and for reference purposes only. Its copyright is owned by THƯ VIỆN PHÁP LUẬT and protected under Clause 2, Article 14 of the Law on Intellectual Property.Your comments are always welcomed