| MINISTRY OF SCIENCE AND TECHNOLOGY -------- | SOCIALIST REPUBLIC OF VIETNAM Independence – Freedom – Happiness ---------------- |
| --- | --- |
| No. 07/2019/TT-BKHCN | Hanoi, July 26, 2019 |

CIRCULAR

AMENDMENTS TO CIRCULAR NO. 23/2013/TT-BKHCN DATED SEPTEMBER 26, 2013 OF MINISTER OF SCIENCE AND TECHNOLOGY ON MEASUREMENT OF GROUP 2 MEASURING INSTRUMENT

Pursuant to Law on Measurement dated November 11, 2011;

Pursuant to Decree No. 95/2017/ND-CP dated August 16, 2017 of Government on functions, tasks, powers and organizational structure of Ministry of Science and Technology;

At request of Director General of Directorate for Standards, Metrology and Quality and Director General of Legal Department;

Minister of Science and Technology promulgates Circular on amendments to Circular No. 23/2013/TT-BKHCN dated September 26, 2013 of Minister of Science and Technology on measurement of group 2 measuring instrument.

Article 1. Amendments to Circular No. 23/2013/TT-BKHCN dated September 26, 2013 of Minister of Science and Technology on measurement of group 2 measuring instrument

1. Amendments to Article 3 as follows:

“Article 3. Term interpretation

In this Circular, terms below are construed as follows:

1. “metrology technical requirements” refers to a collection of technical metrological properties of measuring instrument under Vietnamese text measurement techniques;

2. “measuring instrument” refers to technical instrument, including: measuring equipment, devices; equipment and devices that can be used to measures; measuring system to perform the measurement;

3. “group 2 measuring instrument” refers to measuring instrument used for measurement of goods and services in trade and payment, safety assurance, public health protection, environment protection, inspection, examination, judicial expertise and other public affairs controlled according to metrology technical requirements under documents on Vietnamese measurement techniques;

4. “sample approval” refers to a metrology control method implemented by the Directorate for Standards, Metrology and Quality to assess, verify samples of measuring instrument or sample of measuring instrument type (hereinafter collectively referred to as “sample”) satisfactory to metrology technical requirements;

5. “accreditation” refers to a metrology control method conducted by designated measuring instrument accreditation organizations to assess and verify conformance of metrology technical properties of measuring instrument to metrology technical requirements;

6. “manufacturing facilities of measuring instrument” are organizations and individuals transferring technology, producing, assembling, renovating and/or improving manufactured or imported measuring instrument;

7. “importing facilities of measuring instrument” are organizations and individuals importing or delegating import of completely built measuring instrument;

8. “trading facilities of measuring instrument” are organizations and individuals selling measuring instrument in retail or wholesale  and measuring instrument trading agencies in Vietnam;

9. Other terms shall be construed according to Article 3 of Law on Metrology dated November 11, 2011.”.

2. Amendments to Article 4 as follows:

“Article 4. List of measuring instrument, metrology control methods and measuring instrument accreditation frequency

List of measuring instrument, metrology control methods and measuring instrument accreditation frequency consist of:

1. Measuring instrument, metrology control methods and measuring instrument accreditation frequency are specified under the schedule below:

| No. | Name of measuring instrument | Metrology control method |  |  |  |  | Metrology control methodMetrology control methodMetrology control methodAccreditation frequency |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Sample approval | Accreditation |  |  | AccreditationAccreditation |  |  |  |
|  |  |  | Initial | Periodic | Post-repair |  |  |  |  |
| (1) | (2) | (3) | (4) | (5) | (6) | (7) |  |  |  |
| 1 | Measuring instrument for length: |  |  |  |  |  |  |  |  |
|  | - Retractable ruler | - | x | - | - | - |  |  |  |
|  | - Photoelectric distance measuring instrument | - | x | x | x | 12 months |  |  |  |
|  | - Water depth measuring instrument | - | x | x | x | 12 months |  |  |  |
|  | - Measuring instrument for depths of underwater structure | - | x | x | x | 24 months |  |  |  |
| 2 | Taximeter | x | x | x | x | 18 months |  |  |  |
| 3 | Measuring instrument for vehicular speed | x | x | x | x | 24 months |  |  |  |
| 4 | Level measuring instrument | - | x | x | x | 12 months |  |  |  |
| 5 | Electronic total station | - | x | x | x | 12 months |  |  |  |
| 6 | Analytical balance | - | x | x | x | 12 months |  |  |  |
| 7 | Bench scale | - | x | x | x | 12 months |  |  |  |
| 8 | Universal scales: |  |  |  |  |  |  |  |  |
|  | - Dial spring scale | x | x | x | x | 24 months |  |  |  |
|  | - Table top scale; beam scale; steel hanging scale | x | x | x | x | 12 months |  |  |  |
| 9 | Crane scale | x | x | x | x | 12 months |  |  |  |
| 10 | Vehicle scale | x | x | x | x | 12 months |  |  |  |
| 11 | Specialized vehicle scale for vehicle load inspection | x | x | x | x | 24 months |  |  |  |
| 12 | Static railway scale | x | x | x | x | 12 months |  |  |  |
| 13 | Active railway scale | x | x | x | x | 24 months |  |  |  |
| 14 | Conveyor scale | x | x | x | x | 12 months |  |  |  |
| 15 | Vehicle load inspection scales | x | x | x | x | 12 months |  |  |  |
| 16 | Weights: |  |  |  |  |  |  |  |  |
|  | - E2 accuracy weights | - | x | x | x | 24 months |  |  |  |
|  | - F1 accuracy weights or less | - | x | x | x | 12 months |  |  |  |
| 17 | Tensile and yield strength testing instrument | - | x | x | x | 12 months |  |  |  |
| 18 | Momentum flux measuring instrument | - | x | x | x | 12 months |  |  |  |
| 19 | Fuel dispensers | x | x | x | x | 12 months |  |  |  |
| 20 | LPG dispensers | x | x | x | x | 12 months |  |  |  |
| 21 | Water level gauges: |  |  |  |  |  |  |  |  |
|  | - Mechanical cold water gauges | x | x | x | x | 60 months |  |  |  |
|  | - Electronic cold water gauges | x | x | x | x | 36 months |  |  |  |
| 22 | Gasoline gauges | x | x | x | x | 12 months |  |  |  |
| 23 | Gas gauges: |  |  |  |  |  |  |  |  |
|  | - LPG gauges | x | x | x | x | 12 months |  |  |  |
|  | - Industrial gas gauges | x | x | x | x | 36 months |  |  |  |
|  | - Civil gas gauges: |  |  |  |  |  |  |  |  |
|  | + Qmax < 16 m3/h | x | x | x | x | 60 months |  |  |  |
|  | + Qmax ≥ 16 m3/h | x | x | x | x | 36 months |  |  |  |
| 24 | Common volumetric measuring instrument | - | x | x | x | 24 months |  |  |  |
| 25 | Pipettes | - | x | x | x | 24 months |  |  |  |
| 26 | Fixed tanks | - | x | x | x | 60 months |  |  |  |
| 27 | Tanks: |  |  |  |  |  |  |  |  |
|  | - Automobile-transported tanks | - | x | x | x | 12 months |  |  |  |
|  | - Railway-transported tanks | - | x | x | x | 60 months |  |  |  |
| 28 | Automatic fuel measuring instrument | x | x | x | x | 12 months |  |  |  |
| 29 | Water flow measuring instrument | - | x | x | x | 24 months |  |  |  |
| 30 | Wind speed measuring instrument | - | x | x | x | 24 months |  |  |  |
| 31 | Manometers: spring manometers; electronic manometers; barometers | - | x | x | x | 12 months |  |  |  |
| 32 | Sphygmomanometers include: mercury sphygmomanometers; spring sphygmomanometers; electronic sphygmomanometers | - | x | x | x | 12 months |  |  |  |
| 33 | Thermometers: liquid-in-glass thermometers; alcohol thermometers; mercury-in-glass thermometers with maximum device | - | x | x | - | 24 months |  |  |  |
| 34 | Medical thermometers: |  |  |  |  |  |  |  |  |
|  | - Mercury-in-glass medical thermometers with maximum device | - | x | - | - | - |  |  |  |
|  | - Electrical thermometers with maximum device | - | x | x | - | 06 months |  |  |  |
|  | - Electrical infrared thermometers | - | x | x | x | 12 months |  |  |  |
| 35 | Grain moisture meter | - | x | x | x | 12 months |  |  |  |
| 36 | Air hygrometers and thermometers | - | x | x | x | 24 months |  |  |  |
| 37 | Hydrometers | - | x | x | x | 24 months |  |  |  |
| 38 | Dust content measuring instrument: |  |  |  |  |  |  |  |  |
|  | - Measuring instrument for dust contents in emission | - | x | x | x | 12 months |  |  |  |
|  | - Measuring instrument for dust contents in the air | - | x | x | x | 12 months |  |  |  |
| 39 | Measuring instrument for alcohol in breath | x | x | x | x | 12 months |  |  |  |
| 40 | Measuring instrument for contents of gases: |  |  |  |  |  |  |  |  |
|  | - Measuring instrument for contents of gases in emission | - | x | x | x | 12 months |  |  |  |
|  | - Measuring instrument for contents of gases in the air | - | x | x | x | 12 months |  |  |  |
| 41 | Measuring instrument for water statistics: |  |  |  |  |  |  |  |  |
|  | - Measuring instrument for water statistics in surface water | - | x | x | x | 12 months |  |  |  |
|  | - Measuring instrument for water statistics in wastewater | - | x | x | x | 12 months |  |  |  |
| 42 | Measuring instrument for salt moisture | - | x | x | x | 12 months |  |  |  |
| 43 | Electric meters: |  |  |  |  |  |  |  |  |
|  | - Single-phase AC induction meters | x | x | x | x | 60 months |  |  |  |
|  | - Single-phase AC electronic meters | x | x | x | x | 72 months |  |  |  |
|  | - Three-phase AC induction meters | x | x | x | x | 48 months |  |  |  |
|  | - Three-phase AC electronic meters | x | x | x | x | 36 months |  |  |  |
| 44 | Current transformers | x | x | x | x | 60 months |  |  |  |
| 45 | Voltage transformers | x | x | x | x | 60 months |  |  |  |
| 46 | Insulation resistance testers | - | x | x | x | 12 months |  |  |  |
| 47 | Earth resistance testers | - | x | x | x | 12 months |  |  |  |
| 48 | Explosive and detonator resistance testers | - | x | x | x | 6 months |  |  |  |
| 49 | Measuring instrument for electric field intensity | - | x | x | x | 12 months |  |  |  |
| 50 | Electrocardiogram devices | - | x | x | x | 24 months |  |  |  |
| 51 | Electroencephalograph devices | - | x | x | x | 24 months |  |  |  |
| 52 | Sound level meters | - | x | x | x | 12 months |  |  |  |
| 53 | Vibration meters | - | x | x | x | 12 months |  |  |  |
| 54 | Illuminance meters | - | x | x | x | 12 months |  |  |  |
| 55 | Luminance meters | - | x | x | x | 12 months |  |  |  |
| 56 | UV meters | - | x | x | x | 12 months |  |  |  |
| 57 | Spectrometers: |  |  |  |  |  |  |  |  |
|  | - Atomic absorption spectrometers | - | x | x | x | 12 months |  |  |  |
|  | - Ultraviolet–visible spectroscopy | - | x | x | x | 12 months |  |  |  |
| 58 | Laser power meter | - | x | x | x | 12 months |  |  |  |
| 59 | Focimeters | - | x | x | x | 12 months |  |  |  |
| 60 | Eye refractometers | - | x | x | x | 12 months |  |  |  |
| 61 | Optical trial lens | - | x | x | x | 12 months |  |  |  |
| 62 | Polarimeters for determination of sugar contents (Pol) | - | x | x | x | 12 months |  |  |  |
| 63 | Refractometers for determination of sugar contents (Brix) | - | x | x | x | 12 months |  |  |  |
| 64 | Rain gauges | - | x | x | x | 24 months |  |  |  |
| 65 | Water level meters | - | x | x | x | 24 months |  |  |  |
| 66 | Automatic instrument for continuous metrology measurement | - | x | x | x | 24 months |  |  |  |
| 67 | Measuring instrument for latitude and longitude | - | x | x | x | 12 months |  |  |  |
| 68 | Satellite navigation instrument | - | x | x | x | 12 months |  |  |  |

- Symbol “x”: method must be performed for respective measuring instrument;

- Symbol “-”: method is not required for respective measuring instrument;

- Throughout the period of accreditation frequency, technical measurement properties of measuring instrument must be maintained during use.

2. Measuring instrument not specified under Clause 1 of this Article but required to be accredited and/or calibrated under other national technical regulations or legislative documents or used for inspection, judicial expertise or other public affairs of regulatory agencies must be accredited or calibrated at request of competent regulatory agencies without sample approval”.

3. Amendments to Article 25 as follows:

“Article 25. Responsibilities of facilities using measuring instrument

1. Ensuring conditions for storaging and using measuring instrument according to the manufacturers and metrology technical requirements of competent metrology regulatory agencies; maintaining metrology technical requirements of measuring instrument throughout use process and between accreditation sessions.

2. Performing periodic accreditation and post-repair accreditation for measuring instrument during use process as specified under Chapter IV of this Circular.

3. Complying with requirements of professional, specialized levels and occupational experience for users of measuring instrument prior to performing measurement as specified by competent metrology regulatory agencies.

4. Satisfying requirements as per the law to enable individuals with relevant rights and obligations to supervise and examine measurement implementation, measurement methods, measuring instrument and goods.

5. Complying with metrological inspection of competent authorities as per the law.”.

4. Amendments to Article 28 as follows:

“Article 28. Responsibilities of agencies acting as consultant to and assisting People’s Committees of provinces and central-affiliated cities in managing science and technology affairs within their competence

1. Directing Sub-directorates for Standard, Metrology and Quality to perform state inspection regarding metrology as per the law.

2. Directing inspectors of agencies acting as consultant to and assisting People’s Committees of provinces and central-affiliated cities in managing science and technology affairs to inspect compliance with regulations and law on metrology in the areas, dealing with complaints, accusations and taking actions against metrology violations as per the law.”.

5. Amendments to Article 29 as follows:

“Article 29. Responsibilities of Sub-directorates for Standard, Metrology and Quality of provinces and central-affiliated cities

1. Publicizing and guiding relevant organizations and individuals to comply with this Circular.

2. Inspecting and imposing administrative metrology penalties for group 2 measuring instrument in the area as per the law.

3. Performing state inspection regarding metrology for measuring instrument in the areas within their responsibilities specified under Clause 3 Article 13 of Decree No. 86/2012/ND-CP dated October 19, 2012 of Government on elaborating to Law on Metrology.

4. On an annual basis before May 30 or on a irregular basis at request for state management, producing reports on implementation of accreditation and comparison, proposed number of measuring instrument required to be accredited and compared and organizations designated to perform accreditation in the areas and submitting to the Directorate for Standards, Metrology and Quality and agencies acting as consultant to and assisting People’s Committees of provinces and central-affiliated cities in managing science and technology affairs in the areas.”.

Article 2. Implementation

This Circular comes into force from January 01, 2020.

Article 3. Implementation

1. Difficulties that arise during the implementation of this Circular should be reported to the Ministry of Science and Technology for consideration and revision.

2. Director General of Directorate for Standards, Metrology and Quality is responsible for guiding and organizing implementation of this Circular.

3. Ministers, heads of ministerial agencies, Chairpersons of People’s Committees of provinces and central-affiliated cities and relevant organizations and individuals are responsible for the implementation of this Circular./.

|  | PP. MINISTER DEPUTY MINISTER Tran Van Tung |
| --- | --- |

------------------------------------------------------------------------------------------------------
This translation is made by THƯ VIỆN PHÁP LUẬT, Ho Chi Minh City, Vietnam and for reference purposes only. Its copyright is owned by THƯ VIỆN PHÁP LUẬT and protected under Clause 2, Article 14 of the Law on Intellectual Property.Your comments are always welcomed