| THE MINISTRY OF HEALTH OF VIETNAM ------- | THE SOCIALIST REPUBLIC OF VIET NAM Independence-Freedom-Happiness ----------------- |
| --- | --- |
| No. 7115/QD-BYT | Hanoi, December 01, 2016 |

DECISION

PROMULGATING PROCEDURES FOR INSPECTION OF MEDICAL DEVICES

THE MINISTER OF HEALTH OF VIETNAM

Pursuant to the Law on Inspection No. 56/2010/QH12 dated November 15, 2010;

Pursuant to the Government’s Decree No. 36/2016/ND-CP dated May 15, 2016 prescribing medical device management;

Pursuant to the Government’s Decree No. 86/2011/ND-CP dated September 22, 2011 elaborating and providing guidelines for implementation of the Law on Inspection;

Pursuant to the Government’s Decree No. 07/2012/ND-CP dated February 09, 2012 stipulating regulatory authorities assigned to conduct specialized inspections and specialized inspection contents;

Pursuant to the Government’s Decree No. 87/2011/ND-CP dated September 27, 2011 elaborating and providing guidelines for implementation of the Law on Medical Examination and Treatment;

Pursuant to the Government's Decree No. 63/2012/ND-CP dated August 31, 2012 defining the functions, tasks, powers and organizational structure of the Ministry of Health of Vietnam;

Pursuant to the Government’s Decree No. 122/2014/ND-CP December 25, 2014 prescribing organization and operation of health inspectorates;

Pursuant to the Circular No. 05/2014/TT-TTCP dated October 16, 2014 of the Government Inspectorate promulgating regulations on organization, operation, work relationship and procedures for conducting an inspection;

Pursuant to the Circular No. 07/2002/TT-BYT dated May 30, 2002 of the Ministry of Health of Vietnam providing guidelines for application for marketing authorization for medical devices;

Pursuant to the Circular No. 30/2015/TT-BYT dated October 12, 2015 of the Ministry of Health of Vietnam providing guidelines for import of medical devices;

At the request of the Chief Inspector of the Ministry of Health of Vietnam,

HEREIN DECIDES:

Article 1. Procedures for inspection of medical devices are issued together with this Decision.

Article 2. Inspection of manufacturing, trading and management of use of medical devices shall comply with provisions of section 8 part 2 of the Procedures.

Article 3. This Decision comes into force from the date on which it is signed.

Article 4. Chief of the Ministry Office, the Ministry’s Chief Inspector, heads of relevant (General) Departments, Agencies or Administrations of the Ministry of Health of Vietnam, Directors of Provincial Departments of Health, heads of health agencies of Ministries and central-government regulatory authorities, heads of affiliated units of the Ministry of Health of Vietnam are responsible for the implementation of this Decision./.

|  | PP. MINISTER DEPUTY MINISTER Nguyen Viet Tien |
| --- | --- |

PROCEDURES

FOR INSPECTION OF MEDICAL DEVICES
 (Enclosed with Decision No. 7115/QD-BYT dated December 01, 2016 of the Minister of Health of Vietnam)

Part 1.

GENERAL PROVISIONS

1. Scope and regulated entities

These Procedures introduce steps and contents of inspection of medical devices, including inspections of manufacturing, import, trading and use of medical devices.

These Procedures apply to planned inspections, ad hoc inspections, and inspections which are conducted to serve the settlement of complaints and denunciations, and performance of anti-corruption tasks.

These Procedures apply to inspectors, officials in charge of health inspection tasks, and members of inspection teams in the field of medical devices.

2. Objectives and requirements

2.1. Objectives

Inspections are aimed at finding loopholes in management mechanisms, policies and laws and requesting competent authorities to adopt appropriate measures for preventing, detecting, handling and remedying such loopholes or to take actions against violations of law; assisting regulatory authorities, organizations and individuals in complying with law; promoting positive factors; contributing to improvement of efficiency and effectiveness of state management; protecting the State interests as well as legitimate rights and benefits of regulatory authorities, organizations and individuals.

2.2. Requirements

Inspections must comply with regulations of law and be conducted in a manner that ensures accuracy, honesty, transparency, democracy and timeliness, and causes no obstruction to normal operation of the inspected entities.

3. Legislative documents on medical devices

- The Law on Medical Examination and Treatment No. 40/2009/QH12 dated November 23, 2009;

- The Law on quality of products and goods No. 05/2007/QH12 dated November 21, 2007;

- The Government’s Decree No. 36/2016/ND-CP dated May 15, 2016 on management of medical devices;

- The Government’s Decree No. 87/2011/ND-CP dated September 27, 2011 elaborating and providing guidelines for implementation of the Law on Medical Examination and Treatment;

- The Government’s Decree No. 176/2013/ND-CP dated November 14, 2013 prescribing penalties for administrative violations in health sector;

- The Government’s Decree No. 187/2013/ND-CP dated November 20, 2013 elaborating the Law on Commerce regarding international goods trading and goods purchase, sale, processing and transit agency activities with foreign countries.

- The Circular No. 30/2015/TT-BYT dated October 12, 2015 of the Ministry of Health of Vietnam providing guidelines for import of medical devices;

- The Circular No. 07/2002/TT-BYT dated May 30, 2002 of the Ministry of Health of Vietnam providing guidelines for application for marketing authorization for medical devices;

- The Circular No. 41/2011/TT-BYT dated November 14, 2011 of the Minister of Health of Vietnam providing guidelines for issuance of practicing certificates to medical practitioners and issuance of operating licenses to health facilities; the Circular No. 41/2015/TT-BYT dated November 16, 2015 of the Minister of Health of Vietnam providing amendments to the Circular No. 41/2011/TT-BYT dated November 14, 2011 of the Minister of Health of Vietnam;

- The Circular No. 09/2015/TT-BYT dated May 25, 2015 of the Ministry of Health of Vietnam prescribing approval for contents of advertisements for special products, commodities and services under management of the Ministry of Health of Vietnam;

- The Decision No. 1895/1997/QD-BYT dated September 19, 1997 of the Ministry of Health of Vietnam promulgating regulations on hospitals;

- The Decision No. 36/2006/QD-BYT dated November 14, 2006 of the Ministry of Health of Vietnam promulgating “Regulations on clinical trials for medical devices”;

- Other relevant legislative documents.

Part 2.

PROCEDURES FOR CONDUCTING AN INSPECTION OF MEDICAL DEVICES

STEP 1. PREPARATION FOR INSPECTION

1. Collection of information and documents before making inspection decisions

1.1. Before making inspection decisions, heads of regulatory authorities or state inspection authorities shall, where deemed necessary, direct the collection of information and documents to serve their making of inspection decisions.

Appointment or designation of officials or groups of officials to collect information and documents (hereinafter referred to as “information collecting official”) must be made in writing. The collection of information must be completed within 15 working days.

1.2. For the purpose of collecting information from regulatory authorities, organizations and individuals, an information collecting official must present:

a) a written appointment of official to take charge of information collection which is made by the head of the relevant inspection authority and must indicate description of tasks, performance time, and information to be collected; and

b) his/her official’s card or inspector’s card.

1.3. The information collecting official is prohibited from harassing or disturbing regulatory authorities, organizations and individuals that are requested to provide information, or requesting them to provide information pieces other than those defined in his/her written appointment.

1.4. The information collecting official shall study, analyze, assess and consolidate collected information and documents; and within 05 working days upon completion of information collection, make and submit a written report on information collection results to his/her head. A report on information collection results shall, inter alia, include:

a) General description of functions, tasks, powers, and regulations of laws governing organization and operation of the entity subject to the inspection (hereinafter referred to as “subject entity”);

b) Current state and performance of the subject entity; inspection, audit and investigation results relating to the planned contents of inspection given by competent authorities (if any) and other relevant information.

c) Determination of issues that require more attention and signs of violation, and recommended contents and methods of inspection.

1.5. Information collection methods

a) Collect information and documents from the subject entity; from regulatory authorities in charge of managing sectors and fields relating to the contents of inspection;

b) Study and consolidate information collected from press agencies, feedbacks, complaints and denunciations relating to the contents of inspection;

c) Directly contact related persons, where necessary.

2. Issuance of inspection decisions

2.1. Grounds for making an inspection decision

Pursuant to provisions of Article 38 of the Law on Inspection No. 56/2010/QH12 dated November 15, 2010 (hereinafter referred to as "Inspection Law”), an inspection decision must be made on one of the following grounds:

- Under an approved annual inspection plan.

- At the request of the head of a regulatory authority;

- Upon detection of any signs of violation against laws; or

- For the purpose of settlement of a complaint or denunciation, or performance of anti-corruption tasks.

2.2. Contents of an inspection decision

In consideration of available grounds and the report on information collection results (if any), the head of the relevant regulatory authority or state inspection authority shall make an inspection decision and direct the inspection team to develop a detailed inspection plan. The inspection decision shall be made according to provisions of Article 52 of the Inspection Law, and shall include the following contents as a minimum:

- Legal grounds for conducting the inspection;

- Inspected or subject entity, scope, contents and tasks of inspection;

- Duration of inspection;

- Head, inspectors and other members of the inspection team.

The inspection decision shall be made using Form No. 04-TTr enclosed with the Circular No. 05/2014/TT-TTCP dated October 16, 2014 of the Government Inspectorate (hereinafter referred to as “Circular No. 05/2014/TT-TTCP”).

3. Formulation and approval of an inspection plan

3.1. The head of the inspection team shall take charge of organizing the formulation of an inspection plan and submitting it to the person who made an inspection decision (hereinafter referred to as "inspection decision maker") for approval.

3.2. Formulation and approval of an inspection plan must comply with provisions of Article 18 of the Government’s Decree No. 07/2012/ND-CP dated February 09, 2012 (hereinafter referred to as “Decree No. 07/2012/ND-CP”). Contents of an inspection plan: objectives, requirements, scope, contents, inspected entity, inspection period, and duration of inspection; methods for conducting the inspection, inspection schedule, information provision, reporting, employed facilities and equipment, funding and other material conditions necessary for the inspection team; organization of implementation of the inspection plan.

3.3. The time limit for formulation and approval of an inspection plan shall be decided by the inspection decision maker but shall not exceed 05 working days from the issue date of the inspection decision. In case of an ad hoc inspection, this time limit shall not exceed 03 working days.

3.4. The inspection plan shall be formulated using Form No. 05-TTr enclosed with the Circular No. 05/2014/TT-TTCP and considered as an internal document of the inspection team.

4. Dissemination of inspection plan

4.1. Head of the inspection team shall hold a meeting of the inspection team to disseminate the inspection plan and assign tasks to sub-teams or members of the inspection team; discuss the methods for conducting the inspection and cooperation among sub-teams, groups or members of the inspection team.

4.2. Sub-team leaders and members of the inspection team must develop their own plans to perform assigned tasks and report them to the head of the inspection team.

4.3. Where necessary, the head of the inspection team shall organize professional training for members of the inspection team.

5. List of issues to be reported by the inspected entity

5.1. Based on the inspection contents and the inspection plan, the head of the inspection team shall play the leading role and cooperate with other members of the inspection team in preparing a list of issues to be reported by the inspected entity.

5.2. The head of the inspection team shall give a reporting request (accompanied with the list of issues to be reported) to the inspected entity at least 05 working days before the date of announcement of the inspection decision; such request must clearly state the reporting method and deadline for report submission, except ad hoc inspections.

Issues to be reported by the inspected entity must be conformable with the inspection contents specified in the inspection decision.

6. Notification of announcement of inspection decision

Notification of announcement of inspection decision shall comply with provisions of Article 21 of the Decree No. 07/2012/ND-CP and only apply to planned inspections. To be specific:

Before the inspection decision is announced, the head of the inspection team shall notify the inspected entity of such announcement of inspection decision. Where necessary, the inspection decision maker may be requested to give a written notice to the inspected entity. Such notice must clearly state the time and place of announcement, and required participants.

STEP 2. CONDUCTING INSPECTION

7. Announcement of inspection decision

7.1. Within 15 days from the day on which the inspection decision is signed, the head of the inspection team shall organize the announcement of the inspection decision to the inspected entity.

7.2. Participants in the announcement session include the inspected entity and other participants decided by the inspection decision maker on the basis of the inspection team’s report.

7.3. The head of the inspection team shall preside over the announcement session; ratify the agenda; read the full text of the inspection decision; declare the objectives, requirements, contents and duration of the inspection; tasks and powers of the inspection team; rights and responsibilities of the inspected entity; working plan of the inspection team; work relationship between the inspection team and the inspected entity; other contents concerning operation of the inspection team.

7.4. Head of the authority or organization or individual that is subject to the inspection shall present their report on the inspection contents (according to the received list of issues to be reported).

7.5. Other participants in the announcement session shall express their opinions about the inspection contents (if any).

7.6. A written record of the announcement of inspection decision must be made, and bear signatures of the head of the inspection team and the head of authority or organization or individual that is subject to the inspection.

The record of the announcement of inspection decision is made using Form No. 06-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

8. Contents of medical device inspection

8.1. Contents of an inspection of the entity in charge of classifying medical devices

a) Legal documents and organizational structure:

- Legal documents of the inspected entity

- Documentary evidences of its eligibility to carry out classification of medical devices, including: the receipt note of declaration of eligibility to carry out classification of medical devices which is given by the Ministry of Health of Vietnam

- Profiles of personnel in charge of classification tasks: professional qualifications, experience of working directly with medical device techniques at medical device facilities, and certificates of completion of training courses in medical device classification issued by qualified training institutions.

b) Documents on declaration of eligibility to carry out classification of medical devices

- The declaration form of eligibility to carry out classification of medical devices

- The list of personnel in charge of medical device classification, and training certificates.

- Documents on classified medical devices

d) Compliance with regulations on classification of medical devices: Compliance with rules for classification of medical devices

(Further details are available in Appendix No. 1 enclosed herewith).

8.2. Contents of an inspection of medical device manufacturer

a) Legal documents and organizational structure:

- Legal documents of the inspected entity;

- Declaration of eligibility for manufacture of medical devices of the inspected entity; the receipt note of the declaration of eligibility for manufacture of medical devices which is given by a competent authority.

- Certificate of quality control system;

- Qualifications/degrees of the chief technician;

- Documents proving that it has sufficient and qualified personnel for manufacturing the registered type of medical devices;

- Documents on organizational structure; employment contracts, description of each job position, and documents stating responsibilities and work relationship of each employee.

b) Material facilities and equipment: Satisfaction of requirements regarding manufacturing workshop and warehouse, occupational safety, fire and explosion prevention and control, waste and wastewater treatment systems.

c) Documents on medical devices:

- Documents on application for marketing authorization: application form; declaration of applied standards; results of testing conducted at health facilities; results of testing for physical and chemical properties; safety inspection results (for medical devices subject to mandatory testing and inspection); Technical file and instructions for use; label; marketing authorization; pre-shipment inspection results; receipts/invoices of purchase of input materials.

d) Compliance with regulations on manufacture of medical devices:

- Matching between the scope and types of medical devices to be manufactured by the inspected entity and the professional scope and contents of the certificate of eligibility for manufacture of medical devices issued by the Ministry of Health of Vietnam;

- Documents on manufacturing of medical devices; medical device manufacturing procedures; equipment and devices used for manufacturing and storing medical devices; quality inspection in comparison with the declaration of quality standards; logbooks of product quality inspection results; product label compared to that included in the application; inspection reports given by competent authorities;

e) Advertisement for medical devices:

- Written approval of advertisement for medical device issued by a competent authority and contents of advertisement for domestically manufactured products in comparison with contents of advertisement approved by competent health authorities.

(Further details are available in Appendix No. 2 enclosed herewith)

8.3. Contents of an inspection of entity whose name is specified in the declaration of applied standards or marketing authorization for medical devices

a) Legal documents and organizational structure:

- Legal documents of the inspected entity

- Documentary evidences of the inspected entity’s eligibility to declare applied standards or apply for marketing authorization for medical devices: contract signed with the entity that is capable of providing warranty for medical devices

b) Documents on declaration of applied standards and application for marketing authorization for medical devices: based on medical device classification results.

- Declaration form of applied standards for class-A medical devices and number of marketing authorization for class-B, class-C or class-D medical devices; report on medical device classification results; certificate of eligibility to provide warranty for medical devices; letter of authorization given by the product owner to the entity that applies for declaration of applied standards; receipt note of declaration of applied standards for domestically manufactured medical devices or certificate of conformity with quality control standards which is still valid at the time of submission of application for declaration of applied standards for imported medical devices and documentary evidences of conformity of medical devices with national quality standards or quality standards announced by their manufacturers.

- Technical files: Brief technical description, sample label used for placing medical devices on the market of Vietnam, instructions for use.

(Further details are available in Appendix No. 3 enclosed herewith)

8.4. Contents of an inspection of medical device trader or importer

a) Legal documents and organizational structure:

- Legal documents of the inspected entity; documentary evidences of eligibility to import/trade in medical devices; professional qualifications/degrees of personnel meeting corresponding requirements for the class of medical devices; documents on organizational structure; employment contracts, description of each job position, and documents stating responsibilities and work relationship of each employee.

b) Material facilities and equipment:

- Business location area; equipment and devices used for storing, assembling, warranty and maintaining medical devices; medical device maintenance and transport service contracts; satisfaction of requirements regarding fire and explosion prevention and control, and environmental protection.

c) Compliance with regulations on trading of medical devices:

- Documents on declaration of eligibility to trade medical devices, receipt note of application for declaration of eligibility to trade medical devices, etc.

- Documents on purchase of goods: purchase invoices; attached documents such as certificate of origin (C/O), customs declaration form; certificate of quality (C/Q); warranty and maintenance documents;

- Documents on sale of goods: sales invoices, warranty and maintenance receipts; medical device sales and purchase contracts, delivery records, records of finalization of contracts; logbooks of medical devices purchased and sold.

- Documents on organization of advertisement, seminars and events for launching new medical devices;

- Reports on rights, tax obligations and incentives in trading of medical devices;

d) Compliance with regulations on import and export of medical devices:

- Import license issued by the Ministry of Health of Vietnam (for medical devices in the list of imported medical devices enclosed with the Circular No. 30/2015/TT-BYT);

- Export documents: number of marketing authorization for medical devices in Vietnam, satisfaction of requirements laid down by customs authorities during export of goods.

- Documents on import of medical devices: application for import; profiles of importer; manufacturer's certificate of quality; letter of authorization to import medical devices given by the product owner; marketing authorization for medical devices in manufacturing country; catalogue of each product; product description in Vietnamese; import report;

- Documents on import process: import contracts; customs declaration forms; C/O and C/Q; bills of lading; invoices on purchase of goods from foreign countries;

- Relevant documents: sales and purchase contracts and invoices between the importer and the enterprise winning the bid for supply of medical devices in case the inspected entity does not import medical devices directly from importer; delivery records, test acceptance records, invoices, and records of liquidation of contracts for supply of medical devices.

(Further details are available in Appendix No. 4 enclosed herewith)

8.5. Contents of an inspection of the entity providing consulting or carrying out inspection and calibration of medical devices

a) Organizational structure:

- Legal documents of the inspected entity;

- Personnel: Professional qualifications/degrees, training certificates as required by laws

- Documents on declaration of eligibility to provide medical device technical consulting, receipt note of application for declaration of eligibility to provide medical device technical consulting; documents on declaration of eligibility to carry out inspection and calibration of medical devices, receipt note of application for declaration of eligibility to carry out inspection and calibration of medical devices;

- Certificate of conformity with standards for laboratory and calibration facility granted to the entity providing inspection and calibration services.

b) Compliance with regulations on consulting, inspection and calibration of medical devices:

Compliance with rules for inspection and calibration of medical devices: list of customers using medical device technical consulting services, scope of consulting services provided; list of inspected and calibrated medical devices.

(Further details are available in Appendix No. 5 enclosed herewith)

8.6. Contents of an inspection of the entity managing and using medical devices

a) Organizational structure:

- Organizational model: establishment of a medical device department or appointment of a team or individual in charge of managing medical devices.

- For a medical device department: functions, tasks and organizational structure of the medical device department; operating rules of the medical device department; annual maintenance and warranty plan;

- Personnel documents: number of employees; in-charge person (department manager, team leader, or individual), task assignment decisions, professional qualifications, training certificates in management of medical devices; assignment of tasks to each employee and work relationship among employees; training documents.

b) Documents and records:

- Documents of the inspected entity: medical device management record; logbook of maintenance and repair of medical devices; operating procedures of medical devices; profiles of medical device;

- Documents on medical devices: Documents on purchase or investment (including decision to grant approval, bidding documents, bid package, bid evaluation record, bidding result notice, etc.); purchase of medical devices (including sale and purchase contract, delivery record, test acceptance record, contract finalization record, etc.); documents proving origin of medical devices such as C/O, C/Q, import license, customs declaration form; sale and purchase contract and invoices between the importer and the enterprise winning the bid for supply of medical devices.

c) Compliance with regulations on management of medical devices: department or warehouse for storing medical devices (satisfaction of hygiene, temperature and humidity requirements); profiles of medical device (department/ward using the medical device, official in charge of managing and using the medical device, updated information on operation, maintenance, repair and replacement of the medical devices); instructions for operation and use of the medical device directly attached to the medical devices; preservation or storage of medical device and its auxiliary parts after use as prescribed by the manufacturer; installation of safety devices for medical devices which require safety devices.

d) Purchase, management and use of chemicals and supplies:

- Purchase documents: bidding plan, bidding documents, bid evaluation record, decision to approve bidding result; minutes of the Council’s meetings to ratify the list of chemicals and supplies, their categories and unit prices; contracts, invoices, contract finalization records, and delivery records.

- Documents on use of chemicals and supplies: warehousing/delivery notes; logbooks of warehousing/delivery of chemicals and supplies; conditions for storage of chemicals and supplies.

(Further details are available in Appendix No. 6 enclosed herewith)

9. Collection of information and documents on inspection contents

9.1. During an inspection, the head or member of the inspection team may request the inspected entity to submit a report according to the list of issues to be reported; request the inspected entity and relevant authorities, organizations and individuals to provide information and documents on the inspection contents.

A request for provision of information and documents is made using Form No. 07-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

Provision and receipt of information and documents must be recorded in writing. A record of provision and receipt of information and documents is made using Form No. 08-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

9.2. For information and documents which are deemed unnecessary to be kept, they shall be returned to their providers by the date of completion of the physical inspection. Such return of information and documents must be also recorded in writing as prescribed in the section 12.1 above.

9.3. Management and use of inspection-related information and documents shall comply with regulations of law on inspection and relevant laws.

10. Verification of information and documents

10.1. The head and members of the inspection team shall consider and examine collected information and documents for clarifying inspection contents; evaluate the inspected entity’s compliance with policies and laws, and performance of tasks and powers in respect to their in-charge inspection contents; request responsible persons and relevant persons to provide explanations about unclear issues; where the objectivity and accuracy of information need to be verified, the member of the inspection team shall report the case to the head of the inspection team to make a decision on such verification.

Where it is necessary to verify collected information and documents or clarify some issues concerning the inspection contents, the head of the inspection team or the inspection decision maker shall invite the inspected entity and representatives of relevant authorities, organizations or individuals that provided information and documents to work at their offices. The letter of invitation shall be made using Form No. 09-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

If any issues concerning the inspection contents need to be clarified, the head of the inspection team or the inspection decision maker shall request the inspected entity in writing to submit reports on such issues. The request for report shall be made using Form No. 10-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

10.2. The result of verification of information and documents concerning the inspection contents must be recorded in writing by the authority, organization or individual whose information and documents are verified or made into a verification record.

The verification record is made using Form No. 11-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

10.3. Results of work sessions in relation to the inspection contents must be recorded in writing by authorities, organizations or individuals that are invited to such work sessions or made into work records.

The work record is made using Form No. 12-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

11. Exercise of rights during inspection, where necessary

When exercising their rights during inspections, heads of inspection teams and inspection decision makers shall follow the procedures in the Circular No. 05/2014/TT-TTCP. To be specific:

11.1. Regarding sealing of documents

Where the status quo of documents needs to be maintained, the head of the inspection team shall make a decision to seal such documents. Such sealing of documents shall comply with provisions of Article 36 of the Decree No. 86/2011/ND-CP. To be specific:

a) The head of the inspection team is entitled to make decision to seal a part or whole of documents concerning the inspection contents. The decision to seal documents must be made in writing and clearly indicate the documents to be sealed, sealing duration and obligations of the inspected entity. A list of sealed documents may be made, where necessary, and shall bear the signatures of the inspected entity and representative of the inspection team.

b) The sealing duration shall not exceed the duration of the physical inspection at the inspected entity’s premises. The sealed documents shall be used with approval from the head of the inspection team.

c) Where the sealing of documents is deemed unnecessary, the person who issued the sealing decision shall make a decision to invalidate that sealing decision immediately.

The decision to seal documents, decision to unseal documents, record of sealing of documents, and record of unsealing of documents are made using the Form No. 13-TTr, Form No. 14-TTr, Form No. 15-TTr and Form No. 16-TTr enclosed with the Circular No. 05/2014/TT-TTCP respectively.

11.2. Regarding stocktaking of assets and goods

Where the stocktaking of assets and goods is deemed necessary, the head of the inspection team or inspection decision maker shall issue a stocktaking decision. Stocktaking procedures shall comply with provisions of Article 37 of the Decree No. 86/2011/ND-CP. To be specific:

a) Where any discrepancy between recorded assets and actual assets or any sign or act of illegal use or appropriation of assets is found during the inspection, the head of the inspection team or inspection decision maker shall make a decision on stocktaking of assets and goods.

b) Such stocktaking decision must be made in writing and clearly indicate the subject types of assets/goods, time and location of stocktaking, responsibilities of persons in charge of conducting the stocktaking, and obligations of the inspected entity. The stocktaking shall be recorded in writing. Competent authorities may be requested to the inspected entity’s assets/goods, where deemed necessary.

c) Where the stocktaking of assets and goods is deemed unnecessary, the person who issued the stocktaking decision shall make a decision to invalidate that stocktaking decision immediately.

Stocktaking decision and decision to invalidate the stocktaking decision are made using Form No. 17-TTr and Form No. 18-TTr enclosed with the Circular No. 05/2014/TT-TTCP respectively.

11.3. Regarding request for external assessment

Where professional/technical assessment is required as the basis for drawing the inspection conclusion, the head of the inspection team shall request the inspection decision maker to decide to seek external assessment. Request for external assessment shall comply with provisions of Article 38 of the Decree No. 86/2011/ND-CP. To be specific:

a) The head of the inspection team shall request the inspection decision maker to make a decision on external assessment. Request for external assessment shall be made in writing and clearly indicate the contents and time of assessment, and authority or organization requested to carry out assessment.

b) The authority or organization carrying out the assessment shall assume legal responsibility for the accuracy, objectivity and timeliness of assessment results.

c) Costs of assessment shall be paid by the authority in charge of conducting the inspection. If the inspected entity is found to have committed violations, such assessment costs shall be incurred by the inspected entity, unless otherwise prescribed by law.

d) Assessment costs shall be paid, managed and used in accordance with regulations of law.

A decision to seek external assessment and the official dispatch on external assessment are made using Form No. 19-TTr and Form No. 20-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

11.4. Regarding suspension

If an action is considered a violation and thus has to be suspended, the head of the inspection team or the inspection decision maker shall issue a decision to suspend such action. Such suspension procedures shall comply with provisions of Article 39 of the Decree No. 86/2011/ND-CP.

The suspension decision must be made in writing and clearly indicate the reasons, contents and duration of suspension, and the entity in charge of the suspension. Where such suspension is deemed unnecessary, the person who issued the suspension decision shall make a decision to invalidate that suspension decision immediately.

Suspension decision and decision to invalidate the suspension decision are made using Form No. 21-TTr and Form No. 18-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

A competent authority may be requested to suspend the inspected entity’s action that is considered a violation, where necessary. Such request for suspension is made using Form No. 22-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

11.5. Regarding impoundment of cash, items and licenses

Where it is necessary to impound cash, items or license, the head of the inspection team shall request the inspection decision maker to issue an impoundment decision. Impoundment procedures shall comply with the provisions of Article 40 of the Decree No. 86/2011/ND-CP.

The impoundment decision must be made in writing and clearly indicate the cash amount, items or license to be impounded, impoundment duration, responsibilities of the person issuing the impoundment decision, and obligations of the entity whose cash, items or license is impounded. An impoundment record must be made. A competent authority may be requested to impound items or license, where necessary. Where the impoundment is deemed unnecessary, the person who issued the impoundment decision shall issue a decision to invalidate that impoundment decision.

The impoundment decision is made using Form No. 23-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

Where necessary, the inspection decision maker may request a competent person in writing to impound cash, items or license obtained or issued as a result of violations. Such request is made using Form No. 24-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

11.6. Regarding recovery of money and assets appropriated or illegally used or lost as a result of violations

Where it is necessary to recover money and assets appropriated or illegally used or lost as a result of violations, the inspection decision maker shall issue a recovery decision. Such recovery of money and assets appropriated or illegally used or lost as a result of violations shall comply with provisions of Article 42 of the Decree No. 86/2011/ND-CP.

The recovery decision must be made in writing and clearly indicate the amount of money/asset to be recovered, responsibilities of the authority in charge of such recovery, recovery time limit, and responsibilities of the inspected entity.

The inspection decision maker may carry out recovery of money or assets in accordance with regulations of law or request a competent authority to do so. The person who issues the decision on recovery of money/assets shall monitor, inspect and expedite the implementation of his/her decision.

The entity whose money/asset is to be recovered shall strictly comply with the recovery decision. If failing to do so, they shall, depending on the nature and severity of the violation, be disciplined, or incur administrative penalties or criminal prosecution, and pay compensation for damage, if any, in accordance with regulations of law.

Money recovery decision and asset recovery decision are made using Form No. 25-TTr and Form No. 26-TTr enclosed with the Circular No. 05/2014/TT-TTCP respectively.

11.7. Regarding request for suspension of disciplinary decisions, job transfer or retirement decisions in respect of persons who are cooperating with inspection authorities or inspected entities

If the implementation of a disciplinary decision, job transfer or retirement decision in respect of a person who is cooperating with the inspection authority or is the inspected entity is found to obstruct the inspection, the inspection decision maker shall request a competent person to issue a decision to suspend the implementation of that decision. Such request is made using Form No. 27-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

11.8. Where it is necessary to suspend an official or public employee who deliberately obstructs the inspection or refuses to comply with the inspection request or decision from his/her job position and take appropriate actions against him/her, the inspection decision maker shall request a competent person to make a decision to suspend the violating official or public employee from his/her job position. Such request is made using Form No. 28-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

12. Actions against violations detected during inspection

12.1. If any violation is detected during the inspection and has to be handled immediately, the head or member of the inspection team shall make a record of violation as the basis for further actions taken.

Actions against such violation shall be taken according to provisions of the Inspection Law and relevant laws.

12.2. In case any signs of a crime are found, the head of the inspection team shall report the case to the inspection decision maker to consider and make decision on such case.

13. Reporting

13.1. Each member or sub-team leader (if any) of the inspection team shall submit reports on their performance of assigned inspection tasks and inspection results to the head of the inspection team according to the schedule specified in the approved inspection plan or at the request of the head of the inspection team. Any issues that need to be dealt with immediately should be promptly reported to the head of the inspection team for consideration and decision.

The head of the inspection team shall consider and give specific and direct opinions on reports received from the inspection team’s members and give quick response to recommendations of the inspection team’s members. Any issues falling beyond his/her authority must be reported to the inspection decision maker for consideration.

13.2. The head of the inspection team shall submit reports on his/her performance of assigned inspection tasks and inspection results to the inspection decision maker according to the schedule specified in the approved inspection plan or at the request of the inspection decision maker.

The head of the inspection team shall send his/her report to the person who is assigned to supervise operation of the inspection team.

The inspection decision maker shall consider and give specific and direct opinions on reports received from the inspection team’s head, and give quick response to recommendations of the inspection team’s head.

13.3. A report submitted by a member, sub-team leader or head of the inspection team shall be made in writing, and inter alia, include the following contents:

- Performance of assigned inspection tasks by the reporting date;

- Finished tasks and results thereof, and in-progress tasks;

- Tasks to be performed in the next period;

- Difficulties and recommendations (if any).

14. Revisions to inspection plan

14.1. The inspection decision maker shall consider and make decision on revisions to the inspection plan at the request of the head of the inspection team.

14.2. The inspection decision maker may also make a written decision on revisions to the inspection plan at his/her discretion, and request the head of the inspection team to implement such decision.

14.3. The head of the inspection team shall notify such revisions to the inspection plan to other members of the inspection team, the inspected entity and relevant authorities, organizations and individuals (where necessary), and organize the implementation of the revised inspection plan.

15. Extension of inspection duration

15.1. If the inspection is complicated or involves multiple authorities, organizations and/or individuals, and thus the inspection duration needs to be extended, the head of the inspection team shall request the inspection decision maker in writing to approve extension of the inspection duration. Such request for extension of the inspection duration must clearly indicate the reasons for such extension and required extension.

15.2. At the request of the head of the inspection team, the inspection decision maker shall consider issuing a decision to extend the inspection duration.

The decision to extend the inspection duration is made using Form No. 29-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

15.3. The issued decision to extend the inspection duration shall be sent to the inspection team, the inspected entity and relevant authorities, organizations and individuals.

16. Transfer of documents to investigating authorities

If the inspection decision maker decides to transfer documents on the case where signs of a crime are found to the investigating authority, the head of the inspection team shall direct collection and consolidation of documents to be transferred to the investigating authority. Such transfer of documents must be recorded in writing.

Such transfer of documents shall comply with regulations on cooperating relationship between inspection authorities and competent authorities in detection, investigation and resolution of cases with signs of a crime at request of inspection authorities.

Document on transfer of documents on the case with signs of a crime to the investigating authority is made using Form No. 30-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

Record of transfer of documents between the inspection authority and the investigating authority is made using Form No. 31-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

17. Termination of physical inspection at the inspected entity’s premises

17.1. Before the physical inspection at the inspected entity’s premises comes to an end, the head of the inspection team shall hold a meeting of the inspection team to get common consent on tasks to be performed by the planned date of termination of the physical inspection.

17.2. The head of the inspection team shall report the planned termination of the physical inspection at the inspected entity’s premises to the inspection decision maker.

17.3. The head of the inspection team shall make a written notice of the planned date of termination of the physical inspection at the inspected entity’s premises and send it to the inspected entity. A work session with the inspected entity may be organized, if deemed necessary, to notify the termination of the physical inspection. Contents of the work session shall be made into a record of termination of the physical inspection at the inspected entity’s premises.

The notice of termination of the physical inspection at the inspected entity’s premises is made using Form No. 32-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

17.4. The physical inspection at the inspected entity’s premises shall be terminated upon expiration of the inspection duration or, if the inspection duration has not yet expired, when all contents of the approved inspection plan have been completed.

STEP 3. TERMINATION OF INSPECTION

18. Reporting on performance of tasks by members of an inspection team

18.1. Within 05 working days from the termination of the physical inspection at the inspected entity’s premises, members of the inspection team shall submit reports on their performance of assigned tasks to the inspection team’s head and assume responsibility for the accuracy, objectivity and truthfulness of contents of their reports.

18.2. A report on performance of tasks submitted by a member of the inspection team shall, inter alia, include the following main contents:

a) Assigned tasks, and inspection or verification results;

b) Specific conclusion of each inspection or verification content, corruption acts found during inspection (if any), legal grounds for reaching the conclusion;

c) The nature, severity and causes of each violation, and responsibilities of the violating entity;

d) Proposed consideration of the violation as an economic, administrative or criminal case (if any); recommended solutions for tightening and eliminating loopholes and shortcomings in performance of management tasks, proposed revisions or amendments to mechanisms, policies and laws; legal and practical basis for such proposals and recommendations.

18.3. If a member’s report is found inadequate or inaccurate or needs detailed explanations, the head of the inspection team shall request that member to modify his/her report.

19. Reporting on inspection results by the inspection team

19.1. Based on reports received from members of the inspection team and findings from examination of collected documents, the inspection team's head shall play the leading role in preparing a report on inspection results.

19.2. The report on inspection results shall be prepared in accordance with provisions of Article 25 of the Decree No. 07/2012/ND-CP. To be specific:

Within 15 days from the date of termination of the inspection, the inspection team’s head shall complete a report on inspection results, unless inspection conclusions are subject to determination of a competent authority or organization. A report on inspection results shall, inter alia, include:

a) General overview of the inspected entity;

b) Inspection and verification results;

c) Assessment of compliance with policies and laws, performance of tasks, and satisfaction of professional - technical standards during manufacturing, import, trading and use of medical devices by the inspected entity;

d) Measures taken within the inspection team’s jurisdiction during the inspection; proposed measures for handling violations; recommended amendments to current regulations or promulgation of new regulations to meet management requirements or abrogation of regulations contrary to laws (if any);

e) Disagreements among members of the inspection team (if any).

19.3. During the preparation of the report on inspection results, the head of the inspection team may seek opinions from relevant authorities, organizations and individuals, where deemed necessary, to ensure the accuracy and objectivity of their comments, assessment, conclusions and recommendations.

The report on inspection results is made using Form No. 33-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

20. Consideration of report on inspection results

20.1. The inspection decision maker shall directly consider or appoint an assisting agency or unit to read and consider the report on inspection results.

20.2. In case any content in the report on inspection results needs clarifying or modifying, the inspection decision maker shall hold a meeting with the inspection team to directly hear explanations or request the head and members of the inspection team in writing to submit a report on the content in question.

20.3. The inspection team’s head shall take charge of complying with the request of the inspection decision maker; hold a meeting of the inspection team to discuss and prepare a report on clarification or modification of the report on inspection results.

20.4. The inspection team’s head shall submit the report on clarification or modification of the report on inspection results, in which any disagreements among the inspection team’s members must be specified, to the inspection decision maker.

21. Drafting the inspection conclusion

21.1 After his/her receipt of the report on inspection results and reports on clarification or modification thereof (if any) from the inspection team, the inspection decision maker shall request the inspection team’s head to take charge of drafting the inspection conclusion and submit it to the inspection decision marker. The draft inspection conclusion shall comply with provisions of clause 1 Article 27 of the Decree No. 07/2012/ND-CP. To be specific:

Based on the report on inspection results and explanations provided by the inspected entity (if any), within 15 days from his/her receipt of the report on inspection results, the inspection decision maker shall issue a written inspection conclusion, unless inspection conclusions are subject to determination of a competent authority or organization. The inspection conclusion shall, inter alia, include:

a) Inspection and verification results;

b) Conclusions on compliance with policies and laws, satisfaction of professional - technical standards, and performance of tasks and powers by the inspected entity; nature, severity and causes of violations, and responsibilities of the violating entity (if any);

c) Proposed measures for handling violations; recommended amendments to current regulations to meet management requirements or abrogation of regulations contrary to laws (if any).

21.2. The inspection decision maker shall directly consider or assign a specialized agency or unit to consider and provide opinions about the received draft inspection conclusion. Such opinions given by the specialized agency or unit about the draft inspection conclusion must be made in writing and included in the retained inspection dossier.

21.3. During the preparation of the draft inspection conclusion, the inspection decision maker may request the head and members of the inspection team to provide explanations or request the inspected entity to provide more explanations to clarify any conclusions in the draft.

21.4. The inspection decision maker may decide to conduct additional inspection, solicit external assessment or obtain opinions from relevant authorities, organizations and individuals, where deemed necessary, to ensure the accuracy and objectivity of comments, assessments, conclusions and recommendations in the inspection conclusion.

21.5. If the draft inspection conclusion is sent to the inspected entity to serve its explanation, the explanations provided by the inspected entity must be made in writing and accompanied by supporting information, documents and/or evidences.

The head of the inspection team shall consider and request the inspection decision maker to respond to explanations provided by the inspected entity in order to complete the draft inspection conclusion and send it to the appraisal unit.

The head of the inspection team must submit a report on receipt of explanations of the inspected entity and opinions given by the appraisal unit and relevant authorities, organizations and individuals (if any) to the inspection decision maker. This report shall be included in the retained inspection dossier.

22. Signing and issuing the inspection conclusion

22.1. The inspection decision maker shall consider the report submitted by the inspection team's head and request the inspection team's head to continue completing the draft inspection conclusion which shall be then submitted to the inspection decision maker for signing and promulgation.

22.2. The medical device inspection conclusion shall be sent to the inspected entity and relevant authorities, organizations and individuals as prescribed in clause 4 Article 27 of the Decree No. 07/2012/ND-CP and relevant regulations. To be specific:

a) If the inspection is conducted by the Ministry Inspectorate, the inspection conclusion shall be sent to the Minister, head of ministerial agency, Inspector-General of the Government Inspectorate, the inspected entity, head of the supervisory authority of the inspected entity (if any), and relevant authorities, organizations and individuals;

b) If the inspection is conducted by the Inspectorate of a provincial Department, the inspection conclusion shall be sent to the Director of such provincial Department, the inspected entity, head of the supervisory authority of the inspected entity (if any), and relevant authorities, organizations and individuals;

The inspection conclusion is made using Form No. 34-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

23. Disclosure of inspection conclusion

23.1. Within 10 days from the day on which the inspection conclusion is signed, the inspection decision maker shall organize the disclosure of the inspection conclusion according to provisions of Article 39 of the Inspection Law and Article 46 of the Decree No. 86/2011/ND-CP. To be specific:

a) The inspection conclusion must be made publicly available, except contents classified as state secrets.

b) The inspection conclusion shall be disclosed in the following forms:

- The inspection conclusion is disclosed at a meeting which is held with the participation by the inspection decision maker or his/her authorized person, representative(s) of the inspection team, the inspected entity and relevant authorities, organizations and individuals;

- In addition to the disclosure of the inspection conclusion at a meeting, the inspection decision maker must disclose the inspection conclusion in at least one of these forms: publishing it on the mass media; publishing it on the website of the inspection authority, the authority assigned to conduct a specialized inspection or the regulatory authority of the same level; or posting it at the headquarters of the inspected entity. Mass media includes talking newspapers, television newspapers, printed newspapers and online newspapers. The inspection conclusion shall be published at least 02 times on a talking newspaper or online newspaper; or be aired at least 02 times on a television newspaper; or be appeared in at least 01 issue of a printed newspaper.

If the inspection conclusion is published on the website of the inspection authority, the authority assigned to conduct a specialized inspection or the regulatory authority of the same level, it must be published for a consecutive period of at least 05 days. If the inspection conclusion is posted at the headquarters of the inspected entity, it shall be posted for at least 05 days.

The inspected entity shall take charge of posting the inspection conclusion at their headquarters. The posting duration is at least 15 consecutive days.

23.2. The inspection decision maker shall provide the inspection conclusion for relevant authorities, organizations and individuals upon their request.

- Within 10 days from the day on which the inspection conclusion is signed, the inspection decision maker shall provide the inspection conclusion for authorities, organizations and individuals that are involved in the implementation of the inspection conclusion.

- Based on the scope of their responsibility to implement the inspection conclusion, the inspection decision maker shall provide a part or the whole of the inspection conclusion for relevant authorities, organizations and individuals.

23.3. The head of the inspection team shall assist the inspection decision maker in making preparations for disclosure of the inspection conclusion.

24. Assessment of performance of the inspection team

27.1. The head of the inspection team shall hold a meeting of the inspection team to assess the performance of the inspection team and learn experience. The meeting minutes must be made and included in the retained inspection dossier.

24.2. Contents of the assessment meeting of the inspection team:

a) Assessment of the inspection results in comparison with the objectives and requirements of the inspection;

b) Assessment of the fulfillment of responsibilities, performance of assigned tasks, compliance with regulations on task performance and work relationship of the inspection team, and procedures for conducting an inspection, regulations on supervision and inspection of operations of the inspection team, code of conduct of inspection officials, and other regulations on operations of the inspection team;

c) Experiences learned from the inspection;

d) Recommendations on reward and commendation for the head and members of the inspection team, and persons who have outstanding achievements in the inspection (if any);

dd) Review and determination of responsibilities of the head and/or member(s) of the inspection team for the violation(s) committed during the inspection (if any);

e) Other recommendations of the inspection team (if any).

24.3. Upon completion of the assessment meeting, the head of the inspection team shall prepare and submit the report on assessment results to the inspection decision maker and the head of the authority or unit in charge of the inspection.

25. Preparing, transferring, managing and using inspection dossier

The inspection dossier shall be prepared, transferred, managed and used in accordance with provisions of Article 43 of the Decree No. 86/2011/ND-CP and relevant regulations.

The transfer of the inspection dossier to the archiving unit must be recorded in writing. Such record of transfer of the inspection dossier is made using Form No. 35-TTr enclosed with the Circular No. 05/2014/TT-TTCP.

Part 3.

IMPLEMENTATION

The Inspectorate of the Ministry of Health of Vietnam shall give instructions for development and implementation of procedures and contents of inspection of medical devices for health inspectorates nationwide.

Any difficulties that arise during the implementation of this Decision but beyond the scope of this Decision should be promptly reported to the Ministry of Health of Vietnam (via the Ministry Inspectorate) for consideration./.

APPENDIX 1

CONTENTS OF INSPECTION OF COMPLIANCE WITH REGULATIONS ON CLASSIFICATION OF MEDICAL DEVICES 
(Enclosed with the Decision No. 7115/2016/QD-BYT dated December 01, 2016 of the Minister of Health of Vietnam)

| No. | CONTENTS | No | Yes |  | YesComments |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Pass | Fail |  |  |
| (1) | (2) | (3) | (4) | (5) |  | (6) |
| 1 | ORGANIZATIONAL STRUCTURE |  |  |  |  |  |
| 1.1 | Establishment and operation license |  |  |  |  |  |
| 1.2 | Personnel in charge of classification: |  |  |  |  |  |
| 1.2.1 | Professional qualifications |  |  |  |  |  |
| 1.2.2 | Certification of working experience as prescribed in Article 7 of Decree 36 |  |  |  |  |  |
| 1.2.3 | Certificates of completion of training courses in medical device classification issued by qualified training institutions |  |  |  |  |  |
| 1.3 | Documentary evidences of eligibility to carry out classification of medical devices |  |  |  |  |  |
| 2 | DOCUMENTS ON DECLARATION OF ELIGIBILITY TO CARRY OUT CLASSIFICATION OF MEDICAL DEVICES |  |  |  |  |  |
| 2.1 | Declaration form of eligibility to carry out classification of medical devices |  |  |  |  |  |
| 2.2 | Personnel list |  |  |  |  |  |
| 2.3 | List of classified medical devices |  |  |  |  |  |
| 2.4 | Documents on classified medical devices |  |  |  |  |  |

APPENDIX 2

CONTENTS OF INSPECTION OF COMPLIANCE WITH REGULATIONS ON MANUFACTURING OF MEDICAL DEVICES 
(Enclosed with the Decision No. 7115/2016/QD-BYT dated December 01, 2016 of the Minister of Health of Vietnam)

| No. | CONTENTS | No | Yes |  | YesComments |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Pass | Fail |  |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1 | ORGANIZATIONAL STRUCTURE |  |  |  |  |
| 1.1 | Documents on the chief technician: |  |  |  |  |
| 1.1.1 | Qualifications/degrees of the chief technician |  |  |  |  |
| 1.1.2 | Certificate of experience of working directly with medical device techniques |  |  |  |  |
| 1.1.3 | Letter of task assignment or appointment of chief technician |  |  |  |  |
| 1.2 | Technical staff: |  |  |  |  |
| 1.2.1 | List of technical staff members |  |  |  |  |
| 1.2.2 | Qualifications/degrees of each technician |  |  |  |  |
| 1.2.3 | Employment contracts signed with employees to meet manufacturing requirements |  |  |  |  |
| 2 | MATERIAL FACILITIES |  |  |  |  |
| 2.1 | Manufacturing workshop: |  |  |  |  |
| 2.1.1 | Is the workshop’s area suitable for the manufacturing scale? |  |  |  |  |
| 2.1.2 | Do equipment, and manufacturing and quality inspection procedures meet requirements? |  |  |  |  |
| 2.1.3 | Whether a service contract is signed with a qualified quality inspection service provider or not (if the manufacturer does not have adequate equipment for conducting quality inspection)? |  |  |  |  |
| 2.2 | Other requirements: |  |  |  |  |
| 2.2.1 | Regulations on working area |  |  |  |  |
| 2.2.2 | Regulations on manufacturing area |  |  |  |  |
| 2.2.3 | Regulations on materials and supplies storing area |  |  |  |  |
| 2.2.4 | Are these areas separated from each other? |  |  |  |  |
| 2.3 | Does the workshop have waste and garbage treatment system? |  |  |  |  |
| 2.4 | Is a certificate of registration of environmental protection commitments issued by a competent authority available? |  |  |  |  |
| 2.5 | Is a certificate of satisfaction of fire prevention and fighting requirements issued by local police authority available? |  |  |  |  |
| 2.6 | Regulations on occupational safety |  |  |  |  |
| 2.7 | Warehouse: |  |  |  |  |
| 2.7.1 | Is the warehouse’s are suitable for the categories and quantities of medical devices stored therein? |  |  |  |  |
| 2.7.2 | Is the warehouse well ventilated, dry and clean, and separated from sources of pollution? |  |  |  |  |
| 2.7.3 | Are storage conditions suitable for the business scale? |  |  |  |  |
| 2.7.4 | Are other storage requirements laid down in user manuals satisfied? |  |  |  |  |
| 2.7.5 | Vehicles used for transport of goods |  |  |  |  |
| 2.7.6 | Is a quality management system applied? |  |  |  |  |
| 2.7.7 | Documents and contracts proving cooperation with an entity that has warehouse and transport vehicles (if the manufacturer does not have warehouse and transport vehicles) |  |  |  |  |
| 3 | DOCUMENTS ON MEDICAL DEVICES |  |  |  |  |
| 3.1 | Declaration form of eligibility for manufacture of medical devices |  |  |  |  |
| 3.2 | Report on medical device classification results |  |  |  |  |
| 3.3 | Receipt note of declaration dossier |  |  |  |  |
| 3.4 | Certificate of eligibility to provide warranty |  |  |  |  |
| 3.5 | Technical files, instructions for use |  |  |  |  |
| 3.6 | Product label |  |  |  |  |
| 3.7 | Pre-shipment inspection results |  |  |  |  |
| 3.8 | Invoices of purchase of input materials |  |  |  |  |
| 3.9 | Regular or periodical quality inspections conducted according to the declaration of applied quality standards of the manufacturer |  |  |  |  |
| 3.10 | Inspection reports given by competent authorities |  |  |  |  |
| 3.11 | Logbooks of product quality inspection results |  |  |  |  |
| 4 | ADVERTISEMENT FOR MEDICAL DEVICES |  |  |  |  |
| 4.1 | Is the approval for contents of advertisement for medical devices given by a competent authority available? |  |  |  |  |
| 4.2 | Are the contents of advertisement for domestically manufactured products conformable with those approved by a competent health authority? |  |  |  |  |

APPENDIX 3

CONTENTS OF INSPECTION OF COMPLIANCE WITH REGULATIONS BY ENTITY WHOSE NAME IS SPECIFIED IN THE DECLARATION OF APPLIED STANDARDS OR MARKETING AUTHORIZATION FOR MEDICAL DEVICES
(Enclosed with the Decision No. 7115/2016/QD-BYT dated December 01, 2016 of the Minister of Health of Vietnam)

| No. | CONTENTS | No | Yes |  |  | YesComments |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Pass | Fail |  |  |
| (1) | (2) | (3) | (4) | (5) | (6) |  |
| 1 | ORGANIZATIONAL STRUCTURE |  |  |  |  |  |
| 1.1 | Establishment license |  |  |  |  |  |
| 1.2 | Documentary evidences of eligibility to declare applied standards or place medical devices on the market |  |  |  |  |  |
| 1.3 | Chief technician: |  |  |  |  |  |
| 1.3.1 | Qualifications/degrees |  |  |  |  |  |
| 1.3.2 | Certificates of completion of training courses in medical device issued by qualified training institutions |  |  |  |  |  |
| 1.4 | Documentary evidences of eligibility to provide warranty |  |  |  |  |  |
| 2 | DOCUMENTS ON DECLARATION OF APPLIED STANDARDS OR APPLICATION FOR MARKETING AUTHORIZATION FOR MEDICAL DEVICES |  |  |  |  |  |
| 2.1 | Declaration form of applied standards for class-A medical devices and number of marketing authorization for class-B, class-C or class-D medical devices |  |  |  |  |  |
| 2.2 | Report on medical device classification results |  |  |  |  |  |
| 2.3 | Receipt note of declaration of eligibility for manufacturing of domestically manufactured medical devices or certificate of conformity with quality control standards which is still valid at the time of submission of application for declaration of applied standards for imported medical devices |  |  |  |  |  |
| 2.4 | Certificate of eligibility to provide warranty for medical devices |  |  |  |  |  |
| 2.5 | Technical files used for repairing and maintaining medical devices |  |  |  |  |  |
| 2.6 | Brief technical description |  |  |  |  |  |
| 2.7 | Are the instructions for use of medical device in Vietnamese available? |  |  |  |  |  |
| 2.8 | Is the domestically manufactured medical device manufactured by an eligible manufacturer or is the imported medical device granted certificate of conformity with quality control standards and sold in countries in the world? |  |  |  |  |  |
| 2.9 | Documentary evidences of conformity of medical devices with national quality standards or quality standards announced by their manufacturers |  |  |  |  |  |
| 2.1 | Letter of authorization given by the product owner to the entity that applies for declaration of applied standards |  |  |  |  |  |
| 2.11 | Sample label used for medical devices sold in Vietnam |  |  |  |  |  |

APPENDIX 4

CONTENTS OF INSPECTION OF COMPLIANCE WITH REGULATIONS ON TRADING AND IMPORT OF MEDICAL DEVICES
(Enclosed with the Decision No. 7115/QD-BYT dated December 01, 2016 of the Minister of Health of Vietnam)

| No. | CONTENTS | No | Yes |  | YesComments |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Pass | Fail |  |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1 | ORGANIZATIONAL STRUCTURE |  |  |  |  |
| 1.1 | Documents on organizational structure: |  |  |  |  |
| 1.1.1 | Legal representative |  |  |  |  |
| 1.1.2 | Tax identification number |  |  |  |  |
| 1.1.3 | List of technicians |  |  |  |  |
| 1.1.4 | Employment contracts |  |  |  |  |
| 1.1.5 | Qualifications/certificates of training for employees by the trader or importer (1) |  |  |  |  |
| 2 | Medical device warehouse (1) |  |  |  |  |
| 2.1 | Is the premises area suitable for the business scale? |  |  |  |  |
| 2.2 | Equipment used for storing medical devices |  |  |  |  |
| 2.3 | Are technical equipment and devices sufficient for performance of assembly, warranty and maintenance tasks? |  |  |  |  |
| 2.4 | Transport vehicles |  |  |  |  |
| 2.5 | Is a service contract signed with a qualified storage and transport service provider as prescribed in Article 37 of the Decree No. 36/2016/ND-CP available? |  |  |  |  |
| 3 | Internal regulations on fire and explosion prevention and control; equipment used for fire and explosion prevention and control |  |  |  |  |
| 4 | Are environmental hygiene requirements satisfied? |  |  |  |  |
| 2 | TRADING OF MEDICAL DEVICES |  |  |  |  |
| 2.1 | Documents on declaration of eligibility to trade medical devices as prescribed in Article 38 of the Decree No. 36/2016/ND-CP |  |  |  |  |
| 2.2 | Invoices on purchase/sale of medical devices |  |  |  |  |
| 2.3 | Medical device sale and purchase contracts, records of delivery of medical devices, and contract finalization records |  |  |  |  |
| 2.4 | Reports on rights, tax obligations and incentives in trading of medical devices. |  |  |  |  |
| 3 | EXPORT AND IMPORT OF MEDICAL DEVICES |  |  |  |  |
| a | Export of medical devices |  |  |  |  |
| 1 | Number of marketing authorization for medical devices in Vietnam |  |  |  |  |
| 2 | Do warehouse and vehicles meet the requirements laid down in Decree No. 36/2016/ND-CP? |  |  |  |  |
| 3 | Are customs requirements for exports satisfied? |  |  |  |  |
| b | Import of medical devices |  |  |  |  |
| 1 | Application for permission to import medical devices |  |  |  |  |
| 2 | Product description and relevant documents as prescribed |  |  |  |  |
| 3 | Is the manufacturer's certificate of quality standards available? |  |  |  |  |
| 4 | Import-related documents: |  |  |  |  |
| 4.1 | Import contracts |  |  |  |  |
| 4.2 | Customs declaration forms |  |  |  |  |
| 4.3 | Certificate of origin (C/O) |  |  |  |  |
| 4.4 | Bills of lading |  |  |  |  |
| 4 | DOCUMENTS ON TRADING OF MEDICAL DEVICES |  |  |  |  |
| 1 | List of annually traded medical devices |  |  |  |  |
| 2 | Details on medical devices: |  |  |  |  |
| 2.1 | Trading/business contracts |  |  |  |  |
| 2.2 | Delivery and test acceptance records, invoices, contract finalization records |  |  |  |  |
| 2.3 | Documentary evidences of origin of medical devices as prescribed. |  |  |  |  |
| 5 | ADVERTISEMENT FOR MEDICAL DEVICES |  |  |  |  |
| 5.1 | Is the approval for contents of advertisement for medical devices given by a competent authority available? |  |  |  |  |
| 5.2 | Are the contents of advertisement for domestically manufactured medical devices conformable with those approved by a competent health authority? |  |  |  |  |

Note: (1): Requirements for trading in class-B, class-C and class-D medical devices

APPENDIX 5

CONTENTS OF INSPECTION OF COMPLIANCE WITH REGULATIONS ON CONSULTING, INSPECTION AND CALIBRATION OF MEDICAL DEVICES
(Enclosed with the Decision No. 7115/QD-BYT dated December 01, 2016 of the Minister of Health of Vietnam)

| No. | CONTENTS | No | Yes |  | YesComments |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Pass | Fail |  |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1 | ORGANIZATIONAL STRUCTURE |  |  |  |  |
| 1.1 | Establishment license |  |  |  |  |
| 1.2 | Personnel list |  |  |  |  |
| 1.3 | Do personnel have appropriate qualifications/degrees? |  |  |  |  |
| 1.4 | Other professional training certificates |  |  |  |  |
| 1.5 | Has every employee entered into employment contract? |  |  |  |  |
| 2 | DOCUMENTS ON CONSULTING, INSPECTION AND CALIBRATION OF MEDICAL DEVICES |  |  |  |  |
| 2.1 | Receipt note of application for declaration of eligibility to provide medical device technical consulting |  |  |  |  |
| 2.2 | Application for declaration of eligibility to provide medical device technical consulting |  |  |  |  |
| 2.3 | List of customers using medical device technical consulting services, and scope of consulting services provided |  |  |  |  |
| 2.4 | Retained documents on completed consulting service contracts |  |  |  |  |
| 2.5 | Receipt note of application for declaration of eligibility to carry out inspection and calibration of medical devices |  |  |  |  |
| 2.6 | Application for declaration of eligibility to carry out inspection and calibration of medical devices |  |  |  |  |
| 2.7 | Certificate of conformity with standards for laboratory and calibration facility granted to the entity providing inspection and calibration services |  |  |  |  |
| 2.8 | List of inspected and calibrated medical devices |  |  |  |  |
| 2.9 | Invoices/receipts of inspection and calibration service charges |  |  |  |  |
| 2.10 | Retained inspection and calibration reports |  |  |  |  |
| 3 | MATERIAL FACILITIES AND EQUIPMENT |  |  |  |  |
|  | Are laboratories meeting the requirements laid down in clause 2 Article 50 of the Decree No. 36/2016/ND-CP available? |  |  |  |  |

APPENDIX 6

CONTENTS OF INSPECTION OF COMPLIANCE WITH REGULATIONS ON MANAGEMENT AND USE OF MEDICAL DEVICES 
(Enclosed with the Decision No. 7115/2016/QD-BYT dated December 01, 2016 of the Minister of Health of Vietnam)

| No. | CONTENTS | No | Yes |  | YesComments |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Pass | Fail |  |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1 | ORGANIZATIONAL STRUCTURE |  |  |  |  |
| 1.1 | Organizational model: medical device department; medical device management team; individual in charge of managing medical devices. |  |  |  |  |
| 1.2 | For a medical device department: |  |  |  |  |
| 1.2.1 | Functions, tasks and organizational structure of the medical device department |  |  |  |  |
| 1.2.2 | Operating rules of the medical device department |  |  |  |  |
| 1.2.3 | Annual work plan of the medical device department |  |  |  |  |
| 1.2.4 | Annual maintenance and warranty plan |  |  |  |  |
| 1.2.5 | Documents and records: |  |  |  |  |
| 1.2.5.1 | Shift handover logbook |  |  |  |  |
| 1.2.5.2 | Medical device management record (according to annual stocktaking plan) |  |  |  |  |
| 1.2.5.3 | Logbook of maintenance and repair of medical devices |  |  |  |  |
| 1.2.5.4 | Operating procedures of medical devices |  |  |  |  |
| 1.2.5.5 | Profiles of medical device |  |  |  |  |
| 1.3 | Personnel: |  |  |  |  |
| 1.3.1 | In-charge person (department manager, team leader, or individual): |  |  |  |  |
| 1.3.1.1 | Task assignment decision |  |  |  |  |
| 1.3.1.2 | Professional qualifications/degrees |  |  |  |  |
| 1.3.1.3 | Training certificates in management of medical devices |  |  |  |  |
| 1.3.2 | Department or team staff: |  |  |  |  |
| 1.3.2.1 | Number of employees |  |  |  |  |
| 1.3.2.2 | Assignment of tasks to each employee |  |  |  |  |
| 1.3.2.3 | Professional qualifications/degrees and training certificates appropriate to assigned tasks |  |  |  |  |
| 2 | RETAINED DOCUMENTS ON MEDICAL DEVICES |  |  |  |  |
| 2.1 | Documents on purchase or investment in medical devices, including: |  |  |  |  |
| 2.2 | Investment-related documents: decisions to grant approval, bidding documents, meeting minutes/records, bid package, bid evaluation record, bidding result notice, etc. as prescribed by the Bidding Law |  |  |  |  |
| 2.3 | Purchase-related documents: sale and purchase contracts, delivery records, test acceptance records, contract finalization records, invoices, etc. |  |  |  |  |
| 2.4 | Documents proving origin of medical devices: |  |  |  |  |
| 2.4.1 | Originals or certified true copies of documents proving origin of medical devices (C/O and C/Q) |  |  |  |  |
| 2.4.2 | Other documents (copies bearing company’s seal): |  |  |  |  |
| 2.4.2.1 | Customs declaration forms (identifying the importer) |  |  |  |  |
| 2.4.2.2 | Documents proving that marketing authorization number has been granted to the medical device for being placed on the market (1) |  |  |  |  |
| 2.4.2.3 | Sale and purchase contracts and invoices between the product owner and the importer and the enterprise winning the bid for supply of medical devices (2) |  |  |  |  |
| 3 | MANAGEMENT AND USE OF MEDICAL DEVICES |  |  |  |  |
| 3.1 | Area or warehouse for storing medical devices (which must be clean, well ventilated and dry) |  |  |  |  |
| 3.2 | Are medical devices properly cleaned after use? |  |  |  |  |
| 3.3 | Have auxiliary parts of medical devices been stored neatly after use according to manufacturer’s manuals? |  |  |  |  |
| 3.4 | Are instructions for operation and use of the medical device directly attached to the medical device? |  |  |  |  |
| 3.5 | Profiles of medical device (department/ward using the medical device, official in charge of managing and using the medical device, updated information on operation, maintenance, repair and replacement of the medical devices) |  |  |  |  |
| 3.6 | Are safety devices installed for medical devices which require safety devices? |  |  |  |  |
| 4 | PURCHASE, MANAGEMENT AND USE OF CHEMICALS AND SUPPLIES |  |  |  |  |
| 4.1 | Decision on approval of contractor selection result |  |  |  |  |
| 4.2 | Decision on approval of contractor selection result |  |  |  |  |
| 4.3 | Documents submitted for approval of contractor selection plan |  |  |  |  |
| 4.4 | Other documents (copies kept by the inspected entity): |  |  |  |  |
| 4.4.1 | Minutes of the Council’s meetings to ratify the list of chemicals and supplies, their categories and unit prices |  |  |  |  |
| 4.4.2 | Contracts, invoices, contract finalization records, and delivery records |  |  |  |  |
| 4.4.3 | Warehousing/delivery notes |  |  |  |  |
| 4.5 | Warehouse |  |  |  |  |

(1): Marketing authorization number or import license issued by the Ministry of Health, for imported medical devices, or receipt note of declaration of marketing of medical devices as prescribed in Decree No. 36/2016/ND-CP and Appendix 1 enclosed with the Circular No. 30/2015/TT-BYT dated October 12, 2015 providing guidelines for import of medical devices.

(2): A contract or invoice must not contain the unit price and total amount but must contain adequate information on the medical device (name, model and quantity).

------------------------------------------------------------------------------------------------------
This translation is made by THƯ VIỆN PHÁP LUẬT, Ho Chi Minh City, Vietnam and for reference purposes only. Its copyright is owned by THƯ VIỆN PHÁP LUẬT and protected under Clause 2, Article 14 of the Law on Intellectual Property.Your comments are always welcomed