原始IDE申请说明信中内容的建议（纯文本）

该指南是在1997年2月27日执行FDA良好指南实践（GGP）之前撰写的。它不会创建或赋予任何人任何权利，也不会对FDA或公众产生约束力。如果其他方法满足适用情况和/或法规的要求，则可以使用其他方法。本指南将在下一个版本中更新，以包含GGP的标准要素。

原始IDE申请说明信中内容的建议

建议在申请说明信中根据提供的顺序包含以下信息，以协助申请的行政审理。

- 应声明，所提供的信息是原始IDE的申报材料。

- 器械信息：

器械名称：

预期用途

3.	申办者的联系信息：

姓名

地址

联系人

电话号码

传真号码

请注意，申办者必须是美国的注册公司[21 CFR 812.18（a）]。

4.	制造商的信息：

姓名

地址

联系人

电话号码

传真号码

5.	申请人的信息：

如果提交申请的企业不是申办者，而是顾问或律师等其他身份，则应同时提供申请企业或个人的联系信息。

6.	提供以下信息（如适用）：

Pre-IDE/Pre-IDE会议：

描述针对此器械与FDA评审部门进行的任何讨论。如果提交了Pre-IDE，请说明Pre-IDE编号和FDA评审人的姓名（若已知）。如果有Pre-IDE会议，请提供FDA联系人的姓名和会议记录的副本。

豁免请求：

说明任何豁免请求，包括豁免理由。

参考文件：

说明IDE申请中引用的任何文件，例如上市前批准、上市前通知510（k），IDE或器械主文件。如果文件不是由申办者提交的，请提供文件所有者的一封信，以授权FDA在当前申请的评审过程中参考这些文件。

更多指南文件（医疗器械和辐射发射产品） (/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/default.htm)

跨中心最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm081752.htm)

合规办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070269.htm)

中心主任办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm110228.htm)

交流和教育办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070271.htm)

器械评估办公室最终指南2010 - 2016 (/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm198577.htm)

器械评估办公室最终指南1998 - 2009 (/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070272.htm)

器械评估办公室最终指南1976 - 1997 (/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm080283.htm)

体外诊断和放射健康办公室最终指南

(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070274.htm)

监督和生物计量办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070275.htm)

科学与工程实验室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070277.htm)

指南草案(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm407274.htm)

辐射发射产品指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm283507.htm)

撤回指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm425025.htm)