IDE进度报告的格式建议（纯文本）

该指南是在1997年2月27日执行FDA良好指南实践（GGP）之前撰写的。它不会创建或赋予任何人任何权利，也不会对FDA或公众产生约束力。如果其他方法满足适用情况和/或法规的要求，则可以使用其他方法。本指南将在下一个版本中更新，以包含GGP的标准要素。

IDE进度报告的格式建议

1.	基本要素

○IDE编号

○器械名称和使用说明

○申办者的名称、地址、电话号码和传真

○联系人

2.	研究进展

（除非另有说明，否则应报告研究开始时的数据。）

○与研究计划有关的研究进展小结

○研究人员/研究地点的数量（附上研究人员名单）

○招募受试者的数量（按适应症或型号分类）

○装船器械的数量

○研究结果的小结

○预期和无法预期的不利影响的摘要

○研究人员偏离（任何）研究计划的描述（自上次进展报告以来）

3.	风险分析

○可能影响风险分析的任何新的不利影响（自上次进展报告以来）的摘要，包括临床前数据、动物研究、外国数据和临床研究等。

○重新打印包含本研究收集数据的所有文章

○如有必要，根据新的信息和研究进展进行新的风险分析

4.	其他变更

○生产实践和质量控制中任何变更的摘要（包括补充申请中未报告的变更）

○研究计划中所有变更的摘要（无需在补充申请中提交的）

5.	未来的计划

○产品批准进展，预计提交PMA或（k）的日期

○研究计划的任何变更，例如扩大研究规模或适应症，停止部分研究或生产实践的变更（注：应在一个单独的补充申请中提出这些变更的实际建议）。

更多指南文件（医疗器械和辐射发射产品） (/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/default.htm)

跨中心最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm081752.htm)

合规办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070269.htm)

中心主任办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm110228.htm)

交流和教育办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070271.htm)

器械评估办公室最终指南2010 - 2016 (/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm198577.htm)

器械评估办公室最终指南1998 - 2009 (/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070272.htm)

器械评估办公室最终指南1976 - 1997 (/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm080283.htm)

体外诊断和放射健康办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070274.htm)

监督和生物计量办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070275.htm)

科学与工程实验室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070277.htm)

指南草案(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm407274.htm)

辐射发射产品指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm283507.htm)

撤回指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm425025.htm)