|  |  |
| --- | --- |
|  | **Medical Device Division**  **Department of Health**  **Medical Device Administrative Control System**  **Application for the Listing of**  **Class II/III/IV General Medical Devices**  **(Trial Scheme)** |

|  |
| --- |
| ***For official use only***  *Date Received: Application No.: Officer:*  *Date Approved/Rejected: Listing No.:*  *PMS Report Required: Y / N*  *Remarks:* |

**Please read this section carefully before completing the form**

* **This form is designed for listing applications under the Trial Schemes of the Medical Device Administrative Control System (MDACS). For other listing applications of Medical Devices under MDACS, please use application form *MD-C2&3&4 (2022 Edition)*. For details about the trial schemes, please refer to MDD website *www.mdd.gov.hk***

1. Please note that information included in those parts that are marked with asterisks (\*) may be included on The List of Medical Devices and uploaded to the MDD website if this application is approved. They include (i) the manufacturer’s name, address of its head office and its website (A001), (ii) the LRP’s name, address in Hong Kong, and contact telephone number for public enquiries (B001), (iii) the make, brand name and model of the device (C001), and (iv) the intended use of the device (C005). The details will normally appear on The List of Medical Devices as they appear on this form. Where under an item both the prompts “in English” and “in Chinese” appear, the entry for that item shall be given in both languages wherever applicable such that they could be accordingly recorded on The List of Medical Devices for the reference of the public.
2. Please check the boxes as appropriate and also check the corresponding boxes in the “Encl.” column if any document is enclosed under respective indexes of the submission folder.
3. Please note that the submitted information may be forwarded to third parties (such as but not limited to foreign regulatory authority, notified body or conformity assessment body) for validation purposes.
4. Submitted documents not in Chinese or English shall be accompanied by Chinese or English translations.
5. Only submissions with duly completed application forms and required documents will be processed. Materials provided with any submission will not be returned.

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Note** | **Part A: Particulars of Manufacturer** | | | | | | **Encl.** |
| A001 | Manufacturer’s name\* | | *in English* |  | | |  |
| *in Chinese* |  | | |
| Address of Head Office\*: | | *in English* |  | | |
| *in Chinese* |  | | |
| Post Code: | | | | Country: | |
| Contact person: | | | | Telephone: | |
| Fax: | | | | Email: | |
| Website\*: | | | | | |
| A002 | Registered place of business in Hong Kong (If applicable): | | | | | | (A1) |
|  | Copy of business registration certificate (with business registration number       ) is enclosed | | | | |
| Contact person: | | | | Telephone: |
| Fax: | | | | Email: |
| A003 | Established Quality Management System  Full quality management system covering device design, production, and post-production processes  Partial quality management system covering processes:  Standards with which the system complies:  ISO13485  YY/T 0287  Korean Good Manufacturing Practices  System certified by       (certification body), and a copy of the certificate is enclosed | | | | | | (A2) |
| A004 | Has the manufacturer designated any Local Responsible Person (LRP)? *(N.B. If the manufacturer has no registered place of business in Hong Kong, it must designate a legal person incorporated in Hong Kong or a natural or legal person with a registered place of business in Hong Kong as the LRP.)*  Yes  No, manufacturer itself acts as the LRP | | | | | |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Note** | **Part B: Particulars of Local Responsible Person (LRP)** | | | | **Encl.** |
| B001 | LRP’s name\* | *in English* |  | | (B1) |
| *in Chinese* |  | |
| Address in Hong Kong *(Please give the registered place of business, if any)\** | *in English* |  | |
| *in Chinese* |  | |
| Contact person: | | | Telephone: |
| Position: | | | Email: |
| Contact telephone for public enquiries \* : | | | Fax : |
| Mobile telephone for urgent use (24 hours) : | | | |
| Business Registration  Copy of business registration certificate (with business registration number:      ) is enclosed  Not applicable | | | |
| B002 | Date designated as LRP by the manufacturer:  Manufacturer’s designation letter is enclosed | | | | (B2) |
| B003 | Established Quality Management System  ISO9001  ISO13485  None  System certified by       (certification body), and a copy of the certificate is enclosed | | | | (B3) |
| B004 | Documented Procedures Established and Maintained  The applicant does not have any medical device listed under the Medical Device Administrative Control System  The procedures indicated in items (i) to (vi) below are enclosed   1. Keeping of transaction records 2. Management of product recalls and field safety notices 3. Handling of reportable adverse incidents in Hong Kong 4. Tracking of specific medical devices (if applicable) 5. Complaints handling 6. Maintenance and service arrangements (if applicable) | | | | (B4) |
| The applicant already has one or more medical device listed under the Medical Device Administrative Control System (**LRP number:**      ­­­)  There is no change to the procedures indicated in items (i) to (vi). *(Please go to B005)*; OR  The procedures indicated in items (i) to (vi) have been updated and enclosed. | | | |
| B005 | The LRP is also an importer and/or distributor of the device named in Part C  Listing No. of Importer (if applicable):       Listing No. of Distributor (if applicable): | | | |  |
| B006 | The device named in Part C is currently a listed device (under another LRP), with Listing No.      . | | | |  |

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Note** | **Part C: Particulars of the Device** | | | | | | | | | | **Encl.** |
| C001 | Make\* | | | | | | | *in English* |  | |  |
| *in Chinese* |  | |
| Brand Name\* | | | | | | | *in English* |  | |
| *in Chinese* |  | |
| Model\* | | | | | | | *in English* |  | |
| *in Chinese* |  | |
| C002 | A single medical device  A medical device family  A medical device series  A medical device system  For a medical device family, medical device series or a medical device system, please provide the additional information required in a format similar to MDS-01. | | | | | | | | | | (C1) |
|  | | Additional information similar to MDS-01 attached | | | | | | |  |
| C003 | Description of the device: *(Please enter the appropriate AMDNS term. If none of the terms in AMDNS appear appropriate, enter a short description of the device.)* | | | | | | | | | |  |
| AMDNS Code*:* | | | | | | | | | |
| Other Codes  *(Please enter if known):* | | | | | | | | | |
| C004 | Other common descriptions of the device: | | | | | | | | | |  |
| C005 | Intended use of the device\* | | | | | | *in English* | |  | |  |
| *in Chinese* | |  | |
| C006 | Accessories and parts covered by the Marketing Approvals and Essential Principles Conformity Checklist under Note D001 of Part D. *Please provide its identifier(s) (e.g. part number) and description using a format similar to MDS-02.*  Additional information similar to MDS-02 attached | | | | | | | | | | (C1) |
| C007 | 1. The device | | | | | | | | | |  |
| Yes No | | | | | | | | | |
|  | a | | a | | incorporates, as an integral part, a medicinal product which could act on the human body with action ancillary to that of the device | | | | |
|  | a | | a | | is manufactured from or incorporating human cells/tissues/derivatives | | | | |
|  | a | | a | | is manufactured from or incorporating animal cells/tissues/derivatives | | | | |
|  | 2. The device | | | | | | | | | |  |
|  | | | | is a **non-active** **device** *(please go to section 3)* | | | | | |  |
|  | | | | is an **active device** | | | | | |  |
|  | | | |  | intended to control or monitor the performance of active therapeutic devices in Class III, or intended directly to influence the performance of such devices | | | | |  |
|  | | | |  | intended for monitoring of vital physiological parameters, where the nature of variations is such that it could result in immediate danger to the patient | | | | |  |
|  | | | |  | intended for diagnosing in clinical situations where the patient is in immediate danger | | | | |  |
|  | | | |  | intended to administer or exchange energy to or from human body in a potentially hazardous way including ionizing radiation | | | | |  |
|  | | | |  | none of the above | | | | |  |
| 3. The device | | | | | | | | | |  |
|  | | | | is a **non-invasive device** | | | | | |  |
|  | | | | a | comes into contact with injured skin (e.g. wound dressings) *(please complete section 4)* | | | | |  |
|  | | | | a | connected to an active medical device in Class II or a higher class | | | | |  |
|  | | | | a | intended for channelling blood, or storing or channelling other body liquids, or for storing organs, parts of organs or body tissues | | | | |  |
|  | | | | a | intended for modifying the biological or chemical composition of blood, other body liquids or other liquids intended for infusion into the body | | | | |  |
|  | | | | a | none of the above | | | | |  |
|  | | | | is an **invasive device** | | | | | |  |
|  | | | |  | invasive with respect to body orifices (other than those surgically invasive) | | | | |  |
|  | | | |  | intended to be connected to an active medical device in Class II or a higher class | | | | |  |
|  | | | |  | intended for use in oral cavity, ear canal or nasal cavity | | | | |  |
|  | | | |  | intended to supply energy in the form of ionizing radiation | | | | |  |
|  | | | |  | intended to have biological effect or be wholly or mainly absorbed | | | | |  |
|  | | | |  | intended to administer medicinal products by means of a delivery system and is potentially hazardous | | | | |  |
|  | | | |  | intended for use in direct contact with the central nervous system or to diagnose, monitor or correct a defect of the heart of central circulatory system through direct contact | | | | |  |
|  | | | |  | intended to undergo chemical change in the body | | | | |  |
|  | | | |  | none of the above | | | | |  |
|  | | | | and is intended for *(please check the applicable item only)* | | | | | |  |
|  | | | |  | transient use (< 60 mins) | | | | |  |
|  | | | |  | short-term use (between 60 mins and 30 days) | | | | |  |
|  | | | |  | long-term use (> 30 days) | | | | |  |
|  | 4. The device is a wound dressing | | | | | | | | | |  |
|  | | | | intended to be used as a mechanical barrier, for compression of wounds or for absorption of exudates (e.g. simple wound dressing; cotton wool) | | | | | |  |
|  | | | | intended to manage the microenvironment of wounds (e.g. non-medicated impregnated gauze dressings) | | | | | |  |
|  | | | | intended to be used principally with wounds which have breached the dermis and can only heal by secondary intent (e.g. dressings for chronic ulcerated wounds). | | | | | |  |
|  | | | | impregnated with medicinal products (e.g. medicated gauze dressings) | | | | | |  |
| C008 | Class of the medical device:  Class II  Class III  Class IV | | | | | | | | | |  |
| Reasons for classifying the device as Class II/III/IV device: | | | | | | | | | |  |
| C009 | Manufacturing Site(s) *(Use separate sheet if required)*: | | | | | | | | | | (C1) |
| C010 | History of previous recalls, reportable adverse incidents, banning in other countries or post-market surveillance studies  No  Yes (Please check the appropriate boxes and provide details):  Recalls completed or in progress  Reportable adverse incidents bearing implications to the device  The device banned previously in other countries  Proactive post-market surveillance studies | | | | | | | | | | (C2) |
| C011 | Usage  The device is for single use  The device is supplied as sterile product  Disposal of used device or any part thereof (including any used accessories or consumables) requires special precautions.  The device is intended to be used/operated by healthcare professionals only  The device is intended to be used/operated by laypersons  It is intended for self-use | | | | | | | | | |  |
| C012 | Repair and Servicing  The device requires regular servicing/testing/checking/calibration  Repairs and servicing provided by the LRP or appointed party in Hong Kong  All repairs and servicing performed in Hong Kong  Part of the repairs and servicing performed in Hong Kong  Technical support provided by the manufacturer | | | | | | | | | |  |
| C013 | Labelling Requirements  Instructions for use are available (Note: Devices intended for self-use by consumers must be accompanied by instructions for use written in both English and Chinese):  in English  in Chinese  A set of copies of device labelling is enclosed  Electronic labelling is available:  Sample of Special Listing Information is enclosed  Please indicate where in the labelling the following information is given:   1. Indications for use of the device: 2. Contraindications against use of the device: 3. Cleaning, disinfection and/or sterilization procedures: 4. User precautions: 5. Disposal precautions: | | | | | | | | | | (C3) |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| C014 | Licencing Requirements  The device is subject to provisions under the following ordinances and a copy of the required licence(s) is/are enclosed:  Yes No | | | (C4) |
|  |  | Radiation Ordinance (Cap. 303) |
|  |  | Pharmacy and Poisons Ordinance (Cap. 138) |
|  |  | Antibiotics Ordinance (Cap. 137) |
|  |  | Dangerous Drugs Ordinance (Cap. 134) |
|  |  |  |  |  |
| C015 | Conformity Assessment  MDACS Conformity Assessment Certificate issued by one of the Conformity Assessment Bodies recognized by MDD  MDACS Conformity Assessment Body number: | | | (C5) |
| C016 | Safety and Risk Analysis  International or national safety standards with which the device complies:    Risk analysis conducted: report or summary is enclosed  Type test performed: report or test certificate is enclosed | | | (C6) |
| C017 | Clinical Evaluation  Clinical investigation report of the device is enclosed  Demonstration of equivalence to another device (equivalent device) where safety and efficacy of which are well established:  Clinical investigation report of the equivalent device and a report of demonstration of equivalence are enclosed  Report demonstrating full equivalence to a well established product is enclosed | | | (C7) |

|  |  |  |
| --- | --- | --- |
| **Note** | **Part D: Marketing Approvals and Essential Principles** | **Encl.** |
| D001 | Marketing Approvals in Mainland China and/or Foreign Countries  Approval(s) obtained for the medical device (with same make and model) to be placed on the market of the following countries:  Korea (Ministry of Food and Drug Safety)  Mainland China (National Medical Products Administration)  Australia (The Therapeutic Goods Administration)  Canada (Health Canada)  Member countries of European Union that have implemented relevant EU directives or regulations and a copy of the EC Declaration of Conformity is enclosed  Japan (Ministry of Health, Labour and Welfare)  United States of America (U.S. Food and Drug Administration) | (D1) |
| Essential Principles  Earliest approval obtained on or before 31 December 2004  Earliest approval obtained on or after 1 January 2005  Essential Principles Conformity Checklist MD-CCL is enclosed; OR  Essential Requirements Checklist / General Safety and Performance Requirements Checklist in accordance with relevant EU directives or regulations and Essential Principles Declaration of Conformity are enclosed |

**DECLARATION**

1. To the maximum extent permitted by law and in consideration of the Department of Health of the Government of the Hong Kong Special Administrative Region (“the Government”) processing our application under the MDACS, we,            *[name and address of the Applicant]*, agree to exempt, relieve, exonerate, indemnify and hold harmless, and to keep indemnified and harmless, as the case may be, the Government from and/or against any and all losses, claims, demands and proceedings (including but not limited to all costs, charges and expenses) whatsoever and howsoever suffered or incurred by, or made or issued against, the Government, as the case may be, by any third party in respect of any loss of or damage to any property or injury to or death of any person arising out of and/or relating and/or incidental to:

* 1. any act, neglect or default on our part or on the part of our employees or agents;
  2. any defect in the design, material, workmanship or installation of our device or devices;
  3. any use of any of the information supplied by us or our employees or agents in relation to our device or devices whether or not such information has materially contributed to the inclusion of the device or devices on the List of Medical Devices and whether or not such information is misleading, wrong or inaccurate.

1. We also agree and accept that:
   1. the Government, its employees or agents shall not be liable to us for any loss of or damage to property caused by the act, default or neglect of the Government or its employees or agents in the processing of our application, the inclusion or non-inclusion of any of our information and/or device or devices on the List of Medical Devices or any cause whatsoever arising out of or in connection with the implementation and management of the MDACS;
   2. neither the Government nor any of its employees or agents makes any representation, statement, warranty or guarantee, express or implied, that the devices (including any spares or replacement parts) listed or considered for listing under the MDACS, whether or not they are included in the List of Medical Devices, are of merchantable quality or are fit for the purposes for which they are commonly bought and that the spares or replacement parts are readily available.
2. We confirm that the information contained in our application is true and correct and that our device or devices (including any spares or replacement parts) are of merchantable quality and are fit for the purposes for which they are commonly bought.
3. We fully understand and agree that any future changes or additions to the requirements of the Medical Device Administrative Control System (MDACS) can be imposed by the Department of Health without prior notice. We hereby undertake to comply with the latest requirements of the MDACS that are in force. It is one of the current requirements of the MDACS that the LRP will, within two weeks after receiving the request from the Department of Health, produce the originals or certified copies of the documents that, according to the claims in this submission, are within the possession of the LRP or the manufacturer.
4. We confirm that we have neither amended any wording in this form, nor otherwise altered the form in any material manner, apart from filling in the appropriate blanks / boxes.

Signature:

Name:

Position:

Contact telephone number:

The Applicant (Local Responsible Person):

Date:

Personal Data (Privacy) Ordinance

Statement of Purposes

1. Purpose of Collection

The personal data that are provided by you with whom the Department of Health (DH) interacts in connection with the Medical Device Administrative Control System (MDACS) will be used by the DH for the management and implementation of the MDACS.

The provision of personal data is voluntary. If you do not provide sufficient information in the application as specified, we may not be able to process your application and assess your eligibility for a listing certificate.

1. Classes of Transferees

The personal data you provided are mainly for use within the DH but they may also be disclosed to other Government bureaux / departments, or relevant parties for the purpose mentioned in paragraph 1 above, if required. Apart from this, the data may only be disclosed to parties where you have given consent to such disclosure or where such disclosure is allowed under the Personal Data (Privacy) Ordinance.

1. Access to Personal Data

You have a right to request access to and correction of your personal data as provided in accordance with the Personal Data (Privacy) Ordinance (Cap. 486).

Your right of access includes the right to obtain a copy of your personal data provided by you during the occasion as mentioned in paragraph 1 above. A fee may be imposed for complying with a data access request.

1. Enquiries

Enquiries in relation to the personal data, including requests for making access or corrections to the data, should be addressed to:

Executive Officer (Medical Device)

Medical Device Division, Department of Health

Room 604, 6/F, 14 Taikoo Wan Road,

Taikoo Shing, Hong Kong

Telephone number: 3107 8453

Email address: mdd@dh.gov.hk.

Please quote your application number when you make the enquiries.